## DARs
Country | Entry-Exit border* | TSOs who are involved in DAR | Demand Indication (DI)/zero-Demand Indication received by TSOs | Incremental Capacity project/technical studies will be initiated | Gas flow direction covered by Demand Indications | Additional information
Austria | AT-CZ | Net4Gas, Gas Connect Austria | Demand Indication | yes | exit CZ / entry AT | The Czech and the Austrian national network development plan foresees potential infrastructure projects to create bidirectional and freely allocable capacity be-tween the entry-exit systems of both countries.
| AT (Market Area East)-DE (Trading Hub Europe) | Gas Connect Austria, Bayernets, GRTgaz DE, OGE | Zero-Demand Indication | no | -
| AT-HU | Gas Connect Austria, FGSZ | Demand Indication | no | Bidirectional | From Hungary to Austria technical studies for an incremental capacity project at the interconnection point Mosonmagyaróvár will be conducted. From Austria to Hungary an incremental capacity project will not be initiated. However, FGSZ and GCA will analyse economically efficient means for maximising the existing capacity in the short term.
| AT-IT | TAG, SNAM RETE GAS | Zero-Demand Indication | no | -
| AT-SI | Plinovodi, Gas Connect Austria | Zero-Demand Indication | no | - | The Austrian national network development plan contains the incremental capacity project ‘GCA 2015/08 Entry/Exit Murfeld’ which is a PCI. The Slovenian national network development plan contains the capacity project of bi-directional gas route Austria – Slovenia – Croatia which is part of the PCI stated above. Both TSOs will continue to develop these projects in the course of their respective national network development planning. This may also include an examination of additional demand levels in order to adapt the project to recent developments in the region.
| AT-SK | eustream, Gas Connect Austria, TAG | Zero-Demand Indication | no | -
Belgium | BE (ZTP) - DE (Trading Hub Europe) | Fluxys, Fluxys TENP, OGE, GASCADE, Thyssengas | Zero-Demand Indication | no | -
| BE (ZTPL) -FR (PEG) | GRTgaz, Fluxys | Zero-Demand Indication | no | -
| BE (ZTP) -FR (PEG) | GRTgaz, Fluxys | Zero-Demand Indication | no | -
| BE (ZTP) - NL (TTF) | GTS, Fluxys | Zero-Demand Indication | no | -
| BE (ZTPL) - NL (TTF) | GTS, Fluxys | Zero-Demand Indication | no | -
| BE-UK | IUK, Fluxys | Zero-Demand Indication | no | -
Bulgary | BU-GR | Bulgartransgaz, DESFA | Demand Indication | no | exit GR / entry BU | The historical usage of the concerned interconnection point as well as the available capacity on firm or interruptible basis for the requested period shows that the existing capacity is currently sufficient to cover the need indicated for incremental capacity in the period before the start of the next Incremental process.
| BG-RO | Bulgartransgaz, Transgaz | Demand Indication | no | Bidirectional | The bookings and the actual use of the capacities for the direction Bulgaria-Romania have a decreasing trend and that they did not raise to the aggregated level of unbinding capacity demand indications received from the two Network Users. At the IP Negru Voda 1/Kardam, the indications that were received from a network user for the direction from Romania to Bulgaria can be covered by the existing capacity for this direction.
Croatia | HR-HU | Plinacro, FGSZ | Demand Indication | no | - | There is no incremental capacity on the Hungarian side due to non-indicative demand. There is no incremental capacity on the Croatian side due to non-indicative demand.
| HR-SI | Plinovodi, Plinacro | Zero-Demand Indication | no | -
Czech Republic | CZ-AT | Net4Gas, Gas Connect Austria | Demand Indication | yes | exit CZ / entry AT | The Czech and the Austrian national network development plan foresees potential infrastructure projects to create bidirectional and freely allocable capacity between the entry-exit systems of both countries.
| CZ-PL | Net4Gas, GAZ-SYSTEM | Demand Indication | yes | exit PL / entry CZ | GAZ-SYSTEM and NET4GAS are considering a project (Czech — Polish interconnection upgrade, PCI cluster 6.2) whose realisation would establish additional and bi-directional transmission capacity between Poland and the Czech Republic. The Project was recognized as a PCI and fully complies with all EU policies, strategies and action plans. However, the Final Investment Decision on its implementation has not been taken yet.
| CZ-SK | Net4Gas, eustream | Zero-Demand Indication | no | -
| CZ (Trading Hub Europe) - DE | Net4Gas, Gascade, Fluxys DE, Gasunie, GRTgaz DE | Zero-Demand Indication | no | -
Denmark | DK - DE (Trading Hub Europe) | Energinet, Gasunie, OGE | Demand Indication | yes | exit DK / entry DE | In the exit Danish area, the sum of booked firm capacity and demanded incremental capacity is lesser than the technical capacity available at the market area border. Therefore, Energinet does not deem it necessary to start an incremental capacity project. In the entry Trade Hub Europe, the sum of booked firm capacity and demanded incremental capacity is higher than the technical capacity available at the market area border. Therefore, Gasunie DE and OGE do deem it necessary to start an incremental capacity project.
Estonia | EE-LV | no information received | no information received | no information received | no information received
France | FR (PEG) - BE (ZTPL) | GRTgaz, Fluxys | Zero-Demand Indication | no | -
| FR (PEG) - BE (ZTP) | GRTgaz, Fluxys | Zero-Demand Indication | no | -
| FR - DE (Trading Hub Europe) | GRTgaz, GRTgaz DE, OGE | Zero-Demand Indication | no | -
| FR-ES | Enagas, Terega | Zero-Demand Indication | no | -
Germany | DE (Trading Hub Europe) - PL (TGPS) | GAZ-SYSTEM, GASCADE | Demand Indication | yes | exit PL / entry DE | Since the stated demand for incremental capacity refers to a transition from DZK to FZK on the German side of the border there is no need for a technical study on the Polish side of the border. The sum of both booked capacity, expected bookings and demanded incremental capacity are higher than the technical capacity of FZK at the German side of the border. Therefore, GASCADE deems it necessary to conduct a technical study for the concerned IP.
| DE (Trading Hub Europe) - PL (GCP GAZ-SYSTEM/ONTRAS) | GAZ-SYSTEM, Ontras | Demand Indication | yes | exit PL / entry DE | The involved NRAs did not issue coordinated decisions on the project proposal submitted for approval during the incremental process initiated in 2017. Consequently, ACER became the competent authority to decide on this project. However, ACER did not issue a desicion before the start of the incremental process 2019.
| DE (Trading Hub Europe)-RU | GASCADE, NEL, OPAL, Fluxys DE, Ontras, Gasunie | Demand Indication | yes | exit RU / entry DE
| DE (Trading Hub Europe) - AT (Tirol) | OGE, Bayernets | Demand Indication | yes | exit DE / entry AT | The market area Tirol on the Austrian side of the border can only be supplied via the Trading Hub Europe. Capacity bookings for the market area Tirol on the German side are only performed by the “distribution area manager” (AGGM).
| DE (Trading Hub Europe) - AT (Vorarlberg) | Terranets | Zero-Demand Indication | no | -
| DE (Trading Hub Europe) - AT (Market Area East) | GCA, Bayernets, GRTgaz DE, OGE | Zero-Demand Indication | no | -
| DE (Trading Hub Europe) - BE (ZTP) | Fluxys, Fluxys TENP, OGE, GASCADE, Thyssengas | Zero-Demand Indication | no | -
| DE (Trading Hub Europe)-CH | OGE, Fluxys TENP, terranets, bayernets | Demand Indication | yes | exit DE / entry CH | It is not possible to satisfy the stated non-binding capacity demand indication through existing IPs. Therefore, the demand for incremental capacity amount can only be fulfilled by creating a new IP in the Bodensee area. The German TSOs will contact the adjacent grid operator Erdgas Ostschweiz concerning the creation of a new IP in the Bodensee area for the joint execution of the planning phase.
| DE (Trading Hub Europe)-DK | Energinet, Gasunie, OGE | Demand Indication | yes | exit DK / entry DE | In the exit Danish area, the sum of booked firm capacity and demanded incremental capacity is lesser than the technical capacity available at the market area border. Therefore, Energinet does not deem it necessary to start an incremental capacity project. In the entry Trade Hub Europe, the sum of booked firm capacity and demanded incremental capacity is higher than the technical capacity available at the market area border. Therefore, Gasunie DE and OGE do deem it necessary to start an incremental capacity project.
| DE (Trading Hub Europe)-FR | GRTgaz, GRTgaz DE, OGE | Zero-Demand Indication | no | -
| DE (Trading Hub Europe)-NL (TTF) | GTS, OGE, Thyssengas, Fluxys TENP, Gasunie, Gascade, GTG Nord | Demand Indication | yes | exit DE / entry NL | At the market area border, the sum of booked capacity and the non-binding demand indication is lower than the technical capacity available. Hence, there is no need to start a project for incremental capacity on the Dutch side of the border. However, given the need for technical measures on the German side of the border, GTS will participate in the incremental capacity project.
| DE (Trading Hub Europe)-NO | OGE, Gasunie, Thyssengas | Zero-Demand Indication |  | - | Gassco AS, the operator of the Norwegian upstream pipeline system is not obliged to follow the implementation of Regulation (EU) 2017/459. Gassco AS stated, that they will not participate in this Incremental Capacity process.
| DE (Trading Hub Europe) - CZ | Net4Gas, Gascade, Fluxys DE, Gasunie, GRTgaz DE | Zero-Demand Indication | no | -
Greece | GR-BU | Bulgartransgaz, DESFA | Demand Indication | no | exit GR / entry BU | The historical usage of the concerned interconnection point as well as the available capacity on firm or interruptible basis for the requested period shows that the existing capacity is currently sufficient to cover the need indicated for incremental capacity in the period before the start of the next Incremental process
| GR-IT | SNAM RETE GAS, DESFA, TAP | Demand Indication | yes | Exit TAP / entry SRG entry (IP Melendugno) Exit TAP / entry DESFA (IP Nea Mesimvria) Exit TAP / entry Albgaz (IP Fier) Exit TAP / entry Albgaz (IP Korca) Exit TAP / entry ICGB (IP Komotini) Exit SRG / entry TAP (IP Melendugno) | Studies will further be conducted for entry capacity to DESFA at Nea Mesimvria and for entry capacity to SRG at Melendugno. TAP has entered into discussions with regards to the Connection Request for Korca in Albania and began liaising with Albgaz concerning needs for them to conduct studies for downstream infrastructure at the Albanian IPs, and to become integrated in the binding phase to enable bundled capacity to be offered for Albanian IPs.
Hungary | HU-AT | Gas Connect Austria, FGSZ | Demand Indication | yes | Bidirectional | From Hungary to Austria technical studies for an incremental capacity project at the interconnection point Mosonmagyaróvár will be conducted. From Austria to Hungary an incremental capacity project will not be initiated. However, FGSZ and GCA will analyse economically efficient means for maximising the existing capacity in the short term.
| HU-HR | Plinacro, FGSZ | Demand Indication | no | - | There is no incremental capacity on the Hungarian side due to non-indicative demand. There is no incremental capacity on the Croatian side due to non-indicative demand.
| HU-RO | Transgaz, FGSZ | Demand Indication | TSOs cannot take the decision to initiate technical projects yet | Bidirectional | The indicative incremental capacity demand will be considered non-binding and will be taken into account only if the ROHU-Phase 2 Open Season is unsuccessful. If the Open Season is successful, the non-binding indicative demand should not be considered (it is valid only if the ongoing ROHU Open Season is ended without capacity allocation). Therefore, demand assesment can be resumed only following closure of the Open Season (15.04.2020). If the Open Season is closed unsuccessfully, then the Parties intend to start the incremental procedure.
| HU-SI | FGSZ, Plinovodi | Demand Indication | yes | exit HU / entry SL
| HU-SK | eustream, FGSZ | Demand Indication | yes | exit HU / entry SK
Ireland | IE-UK | GNI, GNI UK | Zero-Demand Indication | no | -
| IE-UK | National Grid, PTL | Zero-Demand Indication | no | -
| IE-UK | National Grid, GNI | Zero-Demand Indication | no | -
Italy | IT- MT | SNAM RETE GAS, MELITA TRANSGAS | Demand Indication | yes | exit IT / entry MT | Malta and Italy are not interconnected at the moment and so there is no existing technical capacity at the interconnection point required by Demand Indication phase.
| IT-AT | TAG, SNAM RETE GAS | Zero-Demand Indication | no | -
| IT-GR | SNAM RETE GAS, DESFA, TAP | Demand Indication | yes | Exit TAP / entry IT (IP Melendugno) Exit TAP / entry GR (IP Nea Mesimvria) Exit TAP / entry AL (IP Fier) Exit TAP / entry AL (IP Korca) Exit TAP / entry ICGB (IP Komotini) Exit IT / entry TAP (IP Melendugno) | Studies will further be conducted for entry capacity to DESFA at Nea Mesimvria and for entry capacity to SNAM at Melendugno. TAP has entered into discussions with regards to the Connection Request for Korca in Albania and began liaising with Albgaz concerning needs for them to conduct studies for downstream infrastructure at the Albanian IPs, and to become integrated in the binding phase to enable bundled capacity to be offered for Albanian IPs.
| IT-SI | SNAM RETE GAS, Plinovodi | Demand Indication | yes | exit Slovenia / entry Italy
Latvia | LV-EE | no information received | no information received | no information received | no information received
| LV-LT | Amber Grid, Conexus | Demand Indication | no | Bidirectional
Lithuania | LT-LV | Amber Grid, Conexus | Demand Indication | no | Bidirectional
| LT-PL | Amber Grid, GAZ-SYSTEM | Demand Indication | no | Bidirectional | Due to the ongoing investment process, demand for incremental capacity submitted to the TSOs during the Demand Indication phase of Incremental Procedure will be covered when the GIPL project would be fully implemented.
Netherlands | NL (TTF)-BE (ZTP) | GTS, Fluxys | Zero-Demand Indication | no | -
| NL (TTF)-BE (ZTP) L | GTS, Fluxys | Zero-Demand Indication | no | -
| NL (TTF) - DE (Trading Hub Europe) | GTS, OGE, Thyssengas, Fluxys TENP, Gasunie, Gascade, GTG Nord | Demand Indication | yes | exit DE / entry NL | At the market area border, the sum of booked capacity and the non-binding demand indication is lower than the technical capacity available. Hence, there is no need to start a project for incremental capacity on the Dutch side of the border. However, given the need for technical measures on the German side of the border, GTS will participate in the incremental capacity project.
| NL-UK | National Grid, BBL | Zero-Demand Indication | no | -
Poland | PL-CZ | Net4Gas, GAZ-SYSTEM | Demand Indication | yes | exit PL / entry CZ | GAZ-SYSTEM and NET4GAS are considering a project (Czech — Polish interconnection upgrade, PCI cluster 6.2) whose realisation would establish additional and bi-directional transmission capacity between Poland and the Czech Republic. The Project was recognized as a PCI and fully complies with all EU policies, strategies and action plans. However, the Final Investment Decision on its implementation has not been taken yet.
| PL (TGPS) - DE (Trading Hub Europe) | GAZ-SYSTEM, GASCADE | Demand Indication | yes, on DE side | exit PL / entry DE | Since the stated demand for incremental capacity refers to a transition from DZK to FZK on the German side of the border there is no need for a technical study on the Polish side of the border. The sum of both booked capacity, expected bookings and demanded incremental capacity are higher than the technical capacity of FZK at the German side of the border. Therefore, GASCADE deems it necessary to conduct a technical study for the concerned IP.
| PL (GCP GAZ-SYSTEM/ONTRAS)-DE (Trading Hub Europe) | GAZ-SYSTEM, Ontras | Demand Indication | yes | exit PL / entry DE | The involved NRAs did not issue coordinated decisions on the project proposal submitted for approval during the incremental process initiated in 2017. Consequently, ACER became the competent authority to decide on this project. However, ACER did not issue a desicion before the start of the incremental process 2019.
| PL-LT | Amber Grid, GAZ-SYSTEM | Demand Indication | no | Bidirectional | Due to the ongoing investment process, demand for incremental capacity submitted to the TSOs during the Demand Indication phase of Incremental Procedure will be covered when the GIPL project would be fully implemented.
| PL-SK | GAZ-SYSTEM, Eustream | Zero-Demand Indication | no | - | The PL‐SK interconnector is currently under construction with a plan to be finalized in the end of 2021. The projected transmission capacity is 4.7 bcm/year in the direction SK‐PL and 5.7 bcm/year in the direction PL‐SK.
Portugal | PT-ES | Enagas, REN | Zero-Demand Indication | no | -
Romania | RO-BG | Bulgartransgaz, Transgaz | Demand Indication | no | Bidirectional | The bookings and the actual use of the capacities for the direction Bulgaria-Romania have a decreasing trend and that they did not raise to the aggregated level of unbinding capacity demand indications received from the two Network Users. At the IP Negru Voda 1/Kardam, the indications that were received from a network user for the direction from Romania to Bulgaria can be covered by the existing capacity for this direction.
| RO-HU | Transgaz, FGSZ | Demand Indication | TSOs cannot take the decision to initiate technical projects yet | Bidirectional | The indicative incremental capacity demand will be considered non-binding and will be taken into account only if the ROHU-Phase 2 Open Season is unsuccessful. If the Open Season is successful, the non-binding indicative demand should not be considered (it is valid only if the ongoing ROHU Open Season is ended without capacity allocation). Therefore, demand assesment can be resumed only following closure of the Open Season (15.04.2020). If the Open Season is closed unsuccessfully, then the Parties intend to start the incremental procedure.
Slovakia | SK-AT | eustream, Gas Connect Austria, TAG | Zero-Demand Indication | no | -
| SK-CZ | Net4Gas, eustream | Zero-Demand Indication | no | -
| SK-HU | eustream, FGSZ | Demand Indication | yes | exit HU / entry SK
| SK-PL | GAZ-SYSTEM, Eustream | Zero-Demand Indication | no | - | The PL‐SK interconnector is currently under construction with a plan to be finalized in the end of 2021. The projected transmission capacity is 4.7 bcm/year in the direction SK‐PL and 5.7 bcm/year in the direction PL‐SK.
Slovenia | SI-AT | Plinovodi, Gas Connect Austria | Zero-Demand Indication | no | - | The Austrian national network development plan contains the incremental capacity project ‘GCA 2015/08 Entry/Exit Murfeld’ which is a PCI. The Slovenian national network development plan contains the capacity project of bi-directional gas route Austria – Slovenia – Croatia which is part of the PCI stated above. Both TSOs will continue to develop these projects in the course of their respective national network development planning. This may also include an examination of additional demand levels in order to adapt the project to recent developments in the region.
| SI-HR | Plinovodi, Plinacro | Zero-Demand Indication | no | -
| SL-HU | FGSZ, Plinovodi | Demand Indication | yes | exit HU / entry SL
| SI-IT | SNAM RETE GAS, Plinovodi | Demand Indication | yes | exit Slovenia / entry Italy
Spain | ES-FR | Enagas, Terega | Zero-Demand Indication | no | -
| ES-PT | Enagas, REN | Zero-Demand Indication | no | -
United Kingdom | UK-NL | National Grid, BBL | Zero-Demand Indication | no | -
| UK-IE | National Grid, GNI | Zero-Demand Indication | no | -
| UK-UK | National Grid, IUK | Zero-Demand Indication | no | -
| UK-IE | National Grid, PTL | Zero-Demand Indication | no | -
| UK-BE | IUK, Fluxys | Zero-Demand Indication | no | -
| UK (NI)-IE | GNI, GNI UK | Zero-Demand Indication | no | -
*This summary includes CAM relevant points as well as points which currently do not exist but where non-binding commitments were received
Note on G65: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: FYI - at this point of time the ACER decision is issued but lets keep to the info as stated in DAR. https://www.acer.europa.eu/Official_documents/Acts_of_the_Agency/Individual%20decisions/ACER%20Decision%2013-2019%20on%20the%20incremental%20capacity%20project%20DE-PL.pdf