## COVER
Annex A - UGS WGV, Injection and Withdrawal

## WGV
Country | WGV, GWh | Gas in storage | Full, % | For the modelling of the different scenarios, the Summer Supply Outlook 2025 considers the storage inventory level per country on 1 April 2025 as the initial situation. The gas in storage for each country is based on the AGSI+ platform. For Serbia, the initial storage is considered is equal to the EU average due to non-availability of data. The relative filling level has been calculated using the Working Gas Volume and gas in the storage from the AGSI+ platform.
Austria | 101587 | 43591 | 42.91%
Belgium | 8410 | 3353 | 39.87%
Bulgaria | 5911 | 2011 | 34.02%
Croatia | 4773.5 | 441.3 | 9.245%
Czechia | 44432 | 15182 | 34.17%
Denmark | 9790 | 3300 | 33.71%
France | 125175 | 34145 | 27.28%
Germany (H) | 241565.8 | 67945 | 28.13%
Germany (L) | 5873.4 | 4077 | 69.41%
Hungary | 67991 | 24852 | 36.55%
Italy | 202085 | 85903 | 42.51%
Latvia | 25000 | 9275 | 37.1%
Netherlands | 144238 | 30303 | 21.01%
Poland | 37493 | 16012 | 42.71%
Portugal | 3570 | 2969 | 83.17%
Romania | 33864 | 8595 | 25.38%
Slovakia | 35171 | 13010 | 36.99%
Spain | 35832 | 22665 | 63.25%
Sweden | 105 | 21.5 | 20.48%
Total | 1132866.7 | 387650.8 | 34.22%
Serbia | 4396 | 1500 | 34.12%
Ukraine | 106400 | 0 | 0%
United Kingdom | 35000 | 11921.3 | 34.06%

## Strategic Storage
Country | Storages Methodology Annex
Austria | Strategic reserves consider a bottom limit of 21% of the total WGV in Austria (=20 TWh) for all periods.
Belgium | In Belgium there is a technical and regulatory constraint considered to have a 30% WGV target on 1st of February.
Bulgaria | In Bulgaria there is no minimum stock considered in the simulations.
Croatia | In Croatia there is no minimum stock considered in the simulations.
Czechia | Czechia has no strategic storage considered in the simulations but it has one fast storage salt cavern (UGS Háje) and its withdrawal is only allowed from January to March or, earlier, to avoid curtailment from October to December.
Germany | Germany has filling quotas to be fulfilled by the storage operators, depending on the time of the year. However, there are no specific strategic gas storages or gas storage reserves for use in place to be considered in the simulations.
Denmark | In Denmark the emergency storage is considered to be 20% of WGV and the share of protected customers is 75%.
Estonia | Estonia has around 1 TWh stored in Inčukalns underground gas storage in Latvia but there is no minimum stock considered in the simulations.
Spain | From 1st April until 31st March the following year, users have mandatory underground storage filing obligations. During the whole year, users should maintain in the underground storage facilities 20 days of their firm sales during the previous year. Half of this volume corresponds to the Minimum Strategic Security Stock, which can only be withdrawn by order of the Spanish Government (Minister Council) upon declaration of the "Emergency" crisis level. The other half corresponds to the Minimum Operational Security Stock of the System, which can only be withdrawn by users if it is previously authorized by the minister for the ecological transition and demographic challenge. The sum of both Minimum Strategic Security Stock and Minimum Operational Security Stock of the System corresponds approximately to 55% of the Spanish underground storage capacity.
France | France has no strategic storage considered in the simulations but "Saline"storages are fast salt caverns and their withdrawal is only allowed from January to March or, earlier, to avoid curtailment from October to December.
Greece | Greece has no storages, the strategic reserves of Greek users is purely market-based, it can be stored in UGS infrastructures of Bulgaria and Italy without any obligation from the storage operator’s side.
Hungary | Hungary considers 57% of UGS Szoreg strategic. The Ministry will decide to release the reserves for emergency and only 20% of withdrawal capacity can be used commercially if the strategic reserves need to be released.
Italy | Currently in Italy around 25% of the WGV can only be used at the request of the Ministry, primarily to satisfy internal demand, but it cannot be excluded that in the event of agreements between the governments with other countries, it could also be required to use it for cooperation. The strategic reserve is used to cover the demand when the quote of Commercial WGV is equal to zero and Ministry ask to SSO to use it.
Latvia | In Latvia 1.8TWh (8% WGV) are considered strategic reserves. According to Energy law of Latvia, natural gas reserves are state property and maintained by Latvia in the Incukalns underground gas storage in order to ensure continuous (uninterrupted) supply of natural gas and prevent an energy crisis. Cabinet of Ministers of Latvia makes decision on usage of reserves. This storage is also used by Estonia and Lithuania but no additional minimum stocks are considered for them in the simulations.
Netherlands | In The Netherlands there are no specific strategic gas storages or gas storage reserves considered in the simulations.
Poland | Mandatory reserves in Poland must cover an equivalent import of gas of at least to an average of 30 days. The reserves are calculated on the basis of the volume of imports made in the period from 1 April of the preceding year to 31 March of the current year.
Portugal | To be in line with national law REN dispatch requests security reserves equivalent to a total stock of 2.6 TWh, which may be stored in UGS Carriço and/or in the Sines LNG Terminal tanks. Their use must be authorized by the member of the Portuguese ministry, but the law states that they must consider the obligations assumed in international agreements and defined in the emergency plan. Market agents with gas consumption portfolio in Portugal constitute and maintain an additional reserve in the Carriço UGS infrastructure. The additional reserve begins to be constituted from October to March, with the following profile: of 320 GWh from October 1 to October 31; of 640 GWh from ‘November 1 to February 29; and of 320 GWh from ‘March 1 to March 31’.
Romania | In Romania there is no minimum stock considered in the simulations.
Sweden | In Sweden there is no minimum stock considered in the simulations.
Slovakia | In Slovakia there is no minimum stock considered in the simulations.

## Injection Curves
UGS inventory
NAME | 100% | 99% | 90% | 80% | 70% | 60% | 50% | 40% | 30% | 20% | 10% |  | In order to capture the influence of UGS inventory level on the injection capacity, ENTSOG has used the deliverability curves made available by GSE. These curves represent a weighted average of the facilities (salt caverns, aquifers or depleted fields) of each area.
STcAT | 0 | 0.6749 | 0.7913 | 0.87874 | 0.92239 | 0.94759 | 0.96835 | 0.98524 | 0.99612 | 0.99714 | 0.99866 | Injection availability
STcATm | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcATn | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcBEh | 0 | 0.18 | 0.18 | 0.35 | 0.35 | 1 | 1 | 1 | 1 | 1 | 1
STcBGn | 0 | 0.56 | 0.55 | 0.55 | 0.81 | 0.81 | 1 | 1 | 1 | 1 | 1
STcCZ | 0 | 0.3 | 0.4 | 0.6 | 0.75 | 0.85 | 1 | 1 | 1 | 1 | 1
STcCZd | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcCZs | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcDE | 0 | 0.5419 | 0.64517 | 0.7515 | 0.83572 | 0.90876 | 0.96514 | 0.98567 | 0.98938 | 0.9925 | 0.99677
STcDEd | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcDEdL | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcDEg | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcDEl | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcDEm | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcDEmL | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcDEn | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcDK | 0 | 0.75 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
STcES | 0 | 0.53834 | 0.85 | 0.9 | 0.9 | 0.9 | 0.95 | 1 | 1 | 1 | 1
STcFRa | 0 | 0.8025 | 0.825 | 0.85 | 0.9 | 0.95 | 1 | 1 | 1 | 1 | 1
STcFRn | 0 | 0.5419 | 0.64253 | 0.78876 | 0.91267 | 0.97985 | 1 | 1 | 1 | 1 | 1
STcFRnL | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
STcFRs | 0 | 0.26 | 0.55 | 0.61667 | 0.68333 | 0.75 | 0.81667 | 0.86667 | 0.9 | 0.93333 | 0.96667
STcFRt | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
STcGR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STcHR | 0 | 0.33 | 0.83 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
STcHU | 0 | 0.88 | 0.89 | 0.9067 | 0.9226 | 0.94 | 0.947 | 1 | 1 | 1 | 1
STcHUs | 0 | 0.8 | 0.85 | 0.9 | 0.95 | 1 | 1 | 1 | 1 | 1 | 1
STcIE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STcIT | 0 | 0.2 | 0.42 | 0.56 | 0.56 | 0.65 | 0.78 | 1 | 1 | 1 | 1
STcLT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STcLV | 0 | 0.5 | 0.6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
STcNL | 0 | 0.69048 | 0.70869 | 0.7269 | 0.7451 | 0.76331 | 0.78152 | 0.79062 | 0.82703 | 0.88166 | 0.94538
STcPL | 0 | 0.52085 | 0.5681 | 0.84167 | 0.88316 | 0.9027 | 0.88542 | 0.88887 | 0.89579 | 0.9027 | 0.96674
STcPT | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
STcRO | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcRS | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcSE | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcSK | 0 | 0.39 | 0.6 | 0.67 | 0.72 | 0.76 | 0.83 | 0.89 | 0.94 | 0.96 | 0.97
STcSKm | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcUK | 0 | 0.53834 | 0.64906 | 0.75861 | 0.81295 | 0.87163 | 0.92301 | 0.972 | 0.97886 | 0.98441 | 0.99269
STcUKn | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STcUAe | 0 | 0.80208 | 0.82843 | 0.84749 | 0.86656 | 0.88562 | 0.90468 | 0.92375 | 0.94281 | 0.96187 | 0.98094

## Withdrawal Curves
UGS inventory
NAME | 90% | 80% | 70% | 60% | 50% | 40% | 30% | 20% | 10% | 1% | 0% |  | In order to capture the influence of UGS inventory level on the withdrawal capacity, ENTSOG has used the deliverability curves made available by GSE. These curves represent a weighted average of the facilities (salt caverns, aquifers or depleted fields) of each area.
STcAT | 0.99453 | 0.99064 | 0.98331 | 0.98146 | 0.97488 | 0.9031 | 0.82814 | 0.73384 | 0.64557 | 0.58111 | 0 | Withdraw deliverability
STcATm | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcATn | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcBEh | 1 | 1 | 1 | 1 | 1 | 1 | 0.2 | 0.2 | 0.1 | 0.1 | 0
STcBGn | 1 | 1 | 1 | 1 | 1 | 0.93 | 0.82 | 0.72 | 0.64 | 0.56 | 0
STcCZ | 1 | 1 | 1 | 1 | 0.97 | 0.8 | 0.7 | 0.5 | 0.4 | 0.2 | 0
STcCZd | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcCZs | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcDE | 0.99794 | 0.99621 | 0.99168 | 0.99207 | 0.9776 | 0.85611 | 0.73551 | 0.58696 | 0.45021 | 0.31456 | 0
STcDEd | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcDEdL | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcDEg | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcDEl | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcDEm | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcDEmL | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcDEn | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcDK | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.85 | 0.33 | 0.25 | 0
STcES | 0.8 | 0.72 | 0.67 | 0.63 | 0.6 | 0.55 | 0.5 | 0.45 | 0.4 | 0.4 | 0
STcFRa | 0.892 | 0.784 | 0.69167 | 0.615 | 0.53833 | 0.46333 | 0.39 | 0.31667 | 0.24333 | 0.17733 | 0
STcFRn | 0.95655 | 0.9131 | 0.86432 | 0.81421 | 0.75032 | 0.66576 | 0.5888 | 0.51942 | 0.45054 | 0.31676 | 0
STcFRnL | 0.97778 | 0.95556 | 0.93333 | 0.91111 | 0.84545 | 0.73636 | 0.62727 | 0.51818 | 0.40909 | 0.31091 | 0
STcFRs | 1 | 1 | 1 | 1 | 1 | 1 | 0.85 | 0.7 | 0.4 | 0.13 | 0
STcFRt | 0.99969 | 0.99969 | 1 | 1 | 1 | 0.91213 | 0.73943 | 0.56486 | 0.39158 | 0.22221 | 0
STcGR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STcHR | 1 | 1 | 1 | 1 | 0.96 | 0.8 | 0.65 | 0.48 | 0.32 | 0.14 | 0
STcHU | 1 | 1 | 1 | 1 | 0.97 | 0.95 | 0.84 | 0.72 | 0.52 | 0.4 | 0
STcHUs | 1 | 1 | 1 | 1 | 1 | 0.95 | 0.9 | 0.8 | 0.7 | 0.5 | 0
STcIE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STcIT | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcLT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STcLV | 1 | 1 | 0.9 | 0.8 | 0.7 | 0.5 | 0.4 | 0.3 | 0.3 | 0.3 | 0
STcNL | 0.98179 | 0.96359 | 0.94538 | 0.92717 | 0.91807 | 0.89986 | 0.82703 | 0.7269 | 0.62676 | 0.53573 | 0
STcPL | 0.99654 | 0.95538 | 0.94847 | 0.93118 | 0.87586 | 0.63316 | 0.57724 | 0.44237 | 0.37703 | 0.23267 | 0
STcPT | 1 | 1 | 1 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0
STcRO | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcRS | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcSE | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcSK | 0.99 | 0.98 | 0.96 | 0.9 | 0.85 | 0.79 | 0.71 | 0.63 | 0.54 | 0.43 | 0
STcSKm | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcUK | 0.99485 | 0.99051 | 0.98238 | 0.98148 | 0.97513 | 0.8358 | 0.69432 | 0.55013 | 0.40646 | 0.26484 | 0
STcUKn | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STcUAe | 0.983 | 0.966 | 0.949 | 0.932 | 0.915 | 0.898 | 0.881 | 0.864 | 0.847 | 0.83 | 0