## Technology costs for TYNDP_HICP
2.1. Technology Costs for TYNDP 2026
[5 empty] | TYNDP 2026 | [5 empty] | Conversion factor: | [5 empty] | HICP year | 2024
No | Source | EUR Source | Year |  | 2030 | 2035 | 2040 | 2050 |  |  | 1 USD | = | 0.94967 | EUR | Source: | https://data.ecb.europa.eu/data/datasets/EXR/EXR.A.USD.EUR.SP00.A | HICP factor | 130.21
1 | 1 | 2020 | Rooftop PV (only residential)
|  | 1.2261 | CAPEX | €/MW | 1029966.0043 | 943574.3667 | 857182.7291 | 779559.4231 | [8 empty] | Year | HICP index
|  |  | OPEX | €/MW/a | 13119.0866 | 12444.7411 | 11770.3955 | 10912.1375 | [8 empty] | 2015 | 1.3021
|  |  | Nominal investment | [13 empty] | 2016 | 1.2989
|  |  | grid connection | €/MW | 30915.6794 | 29334.0325 | 27752.3856 | 26202.6169 | [8 empty] | 2017 | 1.2771
|  |  | inverter | €/MW | 177601.7809 | 160355.6993 | 143109.6178 | 127572.6958 | [8 empty] | 2018 | 1.2533
|  |  | pv modules | €/MW | 333750.7899 | 291143.7974 | 248536.8049 | 212445.8298 | [8 empty] | 2019 | 1.2352
|  |  | installation | €/MW | 279148.4157 | 264863.3243 | 250578.2329 | 236586.1752 | [8 empty] | 2020 | 1.2261
|  |  | other, i.e. residual balance of plant | €/MW | 208546.8863 | 197875.061 | 187203.2358 | 176749.6533 | [8 empty] | 2021 | 1.1915
|  |  | Fixed O&M | €/MW/a | 13119.0866 | 12444.7411 | 11770.3955 | 10912.1375 | [8 empty] | 2022 | 1.0913
|  |  | Lifetime assumptions | year | 40 | 40 | 40 | 40 | [8 empty] | 2023 | 1.026
[17 empty] | 2024 | 1
2 | 1 | 2020 | Utility-scale PV
|  | 1.2261 | CAPEX | €/MW | 465911.4878 | 429129.0019 | 392346.516 | 355564.0301
|  |  | OPEX | €/MW/a | 11647.7872 | 10789.5292 | 9931.2712 | 9073.0132
Nominal investment
|  |  | grid connection | €/MW | 61304.1431 | 55173.7288 | 49043.3145 | 49043.3145
|  |  | inverter | €/MW | 24521.6573 | 24521.6573 | 24521.6573 | 12260.8286
|  |  | pv modules | €/MW | 171651.6008 | 153260.3578 | 134869.1149 | 110347.4576
|  |  | installation | €/MW | 122608.2863 | 116477.8719 | 110347.4576 | 110347.4576
|  |  | other, i.e. residual balance of plant | €/MW | 49043.3145 | 49043.3145 | 49043.3145 | 36782.4859
|  |  | soft costs | €/MW | 36782.4859 | 36782.4859 | 36782.4859 | 36782.4859
|  |  | Fixed O&M | €/MW/a | 11647.7872 | 10789.5292 | 9931.2712 | 9073.0132
|  |  | Lifetime assumptions | year | 40 | 40 | 40 | 40
3 | 1 | 2020 | Utility-scale PV ground mounted, single axis tracking
|  | 1.2261 | CAPEX | €/MW | 551737.2881 | 508824.3879 | 465911.4878 | 429129.0019
|  |  | OPEX | €/MW/a | 12751.2618 | 12138.2203 | 11525.1789 | 11034.7458
Nominal investment
|  |  | grid connection | €/MW | 61304.1431 | 55173.7288 | 49043.3145 | 49043.3145
|  |  | inverter | €/MW | 24521.6573 | 24521.6573 | 24521.6573 | 12260.8286
|  |  | pv modules | €/MW | 171651.6008 | 153260.3578 | 134869.1149 | 110347.4576
|  |  | tracker related costs | €/MW | 85825.8004 | 79695.3861 | 73564.9718 | 73564.9718
|  |  | installation | €/MW | 122608.2863 | 116477.8719 | 110347.4576 | 110347.4576
|  |  | other, i.e. residual balance of plant | €/MW | 36782.4859 | 36782.4859 | 36782.4859 | 36782.4859
|  |  | soft costs | €/MW | 49043.3145 | 49043.3145 | 49043.3145 | 36782.4859
|  |  | Fixed O&M | €/MW/a | 12751.2618 | 12138.2203 | 11525.1789 | 11034.7458
|  |  | Lifetime assumptions | year | 40 | 40 | 40 | 40
4 | 2 | Dollar 2022 | Utility-Scale Battery Storage - 60 MW - 240 MWh
|  | 1.0913 | CAPEX | €/MW | 1504058.4232 | 1396361.8558 | 1288686.0153 | 1073413.0962
|  |  | OPEX | €/MW/a | 33685.2312 | 31087.124 | 28490.0532 | 23297.9843
|  |  | Nominal Investment | €/MW | 1504058.4232 | 1396361.8558 | 1288686.0153 | 1073413.0962
|  |  | Fixed O&M | €/MW/a | 33685.2312 | 31087.124 | 28490.0532 | 23297.9843
|  |  | Lifetime assumptions | years | 30 | 30 | 30 | 30
5 | 2 | Dollar 2022 | Residential Battery Storage - 5 kW - 12.5 kWh
|  | 1.0913 | CAPEX | €/MW | 3084353.2069 | 2891581.3258 | 2698809.4446 | 2313265.6824
|  |  | OPEX | €/MW/a | 74322.2385 | 69677.3577 | 65032.4768 | 55741.6789
|  |  | Nominal Investment | €/MW | 3084353.2069 | 2891581.3258 | 2698809.4446 | 2313265.6824
|  |  | Fixed O&M | €/MW/a | 74322.2385 | 69677.3577 | 65032.4768 | 55741.6789
|  |  | Lifetime assumptions | years | 30 | 30 | 30 | 30
6 | 1 | 2020 | Onshore wind
|  | 1.2261 | CAPEX | €/MW | 1405880.5578 | 1383226.2248 | 1360571.8917 | 1336783.432
|  |  | OPEX | €/MW/a | 20430.2187 | 20002.3158 | 19574.4129 | 19129.3448
Nominal Investment
|  |  | Equipment | €/MW | 1015324.1228 | 994079.172 | 972834.2212 | 950697.2951
|  |  | Installation/Development | €/MW | 105181.9705 | 102981.1518 | 100780.3331 | 98487.5581
|  |  | Related to grid connection | €/MW | 20939.0431 | 20720.8004 | 20502.5576 | 20272.054
|  |  | related to purchasing neighbour settlements | €/MW | 87203.9175 | 87804.6981 | 88405.4787 | 89058.9809 | *Category is new/altered
|  |  | Related to land purchase/rent | €/MW | 136042.4762 | 136042.4762 | 136042.4762 | 136042.4762 | *Category is new/altered
|  |  | related to decommisioning of existing turbines | €/MW | 38728.2794 | 38728.2794 | 38728.2794 | 38728.2794
|  |  | Fixed O&M | €/MW/a | 20430.2187 | 20002.3158 | 19574.4129 | 19129.3448
|  |  | Lifetime assumptions | year | 30 | 30 | 30 | 30
7 | 9 | 2023 | AC Radial Wind Offshore Fixed
|  | 1.026 | CAPEX | €/MW | 2443938.3815 | 2320305.0587 | 2196671.7359 | 2031485.3045
|  |  | OPEX | €/MW/a | 55404.1447 | 50274.1313 | 45144.1179 | 42066.1098
|  |  | Nominal investment |  | 2443938.3815 | 2320305.0587 | 2196671.7359 | 2031485.3045
|  |  | Fixed O&M | €/MW/a | 55404.1447 | 50274.1313 | 45144.1179 | 42066.1098
8 | 9 | 2023 | DC Radial Wind Offshore Fixed
|  | 1.026 | CAPEX | €/MW | 3529449.216 | 3355028.7605 | 3180608.3051 | 2944627.6889
|  |  | OPEX | €/MW/a | 34884.0911 | 32832.0857 | 30780.0804 | 28728.075
|  |  | Nominal investment | €/MW | 3529449.216 | 3355028.7605 | 3180608.3051 | 2944627.6889
|  |  | Fixed O&M | €/MW/a | 34884.0911 | 32832.0857 | 30780.0804 | 28728.075
9 | 9 | 2023 | Hub connected Wind Offshore Fixed
|  | 1.026 | CAPEX | €/MW | 2718907.0995 | 2575266.7245 | 2431626.3494 | 2257205.8939
|  |  | OPEX | €/MW/a | 51300.134 | 48222.1259 | 45144.1179 | 42066.1098
|  |  | Nominal investment | €/MW | 2718907.0995 | 2575266.7245 | 2431626.3494 | 2257205.8939
|  |  | Fixed O&M | €/MW/a | 51300.134 | 48222.1259 | 45144.1179 | 42066.1098
10 | 9 | 2023 | AC Radial Wind Offshore Floating
|  | 1.026 | CAPEX | €/MW | 3642309.5107 | 3098528.0908 | 2554746.6709 | 2318766.0547
|  |  | OPEX | €/MW/a | 90288.2358 | 69255.1808 | 48222.1259 | 41040.1072
|  |  | Nominal investment | €/MW | 3642309.5107 | 3098528.0908 | 2554746.6709 | 2318766.0547
|  |  | Fixed O&M | €/MW/a | 90288.2358 | 69255.1808 | 48222.1259 | 41040.1072
11 | 9 | 2023 | DC Radial Wind Offshore Floating
|  | 1.026 | CAPEX | €/MW | 4637532.1094 | 4052710.5823 | 3467889.0552 | 3149828.2247
|  |  | OPEX | €/MW/a | 93366.2438 | 71307.1862 | 49248.1286 | 42066.1098
|  |  | Nominal investment | €/MW | 4637532.1094 | 4052710.5823 | 3467889.0552 | 3149828.2247
|  |  | Fixed O&M | €/MW/a | 93366.2438 | 71307.1862 | 49248.1286 | 42066.1098
12 | 9 | 2023 | Hub connected Wind Offshore Floating
|  | 1.026 | CAPEX | €/MW | 3549969.2696 | 3011317.8631 | 2472666.4565 | 2236685.8404
|  |  | OPEX | €/MW/a | 93366.2438 | 71307.1862 | 49248.1286 | 42066.1098
|  |  | Nominal investment | €/MW | 3549969.2696 | 3011317.8631 | 2472666.4565 | 2236685.8404
|  |  | Fixed O&M | €/MW/a | 93366.2438 | 71307.1862 | 49248.1286 | 42066.1098
13 | 8 | 2021 | HVDC Cables Onshore
|  | 1.1915 | CAPEX | €/MW/km | 4277.5796 | 4215.0245 | 4152.4693 | 4027.3591 |  | New category
|  |  | OPEX | €/MW/km/a | 64.3424 | 63.1509 | 61.9594 | 60.7678
|  |  | Nominal investment | €/MW/km | 4277.5796 | 4215.0245 | 4152.4693 | 4027.3591
|  |  | Fixed O&M | €/MW/km/a | 64.3424 | 63.1509 | 61.9594 | 60.7678
14 | 8 | 2021 | HVDC Cables Offshore
|  | 1.1915 | CAPEX | €/MW/km | 2466.4596 | 2433.6926 | 2400.9256 | 2335.3917 |  | New category
|  |  | OPEX | €/MW/km/a | 36.9373 | 36.3416 | 35.7458 | 34.5543
|  |  | Nominal investment | €/MW/km | 2466.4596 | 2433.6926 | 2400.9256 | 2335.3917
|  |  | Fixed O&M | €/MW/km/a | 36.9373 | 36.3416 | 35.7458 | 34.5543
15 | 8 | 2020 | Onshore HVDC Station
|  | 1.2261 | CAPEX | €/MW | 392346.516 | 367824.8588 | 355564.0301 | 331042.3729
|  |  | OPEX | €/MW/a | 5885.1977 | 5517.3729 | 5333.4605 | 4965.6356
|  |  | Nominal investment | €/MW | 392346.516 | 367824.8588 | 355564.0301 | 331042.3729
|  |  | Fixed O&M | €/MW/a | 5885.1977 | 5517.3729 | 5333.4605 | 4965.6356
|  | Approved | Proposal 1
16 | 11 | 2022 | Electrolysis Offshore AEC | [7 empty] | 2030 | 2035 | 2040 | 2050
|  | 1.0913 | CAPEX | €/MW | 2542652.531 | 1920630.238 | 1298607.945 | 1156743.2115 |  | Fraction | 0.9 | 0.9 | 0.77 | 0.51
|  |  | OPEX | €/MW/a | 101706.1012 | 76825.2095 | 51944.3178 | 46269.7285
|  |  | Nominal investment | €/MW | 2542652.531 | 1920630.238 | 1298607.945 | 1156743.2115
|  |  | Fixed O&M | €/MW/a | 101706.1012 | 76825.2095 | 51944.3178 | 46269.7285
16 | 7 & 11 | 2021 | Electrolysis Offshore PEM
|  | 1.1915 | CAPEX | €/MW | 2394967.9722 | 2228154.2826 | 2055382.9612 | 1876654.0081 |  | Fraction | 0.1 | 0.1 | 0.23 | 0.49
|  |  | OPEX | €/MW/a | 83108.9632 | 77344.9545 | 71580.9457 | 65551.8224
|  |  | Nominal investment | €/MW | 2394967.9722 | 2228154.2826 | 2055382.9612 | 1876654.0081
|  |  | Fixed O&M | €/MW/a | 83108.9632 | 77344.9545 | 71580.9457 | 65551.8224
17 | 8 | 2020 | AC cables onshore and offshore
|  | 1.2261 | CAPEX | €/MW/km | 5529.6337 | 5296.678 | 5063.7222 | 4597.8107 |  | New category
|  |  | OPEX | €/MW/km/a | 138.5474 | 132.4169 | 126.2865 | 115.2518
|  |  | Nominal investment | €/MW/km | 5529.6337 | 5296.678 | 5063.7222 | 4597.8107
|  |  | Fixed O&M | €/MW/km/a | 138.5474 | 132.4169 | 126.2865 | 115.2518
18 | 8 | 2020 | Offshore HVDC Station incl. platform
|  | 1.2261 | CAPEX | €/MW | 919562.1469 | 882779.661 | 845997.1751 | 772432.2034 |  | New category
|  |  | OPEX | €/MW/a | 13793.4322 | 13241.6949 | 12689.9576 | 11586.4831
|  |  | Nominal investment | €/MW | 919562.1469 | 882779.661 | 845997.1751 | 772432.2034
|  |  | Fixed O&M | €/MW/a | 13793.4322 | 13241.6949 | 12689.9576 | 11586.4831
19 | 8 | 2020 | Onshore AC Station
|  | 1.2261 | CAPEX | €/MW | 306520.7156 | 294259.887 | 281999.0584 | 257477.4011 |  | New category
|  |  | OPEX | €/MW/a | 4597.8107 | 4413.8983 | 4229.9859 | 3862.161
|  |  | Nominal investment | €/MW | 306520.7156 | 294259.887 | 281999.0584 | 257477.4011
|  |  | Fixed O&M | €/MW/a | 4597.8107 | 4413.8983 | 4229.9859 | 3862.161
20 | 8 | 2020 | Offshore AC Station incl. platform
|  | 1.2261 | CAPEX | €/MW | 735649.7175 | 711128.0603 | 674345.5744 | 613041.4313 |  | New category
|  |  | OPEX | €/MW/a | 11034.7458 | 10666.9209 | 10115.1836 | 9195.6215
|  |  | Nominal investment | €/MW | 735649.7175 | 711128.0603 | 674345.5744 | 613041.4313
|  |  | Fixed O&M | €/MW/a | 11034.7458 | 10666.9209 | 10115.1836 | 9195.6215
21 | 7 | 2021 | H2-Pipeline new (including compression)
|  | 1.1915 | CAPEX | €/MW/km | 596.9547 | 588.614 | 580.2733 | 562.4004
|  |  | OPEX | €/MW/km/a | 7.1492 | 7.1492 | 7.1492 | 7.1492
|  |  | Nominal investment | €/MW/km | 596.9547 | 588.614 | 580.2733 | 562.4004
|  |  | Fixed O&M | €/MW/km/a | 7.1492 | 7.1492 | 7.1492 | 7.1492
22 | 7 | 2021 | H2-Pipeline repurposed (including compression)
|  | 1.1915 | CAPEX | €/MW/km | 166.8137 | 165.6222 | 164.4306 | 162.0476 |  | New category
|  |  | OPEX | €/MW/km/a | 2.3831 | 2.3831 | 2.3831 | 2.3831
|  |  | Nominal investment | €/MW/km | 166.8137 | 165.6222 | 164.4306 | 162.0476
|  |  | Fixed O&M | €/MW/km/a | 2.3831 | 2.3831 | 2.3831 | 2.3831
23 | 5 | 2020 | H2 Storage cavern
|  | 1.2261 | CAPEX | €/MWh | 2611.5565 | 2286.6445 | 1961.7326 | 1569.3861 |  | New category
|  |  | OPEX | €/MW/a | 55.1737 | 48.369 | 41.5642 | 33.2268
|  |  | Nominal investment | €/MWh | 2611.5565 | 2286.6445 | 1961.7326 | 1569.3861
|  |  | Fixed O&M | €/MW/a | 55.1737 | 48.369 | 41.5642 | 33.2268
24 | 5 | 2020 | H2 Storage steel tank
|  | 1.2261 | CAPEX | €/MWh | 58851.9774 | 47204.1902 | 35556.403 | 26973.823 |  | New category
|  |  | OPEX | €/MW/a | 651.9083 | 651.9083 | 651.9083 | 521.5756
|  |  | Nominal investment | €/MWh | 58851.9774 | 47204.1902 | 35556.403 | 26973.823
|  |  | Fixed O&M | €/MW/a | 651.9083 | 651.9083 | 651.9083 | 521.5756
|  | Approved | Proposal 1
25 | 11 | 2022 | Electrolysis Onshore AEC* | [7 empty] | 2030 | 2035 | 2040 | 2050
|  | 1.0913 | CAPEX | €/MW | 1451385.3503 | 1298607.945 | 1145830.5397 | 993053.1344 |  | Fraction | 0.9 | 0.9 | 0.77 | 0.51
|  |  | OPEX | €/MW/a | 58055.414 | 51944.3178 | 45833.2216 | 39722.1254
|  |  | Nominal investment | €/MW | 1451385.3503 | 1298607.945 | 1145830.5397 | 993053.1344
|  |  | Fixed O&M | €/MW/a | 58055.414 | 51944.3178 | 45833.2216 | 39722.1254
|  |  | Lifetime assumptions | a | 25 | 25 | 25 | 25
26 | 7 & 11 | 2021 | Electrolysis Onshore PEM* | [6 empty] | Fraction | 0.1 | 0.1 | 0.23 | 0.49
|  | 1.1915 | CAPEX | €/MW | 1489407.9429 | 1322594.2533 | 1149822.9319 | 965136.347
|  |  | OPEX | €/MW/a | 59576.3177 | 52784.6175 | 45992.9173 | 38605.4539
|  |  | Nominal investment | €/MW | 863856.6069 | 1009818.5853 | 1149822.9319 | 965136.347
|  |  | Fixed O&M | €/MW/a | 59576.3177 | 52784.6175 | 45992.9173 | 38605.4539
|  |  | Lifetime assumptions | a | 25 | 25 | 25 | 25
29 | 1 | 2020 | Gas turbine, open cycle - back pressure - natural gas - medium
|  | 1.2261 | CAPEX | €/MW | 573663.328 | 563885.3171 | 554107.3063 | 534551.2847
|  |  | OPEX | €/MW/a | 10098.0185 | 9993.1884 | 9888.3583 | 9677.472
|  |  | Nominal Investment | €/MW | 573663.328 | 563885.3171 | 554107.3063 | 534551.2847
|  |  | Fixed O&M | €/MW/a | 10098.0185 | 9993.1884 | 9888.3583 | 9677.472
|  |  | Lifetime assumptions | year | 25 | 25 | 25 | 25
30 | 1 | 2020 | Gas turbine, combined cycle - extraction - natural gas - large
|  | 1.2261 | CAPEX | €/MW | 1082139.5084 | 1072361.4976 | 1062583.4867 | 1043026.239
|  |  | OPEX | €/MW/a | 36245.4616 | 35658.7809 | 35072.1003 | 33898.739
|  |  | Nominal Investment | €/MW | 1082139.5084 | 1072361.4976 | 1062583.4867 | 1043026.239
|  |  | Fixed O&M | €/MW/a | 36245.4616 | 35658.7809 | 35072.1003 | 33898.739
|  |  | Lifetime assumptions | year | 25 | 25 | 25 | 25
| Notes |  | Technology | Comment
| * |  | Electrolyser costs | Costs vary significantly between technology type, plant size and sources. Please see background sheet for alternative electrolyser cost sources and prices

## Technology costs for TYNDP 2026
2.1. Technology Costs for TYNDP 2026
[5 empty] | TYNDP 2026 |  |  |  | Differences compared to TYNDP 2024 | [5 empty] | Conversion factor:
No | Source | EUR price year | Year |  | 2030 | 2035 | 2040 | 2050 |  | 2030 | 2040 | 2050 |  |  | 1 USD | = | 0.94967 | EUR | Source: | https://data.ecb.europa.eu/data/datasets/EXR/EXR.A.USD.EUR.SP00.A
1 | 1 | 2020 | Rooftop PV (only residential) | [5 empty] | Datasheet updated February 2024, interpolation for 2035 data required
|  |  | CAPEX | €/MW | 840046 | 769584.5 | 699123 | 635813 | % | 16.6731 | 20.5384 | 22.2717
|  |  | OPEX | €/MW/a | 10700 | 10150 | 9600 | 8900 | % | 0 | 0 | 0
Nominal investment
|  |  | grid connection | €/MW | 25215 | 23925 | 22635 | 21371 | % | -15.95 | 13.175 | 6.855
|  |  | inverter | €/MW | 144853 | 130787 | 116721 | 104049 | % | 3.4664 | -2.7325 | 4.049
|  |  | pv modules | €/MW | 272209 | 237458.5 | 202708 | 173272 | % | 0.81815 | 1.354 | 1.9247
|  |  | installation | €/MW | 227675 | 216024 | 204373 | 192961 | % | 106.9773 | 127.0811 | 114.4011
|  |  | other, i.e. residual balance of plant | €/MW | 170092 | 161388 | 152684 | 144158 | % | 0.054118 | 1.7893 | 2.97
|  |  | Fixed O&M | €/MW/a | 10700 | 10150 | 9600 | 8900 | % | 0 | 0 | 0
|  |  | Lifetime assumptions | year | 40 | 40 | 40 | 40
2 | 1 | 2020 | Utility-scale PV | [5 empty] | Datasheet updated February 2024, interpolation for 2035 data required
|  |  | CAPEX | €/MW | 380000 | 350000 | 320000 | 290000 | % | 0 | -3.0303 | 0
|  |  | OPEX | €/MW/a | 9500 | 8800 | 8100 | 7400 | % | 0 | 0 | 0
Nominal investment
|  |  | grid connection | €/MW | 50000 | 45000 | 40000 | 40000 | % | 0 | 0 | 0
|  |  | inverter | €/MW | 20000 | 20000 | 20000 | 10000 | % | 0 | 0 | 0
|  |  | pv modules | €/MW | 140000 | 125000 | 110000 | 90000 | % | 0 | 0 | 0
|  |  | installation | €/MW | 100000 | 95000 | 90000 | 90000 | % | 0 | 0 | 0
|  |  | other, i.e. residual balance of plant | €/MW | 40000 | 40000 | 40000 | 30000 | % | 0 | 0 | 0
|  |  | soft costs | €/MW | 30000 | 30000 | 30000 | 30000 | % | 0 | 0 | 0
|  |  | Fixed O&M | €/MW/a | 9500 | 8800 | 8100 | 7400 | % | 0 | 0 | 0
|  |  | Lifetime assumptions | year | 40 | 40 | 40 | 40
3 | 1 | 2020 | Utility-scale PV ground mounted, single axis tracking | [5 empty] | Datasheet updated February 2024, interpolation for 2035 data required
|  |  | CAPEX | €/MW | 450000 | 415000 | 380000 | 350000 | % | 0 | -2.5641 | 0
|  |  | OPEX | €/MW/a | 10400 | 9900 | 9400 | 9000 | % | 0 | 0 | 0
Nominal investment
|  |  | grid connection | €/MW | 50000 | 45000 | 40000 | 40000 | % | 0 | 0 | 0
|  |  | inverter | €/MW | 20000 | 20000 | 20000 | 10000 | % | 0 | 0 | 0
|  |  | pv modules | €/MW | 140000 | 125000 | 110000 | 90000 | % | 0 | 0 | 0
|  |  | tracker related costs | €/MW | 70000 | 65000 | 60000 | 60000 | % | 0 | 0 | 0
|  |  | installation | €/MW | 100000 | 95000 | 90000 | 90000 | % | 0 | 0 | 0
|  |  | other, i.e. residual balance of plant | €/MW | 30000 | 30000 | 30000 | 30000 | % | 0 | 0 | 0
|  |  | soft costs | €/MW | 40000 | 40000 | 40000 | 30000 | % | 0 | 0 | 0
|  |  | Fixed O&M | €/MW/a | 10400 | 9900 | 9400 | 9000 | % | 0 | 0 | 0
|  |  | Lifetime assumptions | year | 40 | 40 | 40 | 40
4 | 2 | Dollar 2022 | Utility-Scale Battery Storage - 60 MW - 240 MWh | [5 empty] | Source updated in 2024
|  |  | CAPEX | €/MW | 1378267.8063 | 1279578.3476 | 1180907.8822 | 983639.1263 | % | 92.3665 | 88.3059 | 82.9815
|  |  | OPEX | €/MW/a | 30867.9962 | 28487.1795 | 26107.3124 | 21349.4777 | % | 72.3314 | 66.522 | 58.8621
|  |  | Nominal Investment | €/MW | 1378267.8063 | 1279578.3476 | 1180907.8822 | 983639.1263 | % | 92.3665 | 88.3059 | 82.9815
|  |  | Fixed O&M | €/MW/a | 30867.9962 | 28487.1795 | 26107.3124 | 21349.4777 | % | 72.3314 | 66.522 | 58.8621
|  |  | Lifetime assumptions | years | 30 | 30 | 30 | 30
5 | 2 | Dollar 2022 | Residential Battery Storage - 5 kW - 12.5 kWh | [5 empty] | Source updated in 2024
|  |  | CAPEX | €/MW | 2826396.0114 | 2649746.4387 | 2473096.8661 | 2119797.7208 | % | 63.2544 | 63.2253 | 63.2544
|  |  | OPEX | €/MW/a | 68106.3628 | 63849.9525 | 59593.5423 | 51079.7721 | % | 57.3549 | 57.3261 | 57.3525
|  |  | Nominal Investment | €/MW | 2826396.0114 | 2649746.4387 | 2473096.8661 | 2119797.7208 | % | 63.2544 | 63.2253 | 63.2544
|  |  | Fixed O&M | €/MW/a | 68106.3628 | 63849.9525 | 59593.5423 | 51079.7721 | % | 57.3549 | 57.3261 | 57.3525
|  |  | Lifetime assumptions | years | 30 | 30 | 30 | 30
6 | 1 | 2020 | Onshore wind | [5 empty] | Datasheet updated February 2024, interpolation for 2035 data required
|  |  | CAPEX | €/MW | 1146644 | 1128167 | 1109690 | 1090288 | % | 10.2542 | 12.0899 | 12.4008
|  |  | OPEX | €/MW/a | 16663 | 16314 | 15965 | 15602 | % | 32.246 | 37.7243 | 37.5838
Nominal Investment
|  |  | Equipment | €/MW | 828104 | 810776.5 | 793449 | 775394 | % | 29.3912 | 34.4829 | 33.6886
|  |  | Installation/Development | €/MW | 85787 | 83992 | 82197 | 80327 | % | 7.2337 | 2.7462 | 14.7529
|  |  | Related to grid connection | €/MW | 17078 | 16900 | 16722 | 16534 | % | -65.844 | -66.556 | -66.932
|  |  | related to purchasing neighbour settlements | €/MW | 71124 | 71614 | 72104 | 72637 |  |  |  |  | *Category is new/altered
|  |  | Related to land purchase/rent | €/MW | 110957 | 110957 | 110957 | 110957 |  |  |  |  | *Category is new/altered
|  |  | related to decommisioning of existing turbines | €/MW | 31587 | 31587 | 31587 | 31587 | % | -21.0325 | -21.0325 | -21.0325
|  |  | Fixed O&M | €/MW/a | 16663 | 16314 | 15965 | 15602 | % | 32.246 | 37.7243 | 37.5838
|  |  | Lifetime assumptions | year | 30 | 30 | 30 | 30
7 | 9 | 2023 | AC Radial Wind Offshore Fixed | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 2382000 | 2261500 | 2141000 | 1980000 | % | 32.3333 | 29.7576 | 20.7317
|  |  | OPEX | €/MW/a | 54000 | 49000 | 44000 | 41000 | % | -6.8966 | -13.7255 | -16.3265
|  |  | Nominal investment |  | 2382000 | 2261500 | 2141000 | 1980000
|  |  | Fixed O&M | €/MW/a | 54000 | 49000 | 44000 | 41000 | % | -6.8966 | -13.7255 | -16.3265
8 | 9 | 2023 | DC Radial Wind Offshore Fixed | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 3440000 | 3270000 | 3100000 | 2870000 | % | 39.2713 | 34.1991 | 25.3275
|  |  | OPEX | €/MW/a | 34000 | 32000 | 30000 | 28000 | % | -53.4247 | -54.5455 | -56.25
|  |  | Nominal investment | €/MW | 3440000 | 3270000 | 3100000 | 2870000 | % | 39.2713 | 34.1991 | 25.3275
|  |  | Fixed O&M | €/MW/a | 34000 | 32000 | 30000 | 28000 | % | -53.4247 | -54.5455 | -56.25
9 | 9 | 2023 | Hub connected Wind Offshore Fixed | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 2650000 | 2510000 | 2370000 | 2200000 | % | 28.6408 | 24.7368 | 17.0213
|  |  | OPEX | €/MW/a | 50000 | 47000 | 44000 | 41000 | % | -23.0769 | -24.1379 | -26.7857
|  |  | Nominal investment | €/MW | 2650000 | 2510000 | 2370000 | 2200000 | % | 28.6408 | 24.7368 | 17.0213
|  |  | Fixed O&M | €/MW/a | 50000 | 47000 | 44000 | 41000 | % | -23.0769 | -24.1379 | -26.7857
10 | 9 | 2023 | AC Radial Wind Offshore Floating | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 3550000 | 3020000 | 2490000 | 2260000 | % | 22.4983 | 24.7183 | 18.7973
|  |  | OPEX | €/MW/a | 88000 | 67500 | 47000 | 40000 | % | 1.1494 | -23.2026 | -25.7885
|  |  | Nominal investment | €/MW | 3550000 | 3020000 | 2490000 | 2260000 | % | 22.4983 | 24.7183 | 18.7973
|  |  | Fixed O&M | €/MW/a | 88000 | 67500 | 47000 | 40000 | % | 1.1494 | -23.2026 | -25.7885
11 | 9 | 2023 | DC Radial Wind Offshore Floating | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 4520000 | 3950000 | 3380000 | 3070000 | % | 13.6621 | 20.9259 | 15.5699
|  |  | OPEX | €/MW/a | 91000 | 69500 | 48000 | 41000 | % | -16.895 | -39.3939 | -41.7614
|  |  | Nominal investment | €/MW | 4520000 | 3950000 | 3380000 | 3070000 | % | 13.6621 | 20.9259 | 15.5699
|  |  | Fixed O&M | €/MW/a | 91000 | 69500 | 48000 | 41000 | % | -16.895 | -39.3939 | -41.7614
12 | 9 | 2023 | Hub connected Wind Offshore Floating | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 3460000 | 2935000 | 2410000 | 2180000 | % | 4.3237 | 4.8282 | -0.036684
|  |  | OPEX | €/MW/a | 91000 | 69500 | 48000 | 41000 | % | -6.6667 | -31.0345 | -33.4416
|  |  | Nominal investment | €/MW | 3460000 | 2935000 | 2410000 | 2180000 | % | 4.3237 | 4.8282 | -0.036684
|  |  | Fixed O&M | €/MW/a | 91000 | 69500 | 48000 | 41000 | % | -6.6667 | -31.0345 | -33.4416
13 | 8 | 2021 | HVDC Cables Onshore | Year -> | 2030 | 2035 | 2040 | 2050 | interpolation for 2035 data required
|  |  | CAPEX | €/MW/km | 3590 | 3537.5 | 3485 | 3380 | % | 121.8789 | 115.3894 | 108.8999 |  | New category
|  |  | OPEX | €/MW/km/a | 54 | 53 | 52 | 51 | % | 35 | 30 | 27.5
|  |  | Nominal investment | €/MW/km | 3590 | 3537.5 | 3485 | 3380 | % | 121.8789 | 115.3894 | 108.8999
|  |  | Fixed O&M | €/MW/km/a | 54 | 53 | 52 | 51 | % | 35 | 30 | 27.5
14 | 8 | 2021 | HVDC Cables Offshore | Year -> | 2030 | 2035 | 2040 | 2050 | interpolation for 2035 data required
|  |  | CAPEX | €/MW/km | 2070 | 2042.5 | 2015 | 1960 | % |  |  |  |  | New category
|  |  | OPEX | €/MW/km/a | 31 | 30.5 | 30 | 29 | %
|  |  | Nominal investment | €/MW/km | 2070 | 2042.5 | 2015 | 1960 | %
|  |  | Fixed O&M | €/MW/km/a | 31 | 30.5 | 30 | 29 | %
15 | 8 | 2020 | Onshore HVDC Station
|  |  | CAPEX | €/MW | 320000 | 300000 | 290000 | 270000 | % | 28 | 16 | 8
|  |  | OPEX | €/MW/a | 4800 | 4500 | 4350 | 4050 | % | #VALUE! | #VALUE! | #VALUE!
|  |  | Nominal investment | €/MW | 320000 | 300000 | 290000 | 270000 | % | 28 | 16 | 8
|  |  | Fixed O&M | €/MW/a | 4800 | 4500 | 4350 | 4050 | % | #DIV/0! | #DIV/0! | #DIV/0!
Proposal 1
16 | 11 | 2022 | Electrolysis Offshore AEC | [5 empty] | interpolation for 2035 data required |  |  |  |  | 2030 | 2035 | 2040 | 2050
|  |  | CAPEX | €/MW | 2330000 | 1760000 | 1190000 | 1060000 | % | 174.1176 | 75 | 68.254 | Fraction | 0.9 | 0.9 | 0.77 | 0.51
|  |  | OPEX | €/MW/a | 93200 | 70400 | 47600 | 42400 | % | 417.7778 | 217.3333 | 202.8571
|  |  | Nominal investment | €/MW | 2330000 | 1760000 | 1190000 | 1060000 | % | 174.1176 | 75 | 68.254
|  |  | Fixed O&M | €/MW/a | 93200 | 70400 | 47600 | 42400 | % | 417.7778 | 217.3333 | 202.8571
16 | 7 & 11 | 2021 | Electrolysis Offshore PEM Proposal 1 | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 2010000 | 1870000 | 1725000 | 1575000 | % |  |  |  | Fraction | 0.1 | 0.1 | 0.23 | 0.49
|  |  | OPEX | €/MW/a | 69750 | 64912.5 | 60075 | 55015 | %
|  |  | Nominal investment | €/MW | 2010000 | 1870000 | 1725000 | 1575000 | %
|  |  | Fixed O&M | €/MW/a | 69750 | 64912.5 | 60075 | 55015 | %
Proposal 2
16 | 11 | 2022 | Electrolysis Offshore PEM | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 2600000 | 2430000 | 2260000 | 2090000 | %
|  |  | OPEX | €/MW/a | 104000 | 97200 | 90400 | 83600 | %
|  |  | Nominal investment | €/MW | 2600000 | 2430000 | 2260000 | 2090000 | %
|  |  | Fixed O&M | €/MW/a | 104000 | 97200 | 90400 | 83600 | %
16 | 7 | 2021 | Electrolysis Offshore PEM | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 1420000 | 1310000 | 1190000 | 1060000 | %
|  |  | OPEX | €/MW/a | 35500 | 32625 | 29750 | 26430 | %
|  |  | Nominal investment | €/MW | 1420000 | 1310000 | 1190000 | 1060000 | %
|  |  | Fixed O&M | €/MW/a | 35500 | 32625 | 29750 | 26430 | %
16 | 7 & 11 | 2021 | Electrolysis Offshore PEM Proposal 2 | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 2010000 | 1870000 | 1725000 | 1575000 | %
|  |  | OPEX | €/MW/a | 69750 | 64912.5 | 60075 | 55015 | %
|  |  | Nominal investment | €/MW | 2010000 | 1870000 | 1725000 | 1575000 | %
|  |  | Fixed O&M | €/MW/a | 69750 | 64912.5 | 60075 | 55015 | %
17 | 8 | 2020 | AC cables onshore and offshore
|  |  | CAPEX | €/MW/km | 4510 | 4320 | 4130 | 3750 | % |  |  |  |  | New category
|  |  | OPEX | €/MW/km/a | 113 | 108 | 103 | 94 | %
|  |  | Nominal investment | €/MW/km | 4510 | 4320 | 4130 | 3750 | %
|  |  | Fixed O&M | €/MW/km/a | 113 | 108 | 103 | 94 | %
18 | 8 | 2020 | Offshore HVDC Station incl. platform
|  |  | CAPEX | €/MW | 750000 | 720000 | 690000 | 630000 | % |  |  |  |  | New category
|  |  | OPEX | €/MW/a | 11250 | 10800 | 10350 | 9450 | %
|  |  | Nominal investment | €/MW | 750000 | 720000 | 690000 | 630000 | %
|  |  | Fixed O&M | €/MW/a | 11250 | 10800 | 10350 | 9450 | %
19 | 8 | 2020 | Onshore AC Station
|  |  | CAPEX | €/MW | 250000 | 240000 | 230000 | 210000 | % |  |  |  |  | New category
|  |  | OPEX | €/MW/a | 3750 | 3600 | 3450 | 3150 | %
|  |  | Nominal investment | €/MW | 250000 | 240000 | 230000 | 210000 | %
|  |  | Fixed O&M | €/MW/a | 3750 | 3600 | 3450 | 3150 | %
20 | 8 | 2020 | Offshore AC Station incl. platform
|  |  | CAPEX | €/MW | 600000 | 580000 | 550000 | 500000 | % |  |  |  |  | New category
|  |  | OPEX | €/MW/a | 9000 | 8700 | 8250 | 7500 | %
|  |  | Nominal investment | €/MW | 600000 | 580000 | 550000 | 500000 | %
|  |  | Fixed O&M | €/MW/a | 9000 | 8700 | 8250 | 7500 | %
21 | 7 | 2021 | H2-Pipeline new (including compression) | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW/km | 501 | 494 | 487 | 472 | % | -5.216 | -7.8646 | -10.7025
|  |  | OPEX | €/MW/km/a | 6 | 6 | 6 | 6 | % | 261.4458 | 261.4458 | 261.4458
|  |  | Nominal investment | €/MW/km | 501 | 494 | 487 | 472 | % | -5.216 | -7.8646 | -10.7025
|  |  | Fixed O&M | €/MW/km/a | 6 | 6 | 6 | 6 | % | 261.4458 | 261.4458 | 261.4458
22 | 7 | 2021 | H2-Pipeline repurposed (including compression) | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW/km | 140 | 139 | 138 | 136 | % |  |  |  |  | New category
|  |  | OPEX | €/MW/km/a | 2 | 2 | 2 | 2 | %
|  |  | Nominal investment | €/MW/km | 140 | 139 | 138 | 136 | %
|  |  | Fixed O&M | €/MW/km/a | 2 | 2 | 2 | 2 | %
23 | 5 | 2020 | H2 Storage cavern | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MWh | 2130 | 1865 | 1600 | 1280 | % |  |  |  |  | New category
|  |  | OPEX | €/MW/a | 45 | 39.45 | 33.9 | 27.1 | %
|  |  | Nominal investment | €/MWh | 2130 | 1865 | 1600 | 1280 | %
|  |  | Fixed O&M | €/MW/a | 45 | 39.45 | 33.9 | 27.1 | %
24 | 5 | 2020 | H2 Storage steel tank | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MWh | 48000 | 38500 | 29000 | 22000 | % |  |  |  |  | New category
|  |  | OPEX | €/MW/a | 531.7 | 531.7 | 531.7 | 425.4 | %
|  |  | Nominal investment | €/MWh | 48000 | 38500 | 29000 | 22000 | %
|  |  | Fixed O&M | €/MW/a | 531.7 | 531.7 | 531.7 | 425.4 | %
Proposal 1
25 | 11 | 2022 | Electrolysis Onshore AEC Proposal 1 values | [5 empty] | interpolation for 2035 data required |  |  |  |  | 2030 | 2035 | 2040 | 2050
|  |  | CAPEX | €/MW | 1330000 | 1190000 | 1050000 | 910000 | % | 141.8182 | 180 | 180 | Fraction | 0.9 | 0.9 | 0.77 | 0.51
|  |  | OPEX | €/MW/a | 53200 | 47600 | 42000 | 36400 | % | 204 | 250 | 246.6667
|  |  | Nominal investment | €/MW | 1330000 | 1190000 | 1050000 | 910000 | % | 141.8182 | 180 | 180
|  |  | Fixed O&M | €/MW/a | 53200 | 47600 | 42000 | 36400 | % | 303900 | 349900 | 346566.6667
|  |  | Lifetime assumptions | a | 25 | 25 | 25 | 25
26 | 7 & 11 | 2021 | Electrolysis Onshore PEM Proposal 1 values | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 1250000 | 1110000 | 965000 | 810000 | % |  |  |  | Fraction | 0.1 | 0.1 | 0.23 | 0.49
|  |  | OPEX | €/MW/a | 50000 | 44300 | 38600 | 32400 | %
|  |  | Nominal investment | €/MW | 725000 | 847500 | 965000 | 810000 | %
|  |  | Fixed O&M | €/MW/a | 50000 | 44300 | 38600 | 32400 | %
|  |  | Lifetime assumptions | a | 25 | 25 | 25 | 25
Proposal 2
25 | 11 | 2022 | Electrolysis Onshore PEM* | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 1600000 | 1430000 | 1260000 | 1090000 | % | 92.7711 | 54.6012 | 36.25
|  |  | OPEX | €/MW/a | 64000 | 57200 | 50400 | 43600 | % | 130.2158 | 87.3606 | 67.6923
|  |  | Nominal investment | €/MW | 550000 | 905000 | 1260000 | 1090000 | % | -33.7349 | 54.6012 | 36.25
|  |  | Fixed O&M | €/MW/a | 64000 | 57200 | 50400 | 43600 | % | 130.2158 | 87.3606 | 67.6923
|  |  | Lifetime assumptions | a | 25 | 25 | 25 | 25
26 | 7 | 2021 | Electrolysis Onshore PEM* | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 900000 | 790000 | 670000 | 530000 | %
|  |  | OPEX | €/MW/a | 36000 | 31400 | 26800 | 21200 | %
|  |  | Nominal investment | €/MW | 900000 | 790000 | 670000 | 530000 | %
|  |  | Fixed O&M | €/MW/a | 36000 | 31400 | 26800 | 21200 | %
|  |  | Lifetime assumptions | a | 25 | 25 | 25 | 25
26 | 7 & 11 | 2021 | Electrolysis Onshore PEM Proposal 2 values | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 1250000 | 1110000 | 965000 | 810000 | %
|  |  | OPEX | €/MW/a | 50000 | 44300 | 38600 | 32400 | %
|  |  | Nominal investment | €/MW | 725000 | 847500 | 965000 | 810000 | %
|  |  | Fixed O&M | €/MW/a | 50000 | 44300 | 38600 | 32400 | %
|  |  | Lifetime assumptions | a | 25 | 25 | 25 | 25
29 | 1 | 2020 | Gas turbine, open cycle - back pressure - natural gas - medium | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 467883 | 459908 | 451933 | 435983 | % | 6.337 | 6.3372 | 6.3373
|  |  | OPEX | €/MW/a | 8236 | 8150.5 | 8065 | 7893 | % | 6.3396 | 6.3423 | 6.3317
|  |  | Nominal Investment | €/MW | 467883 | 459908 | 451933 | 435983 | % | 6.337 | 6.3372 | 6.3373
|  |  | Fixed O&M | €/MW/a | 8236 | 8150.5 | 8065 | 7893 | % | 6.3396 | 6.3423 | 6.3317
|  |  | Lifetime assumptions | year | 25 | 25 | 25 | 25
30 | 1 | 2020 | Gas turbine, combined cycle - extraction - natural gas - large | [5 empty] | interpolation for 2035 data required
|  |  | CAPEX | €/MW | 882599 | 874624 | 866649 | 850698 | % | 6.3372 | 6.3373 | 6.3373
|  |  | OPEX | €/MW/a | 29562 | 29083.5 | 28605 | 27648 | % | 6.3381 | 6.3383 | 6.3385
|  |  | Nominal Investment | €/MW | 882599 | 874624 | 866649 | 850698 | % | 6.3372 | 6.3373 | 6.3373
|  |  | Fixed O&M | €/MW/a | 29562 | 29083.5 | 28605 | 27648 | % | 6.3381 | 6.3383 | 6.3385
|  |  | Lifetime assumptions | year | 25 | 25 | 25 | 25
| Notes |  | Technology | Comment
| * |  | Electrolyser costs | Costs vary significantly between technology type, plant size and sources. Please see background sheet for alternative electrolyser cost sources and prices

## Alternative electrolyser source
|  | Danish data catalogue |  |  |  |  | Danish data catalogue |  |  |  |  | Danish data catalogue |  |  |  |  | Danish data catalogue |  |  |  |  | North Sea Wind Power Hub - PEM onshore |  |  |  |  | North Sea Wind Power Hub - PEM offshore |  |  |  |  | European Commision - PEM |  |  |  |  | European Commision - Alkaline |  |  |  |  | Belgian electricity system blueprint for 2035-2050 |  |  |  |  | Belgian electricity system blueprint for 2035-2050 |  |  |  |  | Belgian electricity system blueprint for 2035-2050 |  |  |  |  | Belgian electricity system blueprint for 2035-2050 |  |  |  |  | IEA - Global hydrogen review 2023 |  |  |  |  | Present and future cost of alkaline and PEM electrolyser stacks |  |  |  |  | Present and future cost of alkaline and PEM electrolyser stacks |  |  |  |  | LAZARD |  |  |  |  | LAZARD |  |  |  |  | Bloomberg |  |  |  |  | Bloomberg
| Link | https://ens.dk/en/analyses-and-statistics/technology-data-renewable-fuels |  |  |  |  | https://ens.dk/en/analyses-and-statistics/technology-data-renewable-fuels |  |  |  |  | https://ens.dk/en/analyses-and-statistics/technology-data-renewable-fuels |  |  |  |  | https://ens.dk/en/analyses-and-statistics/technology-data-renewable-fuels | [14 empty] | COMMISSION STAFF WORKING DOCUMENT IMPACT ASSESSMENT REPORT |  |  |  |  | COMMISSION STAFF WORKING DOCUMENT IMPACT ASSESSMENT REPORT |  |  |  |  | https://www.elia.be/en/press/2024/09/20240924_elia-publishes-blueprint-for-the-belgian-electricity-system-2035-2050 |  |  |  |  | https://www.elia.be/en/press/2024/09/20240924_elia-publishes-blueprint-for-the-belgian-electricity-system-2035-2050 |  |  |  |  | https://www.elia.be/en/press/2024/09/20240924_elia-publishes-blueprint-for-the-belgian-electricity-system-2035-2050 |  |  |  |  | https://www.elia.be/en/press/2024/09/20240924_elia-publishes-blueprint-for-the-belgian-electricity-system-2035-2050 |  |  |  |  | Global Hydrogen Review |  |  |  |  | Hydrogen and the decarbonization of the energy system in europe in 2050: A detailed model-based analysis - ScienceDirect |  |  |  |  | Hydrogen and the decarbonization of the energy system in europe in 2050: A detailed model-based analysis - ScienceDirect
| Reference year | [40 empty] | Eur 2022 |  |  |  |  | Eur 2022 |  |  |  |  | Eur 2022 |  |  |  |  | Eur 2022
| Technology | AEC |  |  |  |  | PEM |  |  |  |  | AEC |  |  |  |  | PEM |  |  |  |  | PEM |  |  |  |  | PEM |  |  |  |  | PEM |  |  |  |  | AEC |  |  |  |  | AEC |  |  |  |  | AEC |  |  |  |  | PEM |  |  |  |  | PEM |  |  |  |  | Not defined? |  |  |  |  | AEC |  |  |  |  | PEM |  |  |  |  | PEM |  |  |  |  | AEC
| Onshore/offshore | Onshore |  |  |  |  | Onshore |  |  |  |  | Onshore |  |  |  |  | Onshore |  |  |  |  | Onshore |  |  |  |  | Offshore |  |  |  |  | Not defined |  |  |  |  | Not defined |  |  |  |  | Onshore |  |  |  |  | Offshore |  |  |  |  | Onshore |  |  |  |  | Offshore |  |  |  |  | Not defined? |  |  |  |  | Not defined? |  |  |  |  | Not defined?
| Capacity (MW) | 100 |  |  |  |  | 100 |  |  |  |  | 1000 |  |  |  |  | 1000 |  |  |  |  | Onshore |  |  |  |  | Offshore |  |  |  |  | Not defined |  |  |  |  | Not defined | [24 empty] | Not defined? |  |  |  |  | Not defined? |  |  |  |  | Not defined?
|  | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost | 2030 | 2035 | 2040 | 2050 | Current cost
| CAPEX [M€/MW] | 0.55 | 0.4875 | 0.425 | 0.3 | 0.875 | 0.65 | 0.575 | 0.5 | 0.35 | 0.975 | 0.5 | 0.45 | 0.4 | 0.275 | 0.8 | 0.6 | 0.525 | 0.45 | 0.325 | 0.9 | 0.9 | 0.79 | 0.67 | 0.53 |  | 1.42 | 1.31 | 1.19 | 1.06 |  | 0.833 |  | 0.683 | 0.529 |  | 0.675 |  | 0.572 | 0.518 |  | 1.33 |  | 1.05 | 0.91 |  | 2.33 |  | 2.05 | 1.91 |  | 1.6 |  | 1.26 | 1.09 |  | 2.6 |  | 2.26 | 2.09 |  | 0.735 |  |  |  |  | 0.066 |  |  |  |  | 0.149
| OPEX [M€/MW/year] | 0.022 | 0.0195 | 0.017 | 0.012 | 0.035 | 0.013 | 0.0115 | 0.01 | 0.007 | 0.039 | 0.02 | 0.018 | 0.016 | 0.011 | 0.032 | 0.012 | 0.0105 | 0.009 | 0.0065 | 0.036 | 0.0225 | 0.02 | 0.01675 | 0.01333 |  | 0.0355 | 0.03263 | 0.02975 | 0.02643
CAPEX [M€/MW] | Offshore wind
Project development etc.
Turbines
Foundation
Array cables
Platform expansion for electrolysis
Electrolysis
System
Stack
Water treatment
Offshore/onshore electrical substation
Platform
Initial compression
Pipeline infrastructure
Array pipes
Transport pipe
Running compression
El infra
export cables
Substation
Offshore constructions / platforms incl converter
Onshore construction
OPEX | WTG Fixed O&M [€/MW/y]
WTG Variable O&M [€/MWh]
HVCD cable O&M [€/y]
HVCD converter O&M [€/y]
Electrolyser o&M [€/y]
water treatment O&M [€/y]
Compressor opex [M€/MW/y]
Booster compressor opex [M€/MW/km/y]
Assumptions | FLH assumption [flh]
cable distance [km]
HVDC cable O&M [%capex/y]
HVDC converter O&M [%capex/y]
Electrolyser O&M [%capex/y]
water treatment O&M [%capex/y]
platform opex [%capex/y]
Specific investment | 525kV HVDC cable connection [M€/MW/km]
525kV HVDC cable connection [M€/MW/km]
Offshore HVDC hub module [M€/MW]
Onshore HVDC hub module [M€/MW]
Offshore Medium H2 new pipeline [M€/MW/km]
Notes |  | Source: MottMacDonald (Dec 2021) NSWPH Cost Estimate Methodology Report (Concept Stage), p.11 |  |  |  |  | Source: MottMacDonald (Dec 2021) NSWPH Cost Estimate Methodology Report (Concept Stage), p.11 |  |  |  |  | Source: MottMacDonald (Dec 2021) NSWPH Cost Estimate Methodology Report (Concept Stage), p.11 |  |  |  |  | Source: MottMacDonald (Dec 2021) NSWPH Cost Estimate Methodology Report (Concept Stage), p.11 |  |  |  |  | Source: MottMacDonald (Dec 2021) NSWPH Cost Estimate Methodology Report (Concept Stage), p.11 |  |  |  |  | Source: MottMacDonald (Dec 2021) NSWPH Cost Estimate Methodology Report (Concept Stage), p.11 |  |  |  |  | Part 3 page 177 |  |  |  |  | Part 3 page 177 | [24 empty] | Different numbers are presented in the report and the capex can take on very different values in 2030 depending on the scenario and if the electrolyser is produced in China or Europe. No specific type mentioned PEM or Alkaline |  |  |  |  | No Opex estimates. No estimates beyond 2030 |  |  |  |  | No Opex estimates. No estimates beyond 2030 |  |  |  |  | No Opex estimates. No estimates beyond 2030 | [9 empty] | No Opex estimates. No estimates beyond 2030 |  |  |  |  | No Opex estimates. No estimates beyond 2030
[32 empty] | Euros 2015 |  |  |  |  | Euros 2015 | [29 empty] | The estimated price is a span: 52 - 79 euro/kW |  |  |  |  | The estimated price is a span: 63 - 234 euro/kW |  |  |  |  | The estimated price is a span: 63 - 234 euro/kW | [9 empty] | The estimated price is a span: 63 - 234 euro/kW |  |  |  |  | The estimated price is a span: 63 - 234 euro/kW
|  | From the cost estimate methodology report: Average CAPEX for electrolyser system based on literature from 2014 to 2020. In many cases, the size of the system, what was included/excluded, and source of the costs is not clear |  |  |  |  | From the cost estimate methodology report: Average CAPEX for electrolyser system based on literature from 2014 to 2020. In many cases, the size of the system, what was included/excluded, and source of the costs is not clear |  |  |  |  | From the cost estimate methodology report: Average CAPEX for electrolyser system based on literature from 2014 to 2020. In many cases, the size of the system, what was included/excluded, and source of the costs is not clear |  |  |  |  | From the cost estimate methodology report: Average CAPEX for electrolyser system based on literature from 2014 to 2020. In many cases, the size of the system, what was included/excluded, and source of the costs is not clear |  |  |  |  | From the cost estimate methodology report: Average CAPEX for electrolyser system based on literature from 2014 to 2020. In many cases, the size of the system, what was included/excluded, and source of the costs is not clear | [9 empty] | No Opex cost mentioned |  |  |  |  | No Opex cost mentioned
Green Hydrogen in China: A Roadmap for Progress ¦ World Economic Forum

## Cables and stations
|  | AC cables onshore and offshore |  |  |  |  | DC cables onshore |  |  |  |  | DC cables offshore |  |  |  |  | Onshore HVDC Station |  |  |  |  | Offshore HVDC Station incl. platform |  |  |  |  | Onshore AC Station |  |  |  |  | Offshore AC Station incl. platform
|  | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source
| CAPEX [M€/MW] |  |  |  |  | Danish Data Catalogue | [10 empty] | 0.32 | 0.3 | 0.29 | 0.27 |  | 0.75 | 0.72 | 0.69 | 0.63 |  | 0.25 | 0.24 | 0.23 | 0.21 |  | 0.6 | 0.58 | 0.55 | 0.5
| OPEX [M€/MW/year] |  |  |  |  | 8 - Technology Catalogue electricity transmission - consultation draft - nov 2024.xlsx | [10 empty] | 0.0048 | 0.0045 | 0.00435 | 0.00405 |  | 0.01125 | 0.0108 | 0.01035 | 0.00945 |  | 0.00375 | 0.0036 | 0.00345 | 0.00315 |  | 0.009 | 0.0087 | 0.00825 | 0.0075
| CAPEX [M€/MW/km] | 0.00451 | 0.00432 | 0.00413 | 0.00375 |  | 0.00544 | 0.00522 | 0.00499 | 0.00453 |  | 0.00429 | 0.00411 | 0.00394 | 0.00358
| OPEX [M€/MW/km/year] | 0.00011275 | 0.000108 | 0.00010325 | 9.375e-05 |  | 0.000136 | 0.0001305 | 0.00012475 | 0.00011325 |  | 0.00010725 | 0.00010275 | 9.85e-05 | 8.95e-05
CAPEX [M€/MW] | Offshore wind
Project development etc.
Turbines
Foundation
Array cables
Platform expansion for electrolysis
Electrolysis
System
Water treatment
Offshore/onshore electrical substation
Platform
Initial compression
Pipeline infrastructure
Array pipes
Transport pipe
Running compression
El infra
| Substation | [15 empty] | 0.32 | 0.3 | 0.29 | 0.27 |  | 0.75 | 0.72 | 0.69 | 0.63 |  | 0.25 | 0.24 | 0.23 | 0.21 |  | 0.6 | 0.58 | 0.55 | 0.5
| export cables | 0.00451 | 0.00432 | 0.00413 | 0.00375 |  | 0.00544 | 0.00522 | 0.00499 | 0.00453 |  | 0.00429 | 0.00411 | 0.00394 | 0.00358
Offshore constructions / platforms incl converter
Onshore construction
OPEX | WTG Fixed O&M [€/MW/y]
WTG Variable O&M [€/MWh]
| HVCD cable O&M [€/y] | 0.00011275 | 0.000108 | 0.00010325 | 9.375e-05 |  | 0.000136 | 0.0001305 | 0.00012475 | 0.00011325 |  | 0.00010725 | 0.00010275 | 9.85e-05 | 8.95e-05
HVCD converter O&M [€/y]
Electrolyser o&M [€/y]
water treatment O&M [€/y]
Compressor opex [M€/MW/y]
Booster compressor opex [M€/MW/km/y]
Assumptions | FLH assumption [flh]
cable distance [km]
| HVDC cable O&M [%capex/y] | 2.5% | 2.5% | 2.5% | 2.5% |  | 2.5% | 2.5% | 2.5% | 2.5% |  | 2.5% | 2.5% | 2.5% | 2.5% |  | 1.5% | 1.5% | 1.5% | 1.5% |  | 1.5% | 1.5% | 1.5% | 1.5% |  | 1.5% | 1.5% | 1.5% | 1.5% |  | 1.5% | 1.5% | 1.5% | 1.5%
HVDC converter O&M [%capex/y]
Electrolyser O&M [%capex/y]
water treatment O&M [%capex/y]
platform opex [%capex/y]
Specific investment | 525kV HVDC cable connection [M€/MW/km]
525kV HVDC cable connection [M€/MW/km]
Offshore HVDC hub module [M€/MW]
Onshore HVDC hub module [M€/MW]
Offshore Medium H2 new pipeline [M€/MW/km]

## Offshore Fixed Specifics
|  | AC near shore radial wind |  | AC offshore radial wind fixed |  |  |  |  | DC offshore radial wind fixed
|  | 2030 | Source | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source
| CAPEX [M€/MW] | 1.55 | [12] | 2.382 | 2.241 | 2.141 | 1.98 | [12] | 3.44 | 3.24 | 3.1 | 2.86 | [12]
| OPEX [M€/MW/year] | 0.048145 |  | 0.054025 | 0.046378 | 0.043754 | 0.040788 |  | 0.04987 | 0.046694 | 0.044053 | 0.041066
CAPEX [M€/MW/km]
OPEX [M€/MW/km/year]
CAPEX [M€/MW] | Offshore wind | 1.46 |  | 1.552 | 1.441 | 1.371 | 1.28 |  | 1.59 | 1.47 | 1.4 | 1.31
| Project development etc. | 0.13 |  | 0.17 | 0.17 | 0.16 | 0.16 |  | 0.17 | 0.17 | 0.16 | 0.16
| Turbines | 0.93 |  | 0.93 | 0.85 | 0.81 | 0.75 |  | 0.93 | 0.85 | 0.81 | 0.75
| Foundation | 0.38 |  | 0.41 | 0.38 | 0.36 | 0.33 |  | 0.45 | 0.41 | 0.39 | 0.36
| Array cables | 0.02 |  | 0.042 | 0.041 | 0.041 | 0.04 |  | 0.04 | 0.04 | 0.04 | 0.04
Platform expansion for electrolysis
Electrolysis
System
Water treatment
Offshore/onshore electrical substation
Platform
Initial compression
Pipeline infrastructure
Array pipes
Transport pipe
Running compression
| El infra | 0.09 |  | 0.83 | 0.8 | 0.77 | 0.7 |  | 1.85 | 1.77 | 1.7 | 1.55
| Substation | 0 |  | 0.57 | 0.55 | 0.53 | 0.48 |  | 1.06 | 1.01 | 0.97 | 0.89
| export cables | 0.09 |  | 0.26 | 0.25 | 0.24 | 0.22 |  | 0.79 | 0.76 | 0.73 | 0.66
Offshore constructions / platforms incl converter
Onshore construction
OPEX | WTG Fixed O&M [€/MW/y] | 3.45 |  | 34000 | 32000 | 30000 | 28000 |  | 34000 | 32000 | 30000 | 28000
| WTG Variable O&M [€/MWh] | 34000 |  | 4.45 | 3.16 | 2.99 | 2.78 |  | 3.45 | 3.16 | 2.99 | 2.78
HVCD cable O&M [€/y]
HVCD converter O&M [€/y]
Electrolyser o&M [€/y]
water treatment O&M [€/y]
Compressor opex [M€/MW/y]
Booster compressor opex [M€/MW/km/y]
Assumptions | FLH assumption [flh] | 4100 |  | 4500 | 4550 | 4600 | 4600 |  | 4600 | 4650 | 4700 | 4700
| cable distance [km] |  |  | 60 | 60 | 60 | 60 |  | 175 | 175 | 175 | 175
| HVDC cable O&M [%capex/y] | [7 empty] | 2.5% |  | 2.5% | 2.5%
| HVDC converter O&M [%capex/y] | [7 empty] | 1.5% |  | 1.5% | 1.5%
Electrolyser O&M [%capex/y]
water treatment O&M [%capex/y]
platform opex [%capex/y]
Specific investment | 525kV HVDC cable connection [M€/MW/km] | [7 empty] | 0.001235 |  | 0.001235 | 0.001235
| 525kV HVDC cable connection [M€/MW/km] | [7 empty] | 0.002 |  | 0.002 | 0.002
| Offshore HVDC hub module [M€/MW] | [7 empty] | 0.5 |  | 0.5 | 0.5
| Onshore HVDC hub module [M€/MW] | [7 empty] | 0.25 |  | 0.25 | 0.25
Offshore Medium H2 new pipeline [M€/MW/km]

## Offshore wind hub Specifics
|  | Hub connected wind DC fixed* |  |  |  |  | Hub connected wind DC floating*
|  | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source
| CAPEX [M€/MW] | 2.65 | 2.48 | 2.37 | 2.2 | [12] | 3.46 | 2.81 | 2.41 | 2.18 | [12]
| OPEX [M€/MW/year] | 0.04987 | 0.046694 | 0.044053 | 0.041066 |  | 0.090612 | 0.061576 | 0.048228 | 0.041113
CAPEX [M€/MW/km]
OPEX [M€/MW/km/year]
CAPEX [M€/MW] | Offshore wind | 1.59 | 1.47 | 1.4 | 1.31 |  | 2.8 | 2.17 | 1.8 | 1.63
| Project development etc. | 0.17 | 0.17 | 0.16 | 0.16 |  | 0.23 | 0.23 | 0.16 | 0.16
| Turbines | 0.93 | 0.85 | 0.81 | 0.75 |  | 0.93 | 0.85 | 0.81 | 0.75
| Foundation | 0.45 | 0.41 | 0.39 | 0.36 |  | 1.6 | 1.05 | 0.79 | 0.68
| Array cables | 0.04 | 0.04 | 0.04 | 0.04 |  | 0.04 | 0.04 | 0.04 | 0.04
Platform expansion for electrolysis
Electrolysis
System
Water treatment
Offshore/onshore electrical substation
Platform
Initial compression
Pipeline infrastructure
Array pipes
Transport pipe
Running compression
| El infra | 1.06 | 1.01 | 0.97 | 0.89 |  | 0.66 | 0.64 | 0.61 | 0.55
export cables
| Substation | 1.06 | 1.01 | 0.97 | 0.89 |  | 0.66 | 0.64 | 0.61 | 0.55
Offshore constructions / platforms incl converter
Onshore construction
OPEX | WTG Fixed O&M [€/MW/y] | 34000 | 32000 | 30000 | 28000 |  | 62000 | 42000 | 33000 | 28000
| WTG Variable O&M [€/MWh] | 3.45 | 3.16 | 2.99 | 2.78 |  | 6.22 | 4.21 | 3.24 | 2.79
HVCD cable O&M [€/y]
HVCD converter O&M [€/y]
Electrolyser o&M [€/y]
water treatment O&M [€/y]
Compressor opex [M€/MW/y]
Booster compressor opex [M€/MW/km/y]
Assumptions | FLH assumption [flh] | 4600 | 4650 | 4700 | 4700 |  | 4600 | 4650 | 4700 | 4700
| cable distance [km] | [5 empty] | 150 | 150 | 150 | 150
HVDC cable O&M [%capex/y]
HVDC converter O&M [%capex/y]
Electrolyser O&M [%capex/y]
water treatment O&M [%capex/y]
platform opex [%capex/y]
Specific investment | 525kV HVDC cable connection [M€/MW/km]
525kV HVDC cable connection [M€/MW/km]
Offshore HVDC hub module [M€/MW]
Onshore HVDC hub module [M€/MW]
Offshore Medium H2 new pipeline [M€/MW/km]
Notes |  | *based on radial DC offshore minus export cables |  |  |  |  | *based on radial DC offshore floating minus export cables

## Offshore Floating Specifics
|  | AC radial wind floating |  |  |  |  | DC radial wind floating
|  | 2030 | 2035 | 2040 | 2050 | Source | 2030 | 2035 | 2040 | 2050 | Source
| CAPEX [M€/MW] | 3.55 | 2.89 | 2.49 | 2.26 | [12] | 4.52 | 3.82 | 3.38 | 3.07 | [12]
| OPEX [M€/MW/year] | 0.087502 | 0.059471 | 0.046608 | 0.039718 |  | 0.090612 | 0.061576 | 0.048228 | 0.041113
CAPEX [M€/MW/km]
OPEX [M€/MW/km/year]
CAPEX [M€/MW] | Offshore wind | 2.8 | 2.17 | 1.8 | 1.63 |  | 2.8 | 2.17 | 1.8 | 1.63
| Project development etc. | 0.23 | 0.23 | 0.16 | 0.16 |  | 0.23 | 0.23 | 0.16 | 0.16
| Turbines | 0.93 | 0.85 | 0.81 | 0.75 |  | 0.93 | 0.85 | 0.81 | 0.75
| Foundation | 1.6 | 1.05 | 0.79 | 0.68 |  | 1.6 | 1.05 | 0.79 | 0.68
| Array cables | 0.04 | 0.04 | 0.04 | 0.04 |  | 0.04 | 0.04 | 0.04 | 0.04
Platform expansion for electrolysis
Electrolysis
System
Water treatment
Offshore/onshore electrical substation
Platform
Initial compression
Pipeline infrastructure
Array pipes
Transport pipe
Running compression
| El infra | 0.75 | 0.72 | 0.69 | 0.63 |  | 1.72 | 1.65 | 1.58 | 1.44
| export cables | 0.57 | 0.55 | 0.53 | 0.48 |  | 1.06 | 1.01 | 0.97 | 0.89
| Substation | 0.18 | 0.17 | 0.16 | 0.15 |  | 0.66 | 0.64 | 0.61 | 0.55
Offshore constructions / platforms incl converter
Onshore construction
OPEX | WTG Fixed O&M [€/MW/y] | 62000 | 42000 | 33000 | 28000 |  | 62000 | 42000 | 33000 | 28000
| WTG Variable O&M [€/MWh] | 6.22 | 4.21 | 3.24 | 2.79 |  | 6.22 | 4.21 | 3.24 | 2.79
HVCD cable O&M [€/y]
HVCD converter O&M [€/y]
Electrolyser o&M [€/y]
water treatment O&M [€/y]
Compressor opex [M€/MW/y]
Booster compressor opex [M€/MW/km/y]
Assumptions | FLH assumption [flh] | 4100 | 4150 | 4200 | 4200 |  | 4600 | 4650 | 4700 | 4700
| cable distance [km] | 35 | 35 | 35 | 35 |  | 150 | 150 | 150 | 150
HVDC cable O&M [%capex/y]
HVDC converter O&M [%capex/y]
Electrolyser O&M [%capex/y]
water treatment O&M [%capex/y]
platform opex [%capex/y]
Specific investment | 525kV HVDC cable connection [M€/MW/km]
525kV HVDC cable connection [M€/MW/km]
Offshore HVDC hub module [M€/MW]
Onshore HVDC hub module [M€/MW]
Offshore Medium H2 new pipeline [M€/MW/km]

## Technology costs for TYNDP 2024
2.1. Technology Costs for TYNDP 2024
|  |  |  | TYNDP 2024 |  |  | DE | Distributed Energy (TYNDP 2024) |  |  | GA | Global Ambition (TYNDP 2024)
No | Source | Year |  | 2030 | 2040 | 2050 |  | 2030 | 2040 | 2050 |  | 2030 | 2040 | 2050
[8 empty] | 1% | 15% | 20% |  | 1% | 15% | 20%
1 | 1 | Rooftop PV (only residential)
|  | CAPEX | €/MW | 720000 | 580000 | 520000 | ▼ | 712800 | 493000 | 416000 | ▲ | 727200 | 667000 | 624000
|  | OPEX | €/MW/a | 10700 | 9600 | 8900 | ▼ | 10593 | 8160 | 7120 | ▲ | 10807 | 11040 | 10680
Nominal investment
|  | grid connection | €/MW | 30000 | 20000 | 20000
|  | inverter | €/MW | 140000 | 120000 | 100000
|  | pv modules | €/MW | 270000 | 200000 | 170000
|  | installation | €/MW | 110000 | 90000 | 90000
|  | other, i.e. residual balance of plant | €/MW | 170000 | 150000 | 140000
|  | Fixed O&M | €/MW/a | 10700 | 9600 | 8900
|  | Lifetime assumptions | year | 40 | 40 | 40
2 | 1 | Utility-scale PV
|  | CAPEX | €/MW | 380000 | 330000 | 290000 | ▼ | 376200 | 280500 | 232000 | ▲ | 383800 | 379500 | 348000
|  | OPEX | €/MW/a | 9500 | 8100 | 7400 | ▼ | 9405 | 6885 | 5920 | ▲ | 9595 | 9315 | 8880
Nominal investment
|  | grid connection | €/MW | 50000 | 40000 | 40000
|  | inverter | €/MW | 20000 | 20000 | 10000
|  | pv modules | €/MW | 140000 | 110000 | 90000
|  | installation | €/MW | 100000 | 90000 | 90000
|  | other, i.e. residual balance of plant | €/MW | 40000 | 40000 | 30000
|  | soft costs | €/MW | 30000 | 30000 | 30000
|  | Fixed O&M | €/MW/a | 9500 | 8100 | 7400
|  | Lifetime assumptions | year | 40 | 40 | 40
3 | 1 | Utility-scale PV ground mounted, single axis tracking
|  | CAPEX | €/MW | 450000 | 390000 | 350000 | ▼ | 445500 | 331500 | 280000 | ▲ | 454500 | 448500 | 420000
|  | OPEX | €/MW/a | 10400 | 9400 | 9000 | ▼ | 10296 | 7990 | 7200 | ▲ | 10504 | 10810 | 10800
Nominal investment
|  | grid connection | €/MW | 50000 | 40000 | 40000
|  | inverter | €/MW | 20000 | 20000 | 10000
|  | pv modules | €/MW | 140000 | 110000 | 90000
|  | tracker related costs | €/MW | 70000 | 60000 | 60000
|  | installation | €/MW | 100000 | 90000 | 90000
|  | other, i.e. residual balance of plant | €/MW | 30000 | 30000 | 30000
|  | soft costs | €/MW | 40000 | 40000 | 30000
|  | Fixed O&M | €/MW/a | 10400 | 9400 | 9000
|  | Lifetime assumptions | year | 40 | 40 | 40
4 | 2 | Utility-Scale Battery Storage - 4Hr
|  | CAPEX | €/MW | 716480 | 627122 | 537562 | ▼ | 709315 | 533054 | 430050 | ▲ | 723645 | 721190 | 645074
|  | OPEX | €/MW/a | 17912 | 15678 | 13439 | ▼ | 17733 | 13326 | 10751 | ▲ | 18091 | 18030 | 16127
|  | Nominal Investment | €/MW | 716480 | 627122 | 537562
|  | Fixed O&M | €/MW/a | 17912 | 15678 | 13439
|  | Lifetime assumptions | years | 30 | 30 | 30
5 | 2 | Residential Battery Storage - 5 kW - 12.5 kWh
|  | CAPEX | €/MW | 1731283 | 1515143 | 1298463 | ▼ | 1713970 | 1287872 | 1038770 | ▲ | 1748596 | 1742414 | 1558156
|  | OPEX | €/MW/a | 43282 | 37879 | 32462 | ▼ | 42849 | 32197 | 25970 | ▲ | 43715 | 43561 | 38954
|  | Nominal Investment | €/MW | 1731283 | 1515143 | 1298463
|  | Fixed O&M | €/MW/a | 43282 | 37879 | 32462
|  | Lifetime assumptions | years | 30 | 30 | 30
[9 empty] | 4% | 5% |  |  | 4% | 5%
6 | 1 | Onshore
|  | CAPEX | €/MW | 1040000 | 990000 | 970000 | ▼ | 1029600 | 955350 | 920100 | ▲ | 1050400 | 1024650 | 1019900
|  | OPEX | €/MW/a | 12600 | 11592 | 11340 | ▼ | 12474 | 11186 | 10757 | ▲ | 12726 | 11998 | 11923
Nominal Investment
|  | Equipment | €/MW | 640000 | 590000 | 580000
|  | Installation/Development | €/MW | 80000 | 80000 | 70000
|  | Related to grid connection | €/MW | 50000 | 50000 | 50000
|  | related to rent of land | €/MW | 90000 | 90000 | 90000
|  | related to decommisioning of existing turbines | €/MW | 40000 | 40000 | 40000
|  | relatred to other costs | €/MW | 140000 | 140000 | 140000
|  | Fixed O&M | €/MW/a | 12600 | 11592 | 11340
|  | Lifetime assumptions | year | 30 | 30 | 30
[9 empty] | 10% | 10% |  |  | 10% | 10%
7 | 1 | AC Radial Wind Offshore Fixed
|  | CAPEX | €/MW | 1800000 | 1650000 | 1640000 | ▲ | 1818000 | 1809750 | 1801600 | ▼ | 1782000 | 1490250 | 1478400
|  | OPEX | €/MW/a | 58000 | 51000 | 49000 | ▲ | 58580 | 55938 | 53828 | ▼ | 57420 | 46062 | 44172
|  | Nominal investment | €/MW | 1800000 | 1650000 | 1640000
|  | Fixed O&M | €/MW/a | 58000 | 51000 | 49000
[9 empty] | 7% | 8% |  |  | 7% | 8%
8 | 1,4,6 | DC Radial Wind Offshore Fixed
|  | CAPEX | €/MW | 2470000 | 2310000 | 2290000 | ▲ | 2494700 | 2483150 | 2471800 | ▼ | 2445300 | 2136850 | 2108200
|  | OPEX | €/MW/a | 73000 | 66000 | 64000 | ▲ | 73730 | 70947 | 69081 | ▼ | 72270 | 61053 | 58919
|  | Nominal investment | €/MW | 2470000 | 2310000 | 2290000
|  | Fixed O&M | €/MW/a | 73000 | 66000 | 64000
[9 empty] | 9% | 10% |  |  | 9% | 10%
9 | 1,5,7 | Hub connected Wind Offshore Fixed
|  | CAPEX | €/MW | 2060000 | 1900000 | 1880000 | ▲ | 2080600 | 2071100 | 2061800 | ▼ | 2039400 | 1728900 | 1698200
|  | OPEX | €/MW/a | 65000 | 58000 | 56000 | ▲ | 65650 | 63223 | 61415 | ▼ | 64350 | 52777 | 50585
|  | Nominal investment | €/MW | 2060000 | 1900000 | 1880000
|  | Fixed O&M | €/MW/a | 65000 | 58000 | 56000
10 | 1,5,7 | Hub connected Wind Offshore H2 Fixed
|  | CAPEX | €/MW | 2310000 | 2000000 | 1900000 | ▲ | 2333100 | 2300000 | 2280000 | ▼ | 2286900 | 1700000 | 1520000
|  | OPEX | €/MW/a | 93000 | 78000 | 73000 | ▲ | 93930 | 89700 | 87600 | ▼ | 92070 | 66300 | 58400
|  | Nominal investment | €/MW | 2310000 | 2000000 | 1900000
|  | Fixed O&M | €/MW/a | 93000 | 78000 | 73000
11 | 1 | AC Radial Wind Offshore Floating*
|  | CAPEX | €/MW | 2898000 | 1996500 | 1902400 | ▲ | 2926980 | 2295975 | 2282880 | ▼ | 2869020 | 1697025 | 1521920
|  | OPEX | €/MW/a | 87000 | 61200 | 53900 | ▲ | 87870 | 70380 | 64680 | ▼ | 86130 | 52020 | 43120
|  | Nominal investment | €/MW | 2898000 | 1996500 | 1902400
|  | Fixed O&M | €/MW/a | 87000 | 61200 | 53900
12 | 1,4,6 | DC Radial Wind Offshore Floating*
|  | CAPEX | €/MW | 3976700 | 2795100 | 2656400 | ▲ | 4016467 | 3214365 | 3187680 | ▼ | 3936933 | 2375835 | 2125120
|  | OPEX | €/MW/a | 109500 | 79200 | 70400 | ▲ | 110595 | 91080 | 84480 | ▼ | 108405 | 67320 | 56320
|  | Nominal investment | €/MW | 3976700 | 2795100 | 2656400
|  | Fixed O&M | €/MW/a | 109500 | 79200 | 70400
13 | 1,5,7 | Hub connected Wind Offshore Floating*
|  | CAPEX | €/MW | 3316600 | 2299000 | 2180800 | ▲ | 3349766 | 2643850 | 2616960 | ▼ | 3283434 | 1954150 | 1744640
|  | OPEX | €/MW/a | 97500 | 69600 | 61600 | ▲ | 98475 | 80040 | 73920 | ▼ | 96525 | 59160 | 49280
|  | Nominal investment | €/MW | 3316600 | 2299000 | 2180800
|  | Fixed O&M | €/MW/a | 97500 | 69600 | 61600
14 | 1,5,7 | Hub connected Wind Offshore H2 Floating*
|  | CAPEX | €/MW | 3719100 | 2420000 | 2204000 | ▲ | 3756291 | 2783000 | 2644800 | ▼ | 3681909 | 2057000 | 1763200
|  | OPEX | €/MW/a | 139500 | 93600 | 80300 | ▲ | 140895 | 107640 | 96360 | ▼ | 138105 | 79560 | 64240
|  | Nominal investment | €/MW | 3719100 | 2420000 | 2204000
|  | Fixed O&M | €/MW/a | 139500 | 93600 | 80300
15 | 4.6 | HVDC Cables
|  | CAPEX | €/MW/km | 1618 | 1618 | 1618 | ● | 1618 | 1618 | 1618 | ● | 1618 | 1618 | 1618
|  | OPEX | €/MW/km/a | 40 | 40 | 40 | ● | 40 | 40 | 40 | ● | 40 | 40 | 40
|  | Nominal investment | €/MW/km | 1618 | 1618 | 1618
|  | Fixed O&M | €/MW/km/a | 40 | 40 | 40
16 | 6 | Onshore HVDC Station
|  | CAPEX | €/MW | 250000 | 250000 | 250000 | ● | 250000 | 250000 | 250000 | ● | 250000 | 250000 | 250000
|  | OPEX | €/MW/a | - | - | - | ● | - | - | - | ● | - | - | -
|  | Nominal investment | €/MW | 250000 | 250000 | 250000
|  | Fixed O&M | €/MW/a
17 | 4,5,7 | Electrolysis Offshore
|  | CAPEX | €/MW | 850000 | 680000 | 630000 | ● | 850000 | 680000 | 630000 | ● | 850000 | 680000 | 630000
|  | OPEX | €/MW/a | 18000 | 15000 | 14000 | ● | 18000 | 15000 | 14000 | ● | 18000 | 15000 | 14000
|  | Nominal investment | €/MW | 850000 | 680000 | 630000
|  | Fixed O&M | €/MW/a | 18000 | 15000 | 14000
|  | Lifetime assumptions | a | 25 | 28 | 30
18 | 8 | H2-Pipeline
|  | CAPEX | €/MW/km | 528.57 | 528.57 | 528.57 | ● | 529 | 529 | 529 | ● | 529 | 529 | 529
|  | OPEX | €/MW/km/a | 1.66 | 1.66 | 1.66 | ● | 2 | 2 | 2 | ● | 2 | 2 | 2
|  | Nominal investment | €/MW/km | 528.57 | 528.57 | 528.57
|  | Fixed O&M | €/MW/km/a | 1.66 | 1.66 | 1.66
19 | 1 | Electrolysis Onshore**
|  | CAPEX | €/MW | 550000 | 375000 | 325000 | ● | 550000 | 375000 | 325000 | ● | 550000 | 375000 | 325000
|  | OPEX | €/MW/a | 17500 | 12000 | 10500 | ● | 17500 | 12000 | 10500 | ● | 17500 | 12000 | 10500
|  | Nominal investment | €/MW | 550000 | 375000 | 325000
|  | Fixed O&M | €/MW/a | 17.5 | 12 | 10.5
|  | Lifetime assumptions | a | 25 | 18 | 30
20 | 1 | Gas turbine, open cycle - back pressure - natural gas - medium
|  | CAPEX | €/MW | 440000 | 425000 | 410000 | ● | 440000 | 425000 | 410000 | ● | 440000 | 425000 | 410000
|  | OPEX | €/MW/a | 7745 | 7584 | 7423 | ● | 7745 | 7584 | 7423 | ● | 7745 | 7584 | 7423
|  | Nominal Investment | €/MW | 440000 | 425000 | 410000
|  | Fixed O&M | €/MW/a | 7745 | 7584 | 7423
|  | Lifetime assumptions | year | 25 | 25 | 25
21 | 1 | Gas turbine, combined cycle - extraction - natural gas - large
|  | CAPEX | €/MW | 830000 | 815000 | 800000 | ● | 830000 | 815000 | 800000 | ● | 830000 | 815000 | 800000
|  | OPEX | €/MW/a | 27800 | 26900 | 26000 | ● | 27800 | 26900 | 26000 | ● | 27800 | 26900 | 26000
|  | Nominal Investment | €/MW | 830000 | 815000 | 800000
|  | Fixed O&M | €/MW/a | 27800 | 26900 | 26000
|  | Lifetime assumptions | year | 25 | 25 | 25
| Notes | Technology | Comment
| * | 11,12,13,14 | Currently all of Europes existing offshore wind is "bottom fixed"(= fixed offshore wind sits on the seabed). Beyond 60 metres sea depth floating offshore (= floating wind is tethered to the seabed) can be a cost-competitive form of installation. Based on exchanges with experts like wind europe and our own assumptions the working group scenario building assumes that the costs for floating will be higher (CAPEX 2030 - 1,61; 2040 - 1,21; 2050 - 1,16 / OPEX 2030 - 1,5; 2040 - 1,2; 2050 - 1,1) based on material costs (anchors, cables, moorings) that rise with sea depth and distance from the shore
| ** | 19 | Costs are based on the average between AEC and PEM technology

## HICP
TIME | GEO (Labels) | European Union (EU6-1958, EU9-1973, EU10-1981, EU12-1986, EU15-1995, EU25-2004, EU27-2007, EU28-2013, EU27-2020) | European Union - 27 countries (from 2020) | European Union - 28 countries (2013-2020) | Euro area (EA11-1999, EA12-2001, EA13-2007, EA15-2008, EA16-2009, EA17-2011, EA18-2014, EA19-2015, EA20-2023) | Euro area – 20 countries (from 2023) | Euro area - 19 countries (2015-2022) | European Economic Area (EEA18-1995, EEA28-2004, EEA30-2007, EEA31-2013, EEA30-2020) | Belgium | Bulgaria | Czechia | Denmark | Germany | Estonia | Ireland | Greece | Spain | France | Croatia | Italy | Cyprus | Latvia | Lithuania | Luxembourg | Hungary | Malta | Netherlands | Austria | Poland | Portugal | Romania | Slovenia | Slovakia | Finland | Sweden | Iceland | Norway | Switzerland | United Kingdom | Montenegro | North Macedonia | Albania | Serbia | Türkiye | Kosovo* | United States
2015 |  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | : | 100 | 100 | : | 100
2016 |  | 100.25 | 100.18 | 100.25 | 100.23 | 100.23 | 100.23 | 100.29 | 101.77 | 98.68 | 100.7 | 100 | 100.4 | 100.8 | 99.8 | 100.02 | 99.66 | 100.31 | 99.37 | 99.9 | 98.78 | 100.1 | 100.68 | 100.04 | 100.45 | 100.9 | 100.11 | 100.97 | 99.8 | 100.64 | 98.93 | 99.85 | 99.52 | 100.39 | 101.14 | 100.79 | 103.9 | 99.47 | 100.7 | 99.93 | 100.24 | 101.51 | 101.3 | 107.66 | 100.27 | 100.57
2017 |  | 101.96 | 101.74 | 101.96 | 101.78 | 101.77 | 101.78 | 102.01 | 104.03 | 99.85 | 103.1 | 101.1 | 102.1 | 104.48 | 100.1 | 101.15 | 101.69 | 101.47 | 100.67 | 101.3 | 99.45 | 103 | 104.42 | 102.15 | 102.84 | 102.18 | 101.4 | 103.22 | 101.4 | 102.2 | 100 | 101.4 | 100.9 | 101.23 | 103.02 | 99.13 | 105.8 | 100.11 | 103.4 | 102.68 | 102.35 | 104.76 | 104.7 | 119.63 | 101.77 | 102.34
2018 |  | 103.89 | 103.57 | 103.89 | 103.56 | 103.55 | 103.56 | 103.95 | 106.44 | 102.48 | 105.1 | 101.8 | 104 | 108.05 | 100.8 | 101.94 | 103.46 | 103.6 | 102.23 | 102.5 | 100.23 | 105.63 | 107.07 | 104.21 | 105.84 | 103.95 | 103.02 | 105.41 | 102.6 | 103.4 | 104.08 | 103.36 | 103.46 | 102.42 | 105.12 | 99.86 | 109 | 101.03 | 105.9 | 105.39 | 104.66 | 106.59 | 106.8 | 139.17 | 102.84 | 104.55
2019 |  | 105.42 | 105.04 | 105.42 | 104.8 | 104.79 | 104.8 | 105.49 | 107.77 | 104.99 | 107.8 | 102.5 | 105.5 | 110.5 | 101.7 | 102.46 | 104.26 | 104.95 | 103.04 | 103.2 | 100.78 | 108.53 | 109.47 | 105.93 | 109.46 | 105.54 | 105.78 | 106.98 | 104.8 | 103.71 | 108.15 | 105.11 | 106.33 | 103.58 | 106.93 | 101.85 | 111.5 | 101.41 | 107.8 | 105.94 | 105.42 | 108.39 | 108.8 | 160.3 | 105.59 | 105.99
2020 |  | 106.2 | 105.76 | : | 105.06 | 105.05 | 105.06 | 106.28 | 108.23 | 106.27 | 111.4 | 102.9 | 105.8 | 109.8 | 101.2 | 101.17 | 103.91 | 105.5 | 103.06 | 103 | 99.67 | 108.62 | 110.63 | 105.93 | 113.15 | 106.37 | 106.96 | 108.47 | 108.6 | 103.58 | 110.67 | 104.82 | 108.47 | 103.98 | 107.63 | 103.06 | 112.8 | 100.56 | : | 105.39 | 106.73 | 110.74 | 110.7 | 179.98 | 105.8 | 106.8
2021 |  | 109.28 | 108.82 | : | 107.78 | 107.77 | 107.78 | 109.37 | 111.71 | 109.3 | 115.1 | 104.9 | 109.2 | 114.72 | 103.6 | 101.75 | 107.04 | 107.68 | 105.82 | 105 | 101.92 | 112.14 | 115.75 | 109.61 | 119.04 | 107.12 | 109.98 | 111.46 | 114.3 | 104.55 | 115.21 | 106.97 | 111.53 | 106.12 | 110.49 | 106.84 | 117.2 | 101.04 | : | 108.03 | 110.36 | 113.26 | 115.2 | 215.24 | 109.35 | 112.5
2022 |  | 119.32 | 118.82 | : | 116.82 | 116.83 | 116.82 | 119.39 | 123.26 | 123.52 | 132.1 | 113.8 | 118.7 | 137.03 | 112 | 111.21 | 115.95 | 114.04 | 117.11 | 114.2 | 110.17 | 131.47 | 137.57 | 118.55 | 137.22 | 113.69 | 122.78 | 121.07 | 129.4 | 113.03 | 129.06 | 116.94 | 125.05 | 113.74 | 119.39 | 112.96 | 124.5 | 103.74 | : | 120.92 | 125.83 | 120.69 | 128.7 | 370.82 | 122.01 | 122.27
2023 |  | 126.91 | 126.38 | : | 123.15 | 123.17 | 123.14 | 126.97 | 126.07 | 134.15 | 147.9 | 117.6 | 125.9 | 149.52 | 117.8 | 115.84 | 119.89 | 120.5 | 126.94 | 120.9 | 114.5 | 143.38 | 149.52 | 122.02 | 160.59 | 120.01 | 127.81 | 130.4 | 143.5 | 118.98 | 141.64 | 125.38 | 138.79 | 118.67 | 126.44 | 121.98 | 131.6 | 106.1 | : | 131.5 | 137.15 | 127.13 | 144.2 | 570.94 | 128.04 | 125.94
2024 |  | 130.21 | 129.67 | : | 126.07 | 126.08 | 126.03 | 130.28 | 131.52 | 137.63 | 151.9 | 119.1 | 129 | 155.1 | 119.4 | 119.31 | 123.33 | 123.29 | 132.04 | 122.3 | 117.09 | 145.32 | 150.79 | 124.77 | 166.56 | 122.94 | 131.92 | 134.21 | 148.7 | 122.15 | 149.91 | 127.87 | 143.17 | 119.83 | 128.98 | 127.5 | 135.4 | 107.25 | : | 136.24 | 142.96 | 130.38 | 151.1 | 905.21 | 130.12 | 128.5

## Sources
Number | Name | Author | Link | Note
1 | Technology data, Generation of Electricity and Distrift Heating | Danish Energy Agency, Energinet | https://ens.dk/en/analyses-and-statistics/technology-data-generation-electricity-and-district-heating
2 | Annual Technology Baseline | National Renewable Energy Laboratory | https://atb.nrel.gov/electricity/2024/utility-scale_battery_storage
3 | Technology Data for Renewable Fuels | Danish Energy Agency, Energinet | https://ens.dk/en/analyses-and-statistics/technology-data-renewable-fuels
4 | Technology data, Energy Transport | Danish Energy Agency, Energinet | https://ens.dk/en/analyses-and-statistics/technology-data-transport-energy
5 | Technology Data for Energy Storage | Danish Energy Agency, Energinet | https://ens.dk/en/analyses-and-statistics/technology-data-energy-storage
6 | European Hydrogen Backbone April 2022 | Guidehouse + TSOs | https://ehb.eu/files/downloads/ehb-report-220428-17h00-interactive-1.pdf
7 | Pathway Databook (NSWPH) | NSWPH | https://northseawindpowerhub.eu/knowledge/pathway-20-study | Data taken from Slide 81. Prices are given in 2021 price year.
8 | Technology catalogue electricity transmission consultation draft | Danish Energy Agency, Energinet | 9 jan 2025: Waiting for Danish regulator approval. Expected jan 2025 | Prices are given in 2020 price year.
9 | Technology catalogue offshore wind consultation draft | Danish Energy Agency, Energinet | 9 jan 2025: Waiting for Danish regulator approval. Expected jan 2025 | Prices are given in 2023 price year.
10 | HICP - annual data (average index and rate of change) | EUROSTAT | https://ec.europa.eu/eurostat/databrowser/view/prc_hicp_aind/default/table?lang=en&category=prc.prc_hicp
11 | Belgian Electricity System Blueprint for 2035-2050 | Elia | https://www.elia.be/en/press/2024/09/20240924_elia-publishes-blueprint-for-the-belgian-electricity-system-2035-2050