## Capacities
System Capacity Map 2026
Legend
Virtual points are indicated with a "V" mention. By default the map displays interconnections only when firm technical capacity is existing.
Number |  | Point |  |  | Technical physical capacity (GWh/d) | From Operator | From CC | From BZ | To Operator | To CC | To BZ
Cross-border IP within EU and with non-EU
1 |  | Zeebrugge IZT |  |  | 651.6 | Interconnector | UK | IUK | Fluxys Belgium | BE | BeLux | c
[5 empty] | 803.4 | Fluxys Belgium | BE | BeLux | Interconnector | UK | IUK | c
2 | V | VIRTUALYS Virtualys is virtualising 'Alveringem' and 'Taisnieres H/Blaregnies Segeo/Troll' since 1 Dec 2017 |  |  | 360 | Fluxys Belgium | BE | BeLux | NaTran | FR | TRF | c
[5 empty] | 271 | NaTran | FR | TRF | Fluxys Belgium | BE | BeLux | c
3 |  | Blaregnies L (BE) / Taisnières B (FR) |  |  | 102 | Fluxys Belgium | BE | L-Zone | NaTran | FR | TRF | c
4 | V | VIP BENE |  |  | 432 | Fluxys Belgium | BE | BeLux | GTS | NL | Netherlands | c
[5 empty] | 792 | GTS | NL | Netherlands | Fluxys Belgium | BE | BeLux | c
5 | V | VIP BENE L |  |  | 244.6 | GTS | NL | Netherlands | Fluxys Belgium | BE | BeLux | c
6 | V | VIP THE-ZTP |  |  | 441.3 | Open Grid Europe | DE | DE THE BZ | Fluxys Belgium | BE | BeLux | c
[6 empty] | Thyssengas | DE | DE THE BZ | Fluxys Belgium | BE | BeLux
[6 empty] | Fluxys TENP | DE | DE THE BZ | Fluxys Belgium | BE | BeLux
[6 empty] | GASCADE Gastransport | DE | DE THE BZ | Fluxys Belgium | BE | BeLux
[5 empty] | 435.4 | Fluxys Belgium | BE | BeLux | Open Grid Europe | DE | DE THE BZ | c
[6 empty] | Fluxys Belgium | BE | BeLux | Thyssengas | DE | DE THE BZ
[6 empty] | Fluxys Belgium | BE | BeLux | Fluxys TENP | DE | DE THE BZ
[6 empty] | Fluxys Belgium | BE | BeLux | GASCADE Gastransport | DE | DE THE BZ
8 |  | Remich |  |  | 24 | Open Grid Europe | DE | DE THE BZ | Creos Luxembourg | LU | BeLux | c
9 | V | VIP France-Germany |  |  | 454.7 | NaTran Deutschland | DE | DE THE BZ | NaTran | FR | TRF
[6 empty] | Open Grid Europe | DE | DE THE BZ | NaTran | FR | TRF
[5 empty] | 180 | NaTran | FR | TRF | NaTran Deutschland | DE | DE THE BZ
[6 empty] | NaTran | FR | TRF | Open Grid Europe | DE | DE THE BZ
10 |  | Oltingue (FR) / Rodersdorf (CH) |  |  | 100 | FluxSwiss | CH | Switzerland | NaTran | FR | TRF | c
[6 empty] | Swissgas | CH | Switzerland | NaTran | FR | TRF
[5 empty] | 260 | NaTran | FR | TRF | FluxSwiss | CH | Switzerland | c
[6 empty] | NaTran | FR | TRF | Swissgas | CH | Switzerland
11 |  | RC Basel |  |  | 6.4 | terranets bw | DE | DE THE BZ | GVM | CH | Switzerland | c
12 |  | VIP Germany - CH |  |  | 327.34 | FluxSwiss | CH | Switzerland | Fluxys TENP | DE | DE THE BZ | c
[6 empty] | FluxSwiss | CH | Switzerland | Open Grid Europe | DE | DE THE BZ
[6 empty] | Swissgas | CH | Switzerland | Open Grid Europe | DE | DE THE BZ
[5 empty] | 404.4 | Fluxys TENP | DE | DE THE BZ | FluxSwiss | CH | Switzerland
[6 empty] | Fluxys TENP | DE | DE THE BZ | Swissgas | CH | Switzerland
[6 empty] | Open Grid Europe | DE | DE THE BZ | FluxSwiss | CH | Switzerland
[6 empty] | Open Grid Europe | DE | DE THE BZ | Swissgas | CH | Switzerland
13 | V | VIP TTF-THE H |  |  | 421.1 | GTS | NL | Netherlands | Gasunie Deutschland | DE | DE THE BZ | c
[6 empty] | GTS | NL | Netherlands | Thyssengas | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | GASCADE Gastransport | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | Open Grid Europe | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | Fluxys TENP | DE | DE THE BZ
[5 empty] | 79.4 | Gasunie Deutschland | DE | DE THE BZ | GTS | NL | Netherlands
[6 empty] | Thyssengas | DE | DE THE BZ | GTS | NL | Netherlands
[6 empty] | GASCADE Gastransport | DE | DE THE BZ | GTS | NL | Netherlands
[6 empty] | Open Grid Europe | DE | DE THE BZ | GTS | NL | Netherlands
[6 empty] | Fluxys TENP | DE | DE THE BZ | GTS | NL | Netherlands
14 | V | VIP TTF-THE L |  |  | 308.38 | GTS | NL | Netherlands | Thyssengas | DE | DE THE BZ | c
[6 empty] | GTS | NL | Netherlands | Open Grid Europe | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | GTG Nord | DE | DE THE BZ
[6 empty] | GTS | NL | Netherlands | Gasunie Deutschland | DE | DE THE BZ
15 |  | Epe (DE) (Eneco) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 46.8 | GTS | NL | Netherlands | Eneco | DE
[5 empty] | 93.6 | Eneco | DE |  | GTS | NL | Netherlands
|  | Epe (DE) (Nuon) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 70.3 | GTS | NL | Netherlands | Nuon | DE
[5 empty] | 117.2 | Nuon | DE |  | GTS | NL | Netherlands
|  | Epe (DE) / Enschede (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 43.8 | GTS | NL | Netherlands | RWE | DE
[5 empty] | 103.5 | RWE | DE |  | GTS | NL | Netherlands
16 |  | Etzel (DE) (Crystal) / Oude Statenzijl (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 56.4 | GTS | NL | Netherlands | Crystal | DE
[5 empty] | 76.5 | Crystal | DE |  | GTS | NL | Netherlands
|  | Etzel (DE) (EKB) / Oude Statenzijl Etzel (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 74.9 | GTS | NL | Netherlands | EKB | DE
[5 empty] | 115.3 | EKB | DE |  | GTS | NL | Netherlands
|  | Etzel (DE) (OMV) Freya / Oude Statenzijl Etzel Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 80.9 | GTS | NL | Netherlands | OMV SSO | DE
[5 empty] | 95.2 | OMV SSO | DE |  | GTS | NL | Netherlands
|  | Nüttermoor (DE) (EWE) H / Oude Statenzijl (H) (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 59 | GTS | NL | Netherlands | EWE Gasspeicher | DE
[5 empty] | 55 | EWE Gasspeicher | DE |  | GTS | NL | Netherlands
|  | Nüttermoor H1 and H4 (DE) (EWE) Renato / Oude Statenzijl (NL) Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems. |  |  | 69.6 | EWE Gasspeicher | DE |  | GTS | NL | Netherlands
[5 empty] | 48.72 | GTS | NL | Netherlands | EWE Gasspeicher | DE
17 |  | Jemgum (DE) (astora) / Oude Statenzijl (NL) |  |  | 94 | GTS | NL | Netherlands | astora | DE |  | c
[5 empty] | 118.83 | astora | DE |  | GTS | NL | Netherlands
|  | Jemgum (DE) (EWE) / Oude Statenzijl (NL) |  |  | 94 | GTS | NL | Netherlands | EWE Gasspeicher | DE
[5 empty] | 118.83 | EWE Gasspeicher | DE |  | GTS | NL | Netherlands
18 |  | Bacton (IUK) |  |  | 651.7 | National Gas TSO | UK | UK | Interconnector | UK | IUK | c
[5 empty] | 803.4 | Interconnector | UK | IUK | National Gas TSO | UK | UK
|  | Bacton (BBL) |  |  | 240 | BBL company | NL | Netherlands | National Gas TSO | UK | UK
[5 empty] | 184.78 | National Gas TSO | UK | UK | BBL company | NL | Netherlands
19 |  | Moffat Part of this technical capacity (89.3 GWh/day) is allocated to PTL for Northern Ireland. |  |  | 433.36 | National Gas TSO | UK | UK | GNI | IE | Ireland | c
[6 empty] | National Gas TSO | UK | UK | Premier Transmission | UK | NI
20 |  | RC Lindau |  |  | 25.44 | terranets bw | DE | DE THE BZ | Vorarlberger Erdgas | AT | Austria | c
[6 empty] | bayernets | DE | DE THE BZ | Vorarlberger Erdgas | AT | Austria
21 | V | VIP Kiefersfelden-Pfronten |  |  | 33.34 | bayernets | DE | DE THE BZ | TIGAS, EWR | AT | Austria | c
22 |  | Haidach (AT) / Haidach USP (DE) |  |  | 283.84 | bayernets | DE | DE THE BZ | astora | AT | Austria
[6 empty] | bayernets | DE | DE THE BZ | GSA LLC | AT | Austria
[5 empty] | 297.528 | astora | AT | Austria | bayernets | DE | DE THE BZ
[6 empty] | GSA LLC | AT | Austria | bayernets | DE | DE THE BZ
23 |  | Überackern ABG (AT) / Überackern (DE) |  |  | 6 | Gas Connect Austria | AT | Austria | Open Grid Europe | DE | DE THE BZ | c
[5 empty] | 11.28 | Open Grid Europe | DE | DE THE BZ | Gas Connect Austria | AT | Austria | c
|  | Überackern SUDAL (AT) / Überackern 2 (DE) |  |  | 174.6 | Gas Connect Austria | AT | Austria | bayernets | DE | DE THE BZ | c
[5 empty] | 114 | bayernets | DE | DE THE BZ | Gas Connect Austria | AT | Austria | c
24 |  | Haiming 2 7F |  |  | 78.864 | bayernets | DE | DE THE BZ | Uniper ES | AT | Austria | c
[6 empty] | Open Grid Europe | DE | DE THE BZ | Uniper ES | AT | Austria
[5 empty] | 136.896 | Uniper ES | AT | Austria | bayernets | DE | DE THE BZ | c
[6 empty] | Uniper ES | AT | Austria | Open Grid Europe | DE | DE THE BZ
|  | Haiming 2-RAGES/bn |  |  | 5.448 | bayernets | DE | DE THE BZ | RAG | AT | Austria
[5 empty] | 5.448 | RAG | AT | Austria | bayernets | DE | DE THE BZ
25 | V | VIP Oberkappel |  |  | 113.26 | Gas Connect Austria | AT | Austria | Open Grid Europe | DE | DE THE BZ | c
[6 empty] | Gas Connect Austria | AT | Austria | NaTran Deutschland | DE | DE THE BZ
[5 empty] | 214.51 | Open Grid Europe | DE | DE THE BZ | Gas Connect Austria | AT | Austria | c
[6 empty] | NaTran Deutschland | DE | DE THE BZ | Gas Connect Austria | AT | Austria
26 |  | Tarvisio (IT) / Arnoldstein (AT) |  |  | 1192.44 | TAG | AT | Austria | Snam Rete Gas | IT | Italy | c
[5 empty] | 263.75 | Snam Rete Gas | IT | Italy | TAG | AT | Austria | c
27 |  | Griespass (CH) / Passo Gries (IT) |  |  | 639.79 | FluxSwiss | CH | Switzerland | Snam Rete Gas | IT | Italy | c
[6 empty] | Swissgas | CH | Switzerland | Snam Rete Gas | IT | Italy
[5 empty] | 439.68 | Snam Rete Gas | IT | Italy | FluxSwiss | CH | Switzerland | c
[6 empty] | Snam Rete Gas | IT | Italy | Swissgas | CH | Switzerland
28 |  | Bizzarone |  |  | 13.04 | Snam Rete Gas | IT | Italy |  | CH | Switzerland | c
29 |  | Gorizia (IT) /Šempeter (SI) |  |  | 39.35 | Snam Rete Gas | IT | Italy | Plinovodi | SI | Slovenia | c
[5 empty] | 26.24 | Plinovodi | SI | Slovenia | Snam Rete Gas | IT | Italy | c
30 |  | Rogatec |  |  | 7.7 | Plinacro Ltd | HR | Croatia | Plinovodi | SI | Slovenia | c
[5 empty] | 53.7 | Plinovodi | SI | Slovenia | Plinacro Ltd | HR | Croatia | c
31 |  | Murfeld (AT) / Ceršak (SI) |  |  | 112.5 | Gas Connect Austria | AT | Austria | Plinovodi | SI | Slovenia | c
33 | V | VIP PIRINEOS Capacity may be increased by up to 40 GWh/d subject to daily operational conditions |  |  | 224.4 | Enagas | ES | Spain | TERÉGA | FR | TRF | c
[5 empty] | 164.57 | TERÉGA | FR | TRF | Enagas | ES | Spain | c
34 | V | VIP IBERICO |  |  | 144 | Enagas | ES | Spain | REN - Gasodutos | PT | Portugal | c
[5 empty] | 80 | REN - Gasodutos | PT | Portugal | Enagas | ES | Spain | c
36 | V | VIP DK-THE |  |  | 95.6 | Open Grid Europe | DE | DE THE BZ | Energinet | DK | Joint Bal Zone DK/SE | c
[6 empty] | Gasunie Deutschland | DE | DE THE BZ | Energinet | DK | Joint Bal Zone DK/SE
[5 empty] | 44.4 | Energinet | DK | Joint Bal Zone DK/SE | Open Grid Europe | DE | NCG | c
[6 empty] | Energinet | DK | Joint Bal Zone DK/SE | Gasunie Deutschland | DE | DE THE BZ
37 |  | Faxe |  |  | 321.6 | Energinet | DK | Joint Bal Zone DK/SE | GAZ-SYSTEM | PL | Poland H-gas | c
[5 empty] | 91.2 | GAZ-SYSTEM | PL | Poland H-gas | Energinet | DK | Joint Bal Zone DK/SE | c
38 |  | Mallnow |  |  | 259.2 | GASCADE Gastransport | DE | DE THE BZ | GAZ-SYSTEM (ISO) | PL | TGPS (YAMAL) | c
39 | V | GCP GAZ-SYSTEM/ONTRAS According to Art. 19 (9) of CAM NC, ONTRAS and GAZ-SYSTEM agreed to offer the capacity at one virtual interconnection point - GCP GAZ-SYSTEM/ONTRAS |  |  | 48.7 | ONTRAS | DE | DE THE BZ | GAZ-SYSTEM | PL | Poland H-gas | c
[5 empty] | 0.09 | GAZ-SYSTEM | PL | Poland H-gas | ONTRAS | DE | DE THE BZ | c
40 | V | VIP Brandov |  |  | 268.8 | GASCADE Gastransport | DE | DE THE BZ | NET4GAS | CZ | Czech | c
[5 empty] | 198.33 | NET4GAS | CZ | Czech | GASCADE Gastransport | DE | DE THE BZ | c
41 | V | VIP Waidhaus No firm capacity is offered to exit from DE side, on CZ side an entry capacity of 120 GWh/d is available. Since 03/2019 VIP Waidhaus is in operation |  |  | 393.54 | NET4GAS | CZ | Czech | Open Grid Europe | DE | DE THE BZ | c
[6 empty] | NET4GAS | CZ | Czech | NaTran Deutschland | DE | DE THE BZ
42 |  | Cieszyn (PL) / Český Těšín (CZ) CZ>PL: 4,3 GWh/d from May to September |  |  | 28.03 | NET4GAS | CZ | Czech | GAZ-SYSTEM | PL | Poland H-gas | c
43 |  | Vyrava |  |  | 173.94 | eustream | SK | Slovakia | GAZ-SYSTEM | PL | Poland H-gas | c
[5 empty] | 144.504 | GAZ-SYSTEM | PL | Poland H-gas | eustream | SK | Slovakia | c
45 |  | Lanžhot |  |  | 1246.4 | NET4GAS | CZ | Czech | eustream | SK | Slovakia | c
[5 empty] | 384.8 | eustream | SK | Slovakia | NET4GAS | CZ | Czech | c
46 |  | Baumgarten |  |  | 246.5 | Gas Connect Austria | AT | Austria | eustream | SK | Slovakia | c
[6 empty] | TAG | AT | Austria | eustream | SK | Slovakia
[5 empty] | 1570.4 | eustream | SK | Slovakia | Gas Connect Austria | AT | Austria | c
[6 empty] | eustream | SK | Slovakia | TAG | AT | Austria
47 |  | Mosonmagyarovar |  |  | 153.08 | Gas Connect Austria | AT | Austria | FGSZ | HU | Hungary | c
48 |  | Dolni Bojanovice Capacity is offered with the aggregated capacity of the IP Lanžhot |  |  | 74.34 | eustream | SK | Slovakia | SPP Storage | SK | Slovakia | c
[5 empty] | 95.58 | SPP Storage | SK | Slovakia | eustream | SK | Slovakia | c
49 |  | Láb (SK) / Láb IV (AT) |  |  | 138.3 | Gas Connect Austria | AT | Austria | NAFTA | SK | Slovakia | c
[6 empty] | Gas Connect Austria | AT | Austria | POZAGAS | SK | Slovakia
[5 empty] | 138.3 | NAFTA | SK | Slovakia | Gas Connect Austria | AT | Austria | c
[6 empty] | POZAGAS | SK | Slovakia | Gas Connect Austria | AT | Austria
50 |  | Balassagyarmat (HU) / Velké Zlievce (SK) |  |  | 101.76 | FGSZ | HU | Hungary | eustream | SK | Slovakia | c
[5 empty] | 128.97 | eustream | SK | Slovakia | FGSZ | HU | Hungary | c
51 |  | Kulata (BG) / Sidirokastron (GR) |  |  | 119.99 | Bulgartransgaz | BG | Bulgaria | DESFA | GR | Greece | c
[5 empty] | 66.57 | DESFA | GR | Greece | Bulgartransgaz | BG | Bulgaria | c
52 |  | Ruse (BG) / Giurgiu (RO) |  |  | 26.82 | Bulgartransgaz | BG | Bulgaria | Transgaz | RO | RO_NTS | c
[5 empty] | 43.37 | Transgaz | RO | RO_NTS | Bulgartransgaz | BG | Bulgaria | c
53 |  | Negru Voda I (RO) / Kardam (BG) |  |  | 158.8 | Bulgartransgaz | BG | NGTN-BG | Transgaz | RO | RO_NTS | c
[5 empty] | 189.5052 | Transgaz | RO | RO_NTS | Bulgartransgaz | BG | NGTN-BG | c
54 |  | Kyustendil (BG) / Zidilovo (MK) |  |  | 33.21 | Bulgartransgaz | BG | Bulgaria | GA-MA - Skopje | MK | FYROM | c
55 |  | Kireevo (BG) / Zaychar (RS) |  |  | 407.44 | Bulgartransgaz | BG | Bulgaria | GASTRANS | RS | Serbia | c
[5 empty] | 343.104 | GASTRANS | RS | Serbia | Bulgartransgaz | BG | Bulgaria | c
56 |  | KALOTINA (BG)/ DIMITROVGRAD (RS) |  |  | 52.74 | Bulgartransgaz | BG | Bulgaria | GASTRANS | RS | Serbia | c
[5 empty] | 7.702 | GASTRANS | RS | Serbia | Bulgartransgaz | BG | Bulgaria | c
57 |  | Dravaszerdahely |  |  | 50.5 | Plinacro Ltd | HR | Croatia | FGSZ | HU | Hungary | c
[5 empty] | 76.3 | FGSZ | HU | Hungary | Plinacro Ltd | HR | Croatia | c
58 |  | Kiskundorozsma (HU>RS) |  |  | 141.98 | FGSZ | HU | Hungary | Srbijagas | RS | Serbia | c
|  | Kiskundorozsma-2 (HU) / Horgos (RS) |  |  | 245.76 | Gastrans | RS | Serbia | FGSZ | HU | Hungary | c
59 |  | Csanadpalota |  |  | 80.6 | FGSZ | HU | Hungary | Transgaz | RO | RO_NTS | c
[5 empty] | 81.4 | Transgaz | RO | RO_NTS | FGSZ | HU | Hungary | c
60 |  | Zvornik |  |  | 16.44 | Srbijagas | RS | Serbia | BH Gas | BA | Bosnia and Herzegovina | c
61 |  | Balticconnector Expected capacity after recommissioning and enhancing of the regional gas system |  |  | 78 | Gasgrid Finland | FI | Finland | Estonia | EE | Joint Bal Zone EE/LV | c
[5 empty] | 70.5 | Estonia | EE | Joint Bal Zone EE/LV | Gasgrid Finland | FI | Finland | c
62 |  | Kiemenai |  |  | 90 | Amber Grid | LT | Lithuania | Conexus | LV | Joint Bal Zone EE/LV | c
[5 empty] | 82 | Conexus | LV | Joint Bal Zone EE/LV | Amber Grid | LT | Lithuania | c
63 |  | Sakiai |  |  | 114.2 | Amber Grid | LT | Lithuania | GAZPROM |  |  | c
65 |  | Santaka |  |  | 73.32 | GAZ-SYSTEM | PL | Poland H-gas | Amber Grid | LT | Lithuania | c
[5 empty] | 58.0692 | Amber Grid | LT | Lithuania | GAZ-SYSTEM | PL | Poland H-gas | c
66 |  | Budince |  |  | 436.8 | eustream | SK | Slovakia | TSOUA | UA | Ukraine | c
[5 empty] | 176.8 | TSOUA | UA | Ukraine | eustream | SK | Slovakia | c
67 |  | Ungheni |  |  | 21.6 | VMTG | MD | Moldova | Transgaz | RO | Romania | c
[5 empty] | 64.5 | Transgaz | RO | Romania | VMTG | MD | Moldova | c
70 |  | Melendugno - IT / TAP |  |  | 320 | TAP | AL | Albania | Snam Rete Gas | IT | Italy | c
71 |  | Nea Mesimvria |  |  | 44.61 | TAP | GR | Greece | DESFA | GR | Greece | c
72 |  | IP Stara Zagora |  |  | 107 | ICGB | BG | Bulgaria | Bulgartransgaz | BG | Bulgaria | c
73 |  | Komotini |  |  | 79.41 | DESFA | GR | Greece | ICGB | BG | Bulgaria | c
74 |  | Kipi |  |  | 5.98 | Botas | TR | Turkey | DESFA | GR | Greece | c
75 |  | Strandzha (BG) / Malkoclar (TR) |  |  | 505.85 | Bulgartransgaz | BG | Bulgaria | Botas | TR | Turkey | c
[5 empty] | 118.075 | Botas | TR | Turkey | Bulgartransgaz | BG | Bulgaria | c
80 | V | GCP GAZ-SYSTEM/UA TSO added due to VIP creation |  |  | 81.36 | GAZ-SYSTEM | PL | Poland H-gas | TSOUA | UA | Ukraine | c
[5 empty] | 135.6 | TSOUA | UA | Ukraine | GAZ-SYSTEM | PL | Poland H-gas
81 |  | Uzhhorod (UA) - Velké Kapušany (SK) |  |  | 1649.2 | TSOUA | UA | Ukraine | eustream | SK | Slovakia | c
82 | V | VIP Bereg (HU) / VIP Bereg (UA) Virtual Interconnection Point |  |  | 517.47 | TSOUA | UA | Ukraine | FGSZ | HU | Hungary | c
[6 empty] | FGSZ | HU | Hungary | TSOUA | UA | Ukraine
83 |  | Isaccea (RO) - Orlovka (UA) I |  |  | 201.894 | TSOUA | UA | Ukraine | Transgaz | RO | Romania | c
[5 empty] | 121.42 | Transgaz | RO | Romania | TSOUA | UA | Ukraine | c
Intra-Balancing Zone Point
150 |  | Nybro |  |  | 528 | Orsted | DK | Joint Bal Zone DK/SE | Energinet | DK | Joint Bal Zone DK/SE | c
151 |  | Rep. San Marino |  |  | 4.4 | Snam Rete Gas | IT | Italy | Snam Rete Gas | SM | San Marino | c
152 | V | Point of Interconnection (PWP) (PL) |  |  | 277.6 | GAZ-SYSTEM (ISO) | PL | TGPS (YAMAL) | GAZ-SYSTEM | PL | Poland H-gas | c
153 | V | GDLux (BE) / Bras Petange (LU) |  |  | 48.8 | Fluxys Belgium | BE | BeLux | Creos Luxembourg | LU | BeLux | c
Import Cross-border IP with non-EU
200 |  | St. Fergus |  |  | 320 | Gassco | NO | Norway | National Gas TSO | UK | UK | c
201 |  | Dornum (EPT1 & EPT2) |  |  | 422.67 | Gassco | NO | Norway | Open Grid Europe | DE | DE THE BZ | c
202 |  | Dornum Gaspool |  |  | 153.9 | Gassco | NO | Norway | Open Grid Europe | DE | DE THE BZ | c
203 |  | Emden (EPT1) GTS entries at Emden EPT and Bunde/OSZ (OGE, GUD-H, GASCADE) are limited by a cluster capacity of 1.517,9 GWh/d. |  |  | 1512.02 | Gassco | NO | Norway | Open Grid Europe | DE | DE THE BZ | c
[9 empty] | Gasunie Deutschland | DE | DE THE BZ
[9 empty] | GTS | NL | Netherlands
[9 empty] | Thyssengas | DE | DE THE BZ
203 |  | Emden (NPT) Since 1st of October 2015, this point has been merged into Emden EPT. |  |  | 356 | Gassco | NO
204 |  | Zeebrugge ZPT |  |  | 478 | Gassco | NO | Norway | Fluxys Belgium | BE | BeLux | c
205 |  | Dunkerque |  |  | 570 | Gassco | NO | Norway | NaTran | FR | TRF | c
206 |  | Easington |  |  | 817 | Gassco | NO | Norway | National Gas TSO | UK | UK | c
207 |  | North Sea Entry |  |  | 321.6 | Gassco | NO | Norway | Energynet | DK | DK | c
210 |  | Tarifa |  |  | 31.917 | Enagas | ES | Spain | EMPL | MA | Marroco | c
[5 empty] | 442.85 | EMPL | MA | Marroco | Enagas | ES | Spain | c
211 |  | Almería |  |  | 337.12 | MEDGAZ | DZ | Algeria | Enagas | ES | Spain | c
212 |  | Mazara del Vallo SRG entry points at Mazara and Gela are limited by a cluster capacity of 1385,3 Gwh/d |  |  | 1150.26 | TPMC | DZ | Algeria | Snam Rete Gas | IT | Italy | c
213 |  | Gela SRG entry points at Mazara and Gela are limited by a cluster capacity of 1385,3 Gwh/d |  |  | 440 | Green Stream | LY | Libya | Snam Rete Gas | IT | Italy | c
220 |  | Kotlovka Part of these technical capacities is only available for gas transit to a third country. |  |  | 325.4 | Gazprom | BY | Belarus | Amber Grid | LT | Lithuania | c
226 |  | Strandzha 2 (BG) / Malkoclar (TR) |  |  | 584.106 | Botas | TR | Turkey | Bulgartransgaz | BG | Bulgaria | c
240 |  | Kipoi |  |  | 395 | TANAP | TR | Turkey | Trans Adriatic Pipeline | GR | Greece | c
LNG Entry point
300 |  | Zeebrugge LNG |  |  | 724.1 | Fluxys LNG |  |  | Fluxys Belgium | BE | BeLux | c
301 |  | Montoir de Bretagne |  |  | 320.548 | Elengy |  |  | NaTran | FR | TRF | c
302 |  | Fos (Tonkin/Cavaou) |  |  | 368.63 | Fosmax LNG Elengy |  |  | NaTran | FR | TRF | c
303 |  | Dunkerque LNG |  |  | 575 | Dunkerque LNG |  |  | NaTran | FR | TRF | c
304 |  | Le Havre |  |  | 146 | TELSF |  |  | NaTran | FR | TRF | c
305 |  | Gate Terminal |  |  | 576 | Gate Terminal |  |  | GTS | NL | Netherlands | c
306 |  | Eems Energy Terminal |  |  | 341.7 | EET |  |  | GTS | NL | Netherlands | c
310 |  | Barcelona |  |  | 552.6 | Enagás (LSO) |  |  | Enagas | ES | Spain | c
311 |  | Sagunto |  |  | 278.3 | Saggas |  |  | Enagas | ES | Spain | c
312 |  | Cartagena |  |  | 375.83 | Enagás (LSO) |  |  | Enagas | ES | Spain | c
313 |  | Huelva |  |  | 375.83 | Enagás (LSO) |  |  | Enagas | ES | Spain | c
314 |  | Mugardos |  |  | 115.2 | Reganosa |  |  | Enagas | ES | Spain | c
315 |  | Bilbao |  |  | 222.42 | BBG |  |  | Enagas | ES | Spain | c
316 |  | Musel |  |  | 31.92 | Musel Energy Hub |  |  | Enagas | ES | Spain | c
317 |  | Sines |  |  | 200 | REN Atlántico |  |  | REN - Gasodutos | PT | Portugal | c
320 |  | Panigaglia |  |  | 119.885 | SNAM Energy Terminals |  |  | Snam Rete Gas | IT | Italy | c
321 |  | Cavarzere (Porto Levante / Adriatic LNG) In the integrated management of the whole gas system, SNAM carries out some activities on the basis of an agreement with ITG (capacity allocation and management, balancing). In this context, data for Cavarzere IP are published by SNAM on behalf of ITG. |  |  | 288.3626 | GNL Adriatico |  |  | Snam Rete Gas | IT | Italy | c
322 |  | OLT LNG / Livorno |  |  | 146.7 | OLT |  |  | Snam Rete Gas | IT | Italy | c
323 |  | Piombino |  |  | 146.7 | SNAM Energy Terminals |  |  | SNAM | IT | Italy | c
324 |  | Ravenna |  |  | 233.37 | SNAM Energy Terminals |  |  | SNAM | IT | Italy | c
326 |  | LNG Croatia |  |  | 102.4 | LNG Hrvatska |  |  | Plinacro Ltd | HR | Croatia | c
327 |  | Agia Triada Revythoussa LNG Terminal is located on Revythoussa island. Agia Triada is the Entry Point in DESFA’s NGTS (Natural Gas Transmission System) and is located on the continent. It communicates with the LNG Terminal with two underwater pipelines. |  |  | 224.59 | DESFA |  |  | DESFA | GR | Greece | c
328 |  | Alexandroupolis Amphitriti |  |  | 119.41 | Gastrade |  |  | DESFA | GR | Greece | c
330 |  | Klaipeda (LNG) |  |  | 116.7 | AB Klaipedos Nafta |  |  | Amber Grid | LT | Lithuania | c
331 |  | Swinoujscie |  |  | 253.9 | GAZ-SYSTEM |  |  | GAZ-SYSTEM | PL | Poland H-gas | c
332 |  | Inkoo LNG |  |  | 140 | Gasgrid |  |  | Gasgrid | FI | Finland | c
333 |  | Wilhelmshaven |  |  | 364.8 | DET |  |  | Open Grid Europe | DE | Germany | c
334 |  | Brunsbuettel Hafen |  |  | 106.6 | DET |  |  | Gasunie Deutschland | DE | Germany | c
336 |  | Baltic Energy Gate |  |  | 432.74 | Deutsche ReGas |  |  | GASCADE | DE | Germany | c
[9 empty] | Fluxys Deutschland | DE | Germany
350 |  | Isle of Grain |  |  | 699.68 | Gain LNG |  |  | National Gas TSO | UK | UK | c
351 |  | Milford Haven |  |  | 916.767 | Dragon LNG |  |  | National Gas TSO | UK | UK | c
South Hook