DRAFT NETWORK CODE

on
Interoperability and Data Exchange Rules

An ENTSOG Draft Network Code for Public Consultation

This document constitutes the draft network code on Interoperability and Data Exchange Rules for European gas transmission networks developed by ENTSOG (hereinafter the 'Network Code') in accordance with Article 8, (6) of the Regulation (EC) No 715/2009.

The Network Code was developed following an Invitation Letter from the European Commission to draft a Network Code on Interoperability and Data Exchange Rules which was received by ENTSOG on 11 September 2012 (hereinafter referred to as the 'Invitation Letter').

The development of this Network Code is based upon the Framework Guidelines on Interoperability and Data Exchange Rules published by the Agency for the Cooperation of Energy Regulators (hereinafter referred to as ‘ACER’) on the 26 July 2012 and the Invitation Letter.

This Network Code was developed upon the basis of the ENTSOG Interoperability and Data Exchange Rules Launch Documentation which was published on 9 October 2012 (INT0276-120611) at the beginning of the code development process and inputs from ENTSOG members via its Interoperability Working Group and from external stakeholders via the Stakeholders’ Joint Working Sessions (SJWSs) held in November 2012 and December 2012. The materials from the SJWSs can be found on:

http://www.entsog.eu/publications/interoperability .

This Network Code is accompanied by a Supporting Document for Public Consultation on the Network Code (Ref. INT0367-130227, available on the ENTSOG website hereinafter referred to as the ‘Supporting Document for Public Consultation’) to invite the stakeholders to provide views on issues raised throughout the document as part of the Public Consultation.

For the avoidance of doubt, the Supporting Document for Public Consultation shall not be construed as part of the Network Code and is publicly disclosed to the market for information and consultation purposes only and without any commitment whatsoever from ENTSOG as to the final content of the Network Code.

Any and all interested parties, in their capacity as professional stakeholder, shall be responsible for seeking to obtain the accurate and relevant information needed for their own assessment and decision to respond to the consultation.

ENTSOG hereby disclaim all responsibilities for changes to the Network Code as presented. Such changes may result from, amongst others, the results of the consultation or comitology procedure.

Additionally, the content of the Network Code and Supporting Document for Public Consultation should not be considered to give rise to any specific right or obligation whatsoever to ENTSOG or any of its Members as to any stakeholder.

27th February 2013

COMMISSION REGULATION (EU) No [xx/xx]

of [xx/xx]

establishing a Network Code on Interoperability and Data Exchange Rules

(Text with EEA relevance)

THE EUROPEAN COMMISSION,

Having regard to the Treaty on the Functioning of the European Union,

Having regard to Regulation (EC) No 715/2009 of the European Parliament and of the Council on conditions for access to the natural gas transmission networks and repealing Regulation (EC) No 1775/2005 and in particular Article 6 thereof;

Whereas:

- Regulation (EC) No 715/2009 sets non-discriminatory rules for access conditions to natural gas transmission systems with a view to ensuring the proper functioning of the internal market in gas.

- In particular, Regulation (EC) No 715/2009 defines several tasks for ENTSOG. Amongst these is the development of European-wide network codes in the areas referred to in Article 8 (6) to be applied by all transmission system operators for gas.

- This Regulation establishing a network code on interoperability and data exchange rules as referred to in Article 8, (6), e) and d) of Regulation (EC) No 715/2009 was developed by ENTSOG based on the procedure as set out in article 6 of Regulation (EC) No 715/2009.

- This Regulation has been adopted on the basis of Regulation (EC) No 715/2009 which it supplements and of which it forms an integral part. References to Regulation (EC) No 715/2009 in other legal acts shall be understood as also referring to this Regulation.

- This Regulation shall be amended to the extent needed as from the coming into force to adapt its provisions to any changes in terms of needs, obligations or legislation applicable to the subject matter, pursuant to the procedure set forth in article 7 of the Regulation (EC) No 715/2009.

- In addition to the protection of commercially sensitive information, under the present Regulation the transmission system operators shall preserve the confidentiality of information and data submitted to them for the purpose of implementation of this Regulation and shall not disclose to third parties any of this information and data or part of it except and to the extent legally entitled to.

- The measures provided for in this Regulation are in accordance with the opinion of the Committee established pursuant to article 51 of Directive 2009/73/EC concerning common rules for the internal market in natural gas.

- LNG operators and storage operators shall, where relevant, support the provisions of this Regulation pursuant to Article 15, (1), (b) of Regulation (EC) No 715/2009.

- The provisions set forth under this Regulation may also apply to interconnection points with third countries, subject to the decision of the relevant national authorities.

HAS ADOPTED THIS REGULATION

CHAPTER I

GENERAL PROVISIONS

Article 1

- Subject matter

- This Regulation establishes a network code which sets out provisions regarding interoperability between transmission networks and data exchange rules to apply to communication between transmission system operators and where applicable between a transmission system operator and other counterparties.

- In the event of any conflict or inconsistency between the provisions of this Regulation and any provisions related to interoperability and data exchange set out in another regulation the terms of this Regulation shall prevail.

- Article 2

- Scope

- This Regulation shall apply to transmission system operators with the aim to encourage and facilitate efficient gas trading and transportation across gas transmission networks, and thereby to move towards greater internal market integration. The provisions of this Regulation aim to facilitate cross border trade and promote the development of liquid markets at both sides of all interconnection point(s).

- The costs related to the obligations referred to in this Regulation which have to be borne by transmission system operators shall be assessed by national regulatory authorities. Costs assessed as reasonable and proportionate shall be recovered in a timely manner via network tariffs or appropriate mechanisms as determined by the applicable legislative and regulatory framework.

- Article 3

- Definitions

- For the purposes of this Regulation, the definitions in Article 2 of Regulation (EC) No 715/2009 and Article 2 Directive 2009/73/EC shall apply. In addition, the following definitions shall apply:

- ‘common data exchange solution’ means the common data network, data exchange protocols and data formats for the electronic communications referred to in Chapter VI of this Regulation.

- ‘confirmed quantity’ means the quantity of gas confirmed by a transmission system operator to be scheduled or rescheduled to flow  on gas day D. At an interconnection point, the confirmed quantity will take into account  processed quantity and the matching process used for comparing and aligning the gas quantity requested by the network users to be transported  at both sides of an interconnection point.

- ‘counterparty’ means any party with whom a transmission system operator exchanges data under a contractual arrangement for the purpose of the implementation of Regulation (EC) No 715/2009.

- 'ENTSOG' means the European Network of Transmission System Operators for Gas, an organization for cooperation of the European transmission system operators established pursuant to Regulation (EC) No 715/2009.

- ‘exceptional event’ means any unplanned event that may cause, for a limited period, capacity reductions, affecting thereby the quantity or quality of gas at a given interconnection point, with possible consequences on interactions between transmission system operators as well as between transmission system operator and network users.

- ‘gas day’ means the period from 5:00 to 5:00 UTC for winter time and from 4:00 to 4:00 UTC when daylight saving is applied.

- ‘initiating transmission system operator’ means the transmission system operator initiating the matching process by sending the necessary data to the matching transmission system operator.

- ‘interconnection agreement’ means an agreement entered into by and between adjacent transmission system operators, whose systems are connected at a particular interconnection point, which specifies terms and conditions, operating procedures and provisions, in respect of delivery and/or withdrawal of gas at the interconnection point with the purpose of facilitating efficient interoperability of the interconnected transmission networks.

- ‘interconnection point’ means a physical or virtual point, between adjacent transmission entry-exit systems in so far as the point is subject to booking procedures by network users;

- ‘lesser rule’ means that in case of different processed quantities at either side of an interconnection point, the confirmed quantity will be equal to the lower of the two processed quantities.

- ‘matching process’ is the process of comparing and aligning processed quantities of network users at both sides of a specific interconnection point, which will result in  confirmed quantities for the network users.

- ‘matching transmission system operator’ means the transmission system operator performing the matching process and sending the result of the matching process to the initiating transmission system operator.

- ‘measured quantity’ means the quantity of gas that a transmission system operator determines from its measurement equipment to have physically flowed across an interconnection point per time period.

- ‘operational balancing account’ means an account between adjacent transmission system operators, to be used to manage steering differences at an interconnection point in order to simplify gas accounting for network users involved at the interconnection point.

- ‘processed quantity’ means the quantity of gas assessed by each transmission system operator, which takes into account the network user’s nomination (respectively re-nomination), contractual provisions as defined under the relevant transport contract.

- ‘steering difference’ means the difference between the quantity of gas that the transmission system operators schedule to flow and the measured quantity.

- For the purpose of this Regulation, 'publish' refers to the process of disclosing information to make it available to the general public.  Where pursuant to this Regulation a transmission system operator is required to publish any information, the transmission system operator shall be regarded as having satisfied such obligation where it displays such information on a website that is accessible to the public or uses another mechanism that ensures the information is publicly available.

CHAPTER II

INTERCONNECTION AGREEMENTS

Article 4

- General Provisions

- To facilitate commercial and operational cooperation between adjacent transmission system operators, within the framework of an interconnection agreement, the adjacent transmission system operators shall agree at least on the following rules without any prejudice for the contracting parties to define also other issues:

- Amendments to the interconnection agreement;

- Flow control;

- Measurement principles for gas quantities and quality;

- Matching;

- Allocation of gas quantities;

- Exceptional events;

- Settlement of disputes.

- For each interconnection point, the relevant transmission system operators shall identify the relevant information in respect of the matters referred to in this paragraph that directly affects network users and shall inform them about the following:

- Matching rule;

- Allocation rule;

- Communication procedure towards network users in case of an exceptional event.

- Without any prejudice to the amendment process foreseen pursuant to Article 6 of this Regulation, before making any change regarding the information foreseen under (a), (b), (c) of this Article the relevant transmission system operators shall inform their affected network users and invite them to comment on the possible consequences the change may have on their activities within a period of time defined by each transmission system operator with a minimum period of one month and a maximum period of three months, unless otherwise specified in national rules.

- New interconnection agreements or any amendments changing any of the mandatory terms foreseen in this Chapter shall be communicated by transmission system operators to their respective national regulatory authority upon signature and at any time upon request of such national regulatory authority.

- Article 5

- Development of new and alignment of existing interconnection agreements

- Within twelve months from the entry into force of this Regulation, the adjacent transmission system operators at each interconnection point, referred to as the contracting parties in the present Chapter, shall have in force new interconnection agreement(s) or shall have amended the existing ones in compliance with the provisions set forth in this Chapter.

- Before gas flows, whether it is virtually or physically, over a new interconnection point on the basis of nominated quantities by network users, and in any case not later than twelve months after the entry into force of this Regulation, the adjacent transmission system operators shall have executed an interconnection agreement containing the minimum provisions set forth in this Chapter.

- Where the adjacent transmission system operators cannot reach an agreement to meet the above mentioned requirements, each of them shall apply the default rules set forth in this Chapter and shall inform its own national regulatory authority. Should they not manage to reach an agreement for those issues not covered by the default rules, they shall seek as soon as reasonably practicable to have the dispute settled with the support of the competent national regulatory authorities or any other dispute resolution mechanisms available pursuant to applicable provisions under this Regulation.

- Article 6

- Amendment to interconnection agreements

- The interconnection agreement shall specify a transparent and detailed amendment process.

- Unless otherwise agreed by the contracting parties, the interconnection agreement shall be amended due to obligations deriving from the applicable legislative and regulatory framework or if either party so requests by means of written notice .

- Having regard to the cases set forth under paragraph 2 of this Article, the contracting parties shall make the amendment within the deadline imposed by the relevant applicable legislative and regulatory framework or they shall reach an agreement upon said request within a period of time to be agreed among them.

- If the contracting parties do not agree upon amending the concerned provisions of the interconnection agreement or the timeline for the amendment process the dispute shall be finally settled in accordance with the provisions set forth by Article 12 of this Regulation.

- Article 7

- Rules for flow control

- The interconnection agreement shall as a minimum address the following matters in respect of flow control:

  - rules to facilitate a controllable, accurate, predictable and efficient gas flow across the interconnection point;

  - provisions setting out how the contracting parties will steer the gas flow across the interconnection point and obligations to use their reasonable endeavours to minimize deviations from the flow that is agreed pursuant to the matching process;

  - determination of the contracting party who is responsible for installation, operation and maintenance of the flow control equipment.

Flow control actions taken at an IP are done only on an operational basis meaning that network users’ confirmed quantities are not affected as long as an operational balancing account, as described under Article 10 of this Regulation, is in place and any flow alteration action as described under paragraph 2, (c) of this Article doesn’t have to be applied. Where no operational balancing account is in place network users’ confirmed quantities will be affected only to the minimum extent possible.

- The provisions for flow control referred to in paragraph 1, (b) of this Article shall foresee the following:

- The contracting parties shall agree upon the quantity and direction of gas flow for each interconnection point and for each hour of the gas day;

- The agreed quantity and direction of gas flow shall reflect:

- the results of the matching process;

- operational balancing account corrections;

- any efficient flow control arrangements agreed between the contracting parties for the purpose of ramp-up, ramp-down, minimum flow, and/or switch of flow direction or operational cost efficiency.

- At any time the contracting parties may agree to alter the agreed quantity and direction of gas flow when this is required under those circumstances in which  such alteration is required due to:

- the purpose of complying with requirements laid down in safety legislation;

- the purpose of complying with requirements laid down in Emergency Plans and/or Preventative Action Plans developed in accordance with Regulation (EU) No. 994/2010;

- an exceptional event affecting any of the contracting parties;

- any other reasons specified under national rules.

- Provided that contractual obligations regarding pressure are complied with by all contracting parties, the party who is in charge of  the flow control equipment shall, in cooperation with the other party(ies), be responsible for steering the gas flow across the interconnection point:

- at a level of accuracy sufficient to minimise the steering difference; and

- at a level of stability in line with the efficient use of the gas transmission networks.

- Article 8

- Measurement principles for gas quantity and quality

- The interconnection agreement shall specify as a minimum the following matters in respect of the measurement of gas quantity and quality:

- details of all the measurement responsibilities and standards applicable at the interconnection point;

- determination of the contracting party responsible for the installation, operation and maintenance of the measurement equipment and an obligation for such contracting party to make all relevant information and data in respect of the measurement of gas flows at the interconnection point available to the other contracting party(ies) in a timely manner and at the frequency specified under the interconnection agreement.

- The installation, operation and maintenance of measurement equipment at an interconnection point shall take into consideration both relevant national requirements of adjacent contracting parties. The contracting parties shall use their reasonable endeavours to reach an agreement. If no such agreement can be reached the relevant provisions of this Regulation regarding dispute resolution procedures shall apply.

- With particular regard to measurement provisions the interconnection agreement shall define:

- a description of the metering station including measurement and analysis equipment to be used and details of any secondary equipment that may be used in case of failure;

- the gas quality parameters and volume and energy that shall be measured, as well as the range and the maximum permissible error/uncertainty over which the measurement equipment will operate, the frequency of measurements, in what units and according to what standards the measurement shall be made as well as any conversion factors used;

- the procedures and methods that shall be utilised to calculate those parameters which are not directly measured;

- a description of the method of calculation in respect of the maximum permissible error/uncertainty in the determination of energy;

- a description of the data validation process in use for the measured parameters;

- the measurement validation and quality assurance arrangements, including verification and adjustment procedures to be agreed between the contracting parties;

- the way data is exchanged, including frequency and content, among the parties in respect of the measured parameters;

- the specific list of signals and alarms to be provided by the contracting party(ies) who own(s) and operate(s) the measurement equipment to the other contracting party(ies);

- rules to manage a situation where the volume and energy measurement equipment is found to be in error within the close-out period for network users’ allocations (either under-reading or over-reading outside of its defined uncertainty range);

- rules that shall apply between contracting parties in the event of failure of the measurement equipment;

- rules that shall apply between the contracting parties for:

- access to the measurement facility;

- additional verifications of measurement facility;

- modification of the measurement facility and

- attendance during calibration and maintenance work at the measurement facility.

- Where the contracting parties do not agree on a standard for the measurement of volume and energy, the latest version of European standard EN1776 Functional Requirements for Gas Measuring Systems shall apply. Measurement equipment used for flow control purposes shall comply with the applicable European product standards by default.

- Article 9

- Matching

- The interconnection agreement in respect of the matching process shall specify as a minimum the following:

- the rules detailing the matching process taking into account daily-hourly nomination arrangements where relevant;

- the communication and processing of the relevant data among the contracting parties to calculate the processed quantities and confirmed quantities of network users and the quantity of gas that needs to be scheduled to flow at the interconnection point(s);

- the specific provisions of the matching process shall be in line with the rules described in this Article and where relevant in line with national rules concerning the use of agents.

- The provisions in the interconnection agreement regarding the process that the contracting parties shall use to manage nominations against unbundled capacity products shall address the following points:

- The application of a matching rule leading to identical confirmed quantities for each pair of network users at both sides of the interconnection point when processed quantities are not aligned. Unless otherwise agreed by the contracting parties the lesser rule shall apply;

- The contracting parties’ respective roles in the matching process by specifying whether they are the initiating or the matching transmission system operator;

- The applicable time schedule for the matching process within the nomination/re-nomination cycle, given that the whole matching process shall not take more than 2 (two) hours from the starting of the nomination/re-nomination cycle, shall take into account the following points:

- what data needs to be exchanged between the contracting parties in order to enable them to inform network users of their confirmed quantities before the end of the nomination/re-nomination cycle;

- the process to exchange the necessary data which shall enable the contracting parties to perform all calculation and communication steps in an accurate and timely manner.

Unless otherwise agreed by the contracting parties, the matching process shall be performed in the following sequential steps:

- Calculating and sending of processed quantities by initiating transmission system operators within forty five minutes of the start of the nomination (respectively re-nomination) cycle;

- Calculating and sending of confirmed quantities by matching transmission system operators within forty-five minutes from the time at which the processed quantities are received by matching transmission system operators or renominations received only by the matching transmission system operator;

- Confirming to network users and scheduling the gas flow across the interconnection point by all the contracting parties within thirty minutes from the time confirmed quantities are received by the initiating transmission system operators.

- The provisions in the interconnection agreement regarding the matching process that contracting parties shall use for bundled capacity products shall specify:

- that the purpose of the matching process for bundled capacity products shall be limited to the alignment of the processed quantities in the case of temporary reduction of capacity on one or both sides of the interconnection point(s) and to avoid differences due to mistakes during data communication;

- in case of submission of nominations by network users against bundled and unbundled capacity products at the interconnection point(s), the matching process for bundled capacity products shall be integrated in the matching process for unbundled products in order to ensure that the gas flow at both sides of the interconnection point(s) is calculated on a consistent basis.

- The provisions regarding the data exchange in the interconnection agreement shall specify:

- the use of data exchange between the contracting parties for the matching process;

- the harmonised information contained within the data exchange for the matching process which shall contain as a minimum:

- Interconnection point identification;

- Network user identification or if applicable its portfolio identification;

- The identification of the party delivering to or receiving gas from the network user or if applicable its portfolio identification;

- Start and end time of the gas flow for which the matching is made;

- Gas day;

- Processed and confirmed quantities;

- Direction of gas flow.

- Article 10

- Rules for the allocation of gas quantities

- The interconnection agreement shall define as minimum consistent rules for the allocation of gas quantities at both sides of the interconnection point.

- Subject to paragraphs 3 and 4, the interconnection agreement shall define the operational balancing account as the applicable allocation rule.

- For existing interconnection agreements, the contracting parties may agree to maintain the existing allocation rule and inform the network users in accordance with Article 4 paragraph 3 of this Regulation.

- For new interconnection agreements, the contracting parties may agree to implement another allocation rule, provided that if, a network user of either of the transmission system operators requests the allocation rule to be an operational balancing account, the contracting parties shall conduct a public consultation before gas flows.

- The operational balancing account shall foresee that:

- The steering difference shall be allocated to an operational balancing account of the contracting parties and the allocations to be provided by each contracting party to its respective network user shall be equal to the confirmed quantities. The contracting parties shall exchange the calculated operational balancing account at least on a daily basis in order to avoid differences. The contracting party who is in charge of the measurement equipment shall, in accordance with the deadlines mutually agreed in the interconnection agreement, recalculate the operational balancing account with validated quantities and communicate it to the other contracting party(ies);

- The contracting parties shall endeavour to maintain at all times an operational balancing account balance that is as close to zero as possible;

- The operational balancing account limits shall be set taking into account specific characteristics of each interconnection point and/or the interconnected transmission networks such as:

- physical characteristics of the interconnection point;

- line pack capability of each transmission network;

- the total technical capacities at the interconnection point;

- gas flow dynamics at the interconnected transmission networks.

- The contracting parties shall agree to cooperate with each other in making required adjustments in the operation of their respective transmission networks in order to keep the operational balancing account within the defined limits.

- Where the defined limits of the operational balancing account are reached, the contracting parties may agree to extend such limits.

- The contracting parties shall agree a fall-back solution to be applied when the steering difference exceeds the defined limits of the operational balancing account and such steering difference is not manageable through the operational balancing account.

- Article 11

- Exceptional events

- Provided that the provisions set forth by Regulation (EC) No 1227/2011 and in any related acts are complied with, all interconnection agreements shall require as a minimum that any contracting party(ies) affected by an exceptional event shall inform the other contracting party(ies) of the occurrence of such exceptional event and shall provide all necessary information as further defined herein.

- The interconnection agreement shall provide that:

- The contracting parties shall agree on the use of communication means which shall facilitate fast and simultaneous communication to all concerned parties. Unless otherwise agreed by the contracting parties, the communication shall be performed by means of telephone call for information, followed by a written confirmation.

- Where an exceptional event occurs on a contracting party’s network affecting the interconnection point, the relevant contracting party shall without delay inform and keep informed the other contracting party(ies) in respect of:

- the nature of the event;

- the expected duration of the event;

- the possible impact on the quantities of gas that can be transported over the interconnection point.

- In case an exceptional event might have an impact on the confirmed quantities of network users, as soon as reasonably practicable, each contracting party shall inform its respective affected network users that are active at the concerned interconnection point of the following:

- the nature of the event;

- the expected duration of the event;

- consequences for the confirmed quantities.

- Once the exceptional event ends, the relevant affected contracting party(ies) shall inform the other contracting party(ies) as soon as reasonably practicable and each contracting party shall inform its respective affected network users accordingly.

- Article 12

- Settlement of disputes arising from Interconnection Agreements

- The interconnection agreement shall specify how to finally settle any disputes including any controversies or claims between the contracting parties arising out of or in connection with the interconnection agreement, including its existence, content, amendment, validity or termination, which cannot be amicably settled by the contracting parties.

- In the interconnection agreement the contracting parties shall define the court of jurisdiction or describe terms and conditions of the appointment of experts within the framework of an institutional forum or chosen on an ad hoc basis.

- Should the designated jurisdiction not deem to be competent or should any of the contracting parties not comply with the obligations agreed with regard to the procedure before the expert, the applicable conflict-of-law rules shall apply.

- Should the contracting parties not agree on a jurisdiction clause to finally settle the disputes arising out of or in connection with the interconnection agreement within twelve months from the entry into force of this Regulation, the applicable conflict-of-law rules shall apply.

CHAPTER III

UNITS

Article 13

- General provisions

- Each transmission system operator shall use the common set of units defined in Article 14 of this Regulation for any communications related to the information exchange described in the regulations supplementing Regulation (EC) No 715/2009 with adjacent transmission system operator(s) or with other counterparties.

- The provisions set forth in this Chapter are without prejudice to existing European Union regulations covering harmonisation of units for other parameters.

- Article 14

- Common set of units

- For the parameters of pressure, temperature, volume, gross calorific value, energy, and Wobbe-index the transmission system operators shall use:

- Pressure:				bar

- Temperature:				°C (degree Celsius)

- Volume:				m3

- Gross calorific value (GCV):		kWh/m3

- Energy:				kWh (based on GCV)

- Wobbe-index:				kWh/m3 (based on GCV)

- For pressure, the transmission system operators shall indicate whether it refers to absolute (bar (a)) or gauge (bar (g)).

- The default reference conditions for volume shall be 0°C and 1.01325 bar(a). For GCV, Energy and Wobbe-index the default combustion reference temperature shall be 25°C and 0°C for density.

- Article 15

- Additional units

- Notwithstanding Articles 13 and 14 of this Regulation, the use of other units or reference conditions for data exchange between adjacent transmission system operators or from a transmission system operator to a counterparty shall be allowed in addition to those set forth in this Chapter where communicating parties agree.

- When communicating in other units the conversion factor to common units shall be provided where required. Any conversion factors used shall be consistent with the procedures described in the latest version of ISO 13443.

CHAPTER IV

GAS QUALITY

Article 16

- General provisions

Adjacent transmission system operators shall reinforce transparency and cooperation between themselves where differences in gas quality at both sides of an interconnection point might create a barrier to gas market integration.

- Article 17

- Managing gas quality differences

- The provisions set forth in this Article shall apply at an interconnection point where:

          - gas is capable of physically flowing from one transmission system operator’s network into another transmission system operator’s network and

          - the range of any gas quality parameter that applies in respect of the transmission system operator’s network delivering the gas is different from the range that applies for that parameter in respect of the transmission system operator’s network receiving the gas and where, in the reasonable opinion of the relevant transmission system operator, such difference is preventing, or could in the future prevent, gas from physically flowing between the two transmission networks thus creating a barrier to cross border flows.

- Where a barrier is identified and where the conditions detailed in paragraph 1 of this Article are met, within twelve months from the coming into force of this Regulation the concerned transmission system operators shall:

  - inform as soon as reasonably practicable their respective national regulatory authorities;

  - cooperate and develop technically feasible and financially reasonable options in order to remove the identified barrier(s) to cross border trade;

  - jointly carry out a cost benefit analysis for  potential solutions;

  - conduct a public consultation on the potential solutions and take into consideration the results of the consultations;

  - submit a recommended solution based on the cost benefit analysis and results of the public consultation to their respective national regulatory authorities for approval.

- Should the concerned transmission system operators not reach an agreement on whether or not a barrier exists or on a solution within twelve months from the entry into force of the Regulation, each of them shall inform its own national regulatory authority as soon as reasonably practicable and seek to have the dispute settled with the support of the competent national regulatory authorities and/or by referring the dispute to the dispute resolution mechanism provided for in Article 28 of this Regulation.

- The transmission system operators shall, at a frequency of not less than once per year as from the coming into force of this Regulation, conduct a review which shall include but may not be limited to:

  - Assessment of whether differences in gas specification has prevented, or could in the future prevent gas from physically flowing across any interconnection point; and

  - Assessment of the effectiveness of any solution adopted to address differences in gas quality specification between transmissions system operators’ transmission networks and of any necessity to modify that solution.

- As to the costs related to the obligations foreseen by this Article, the provisions set forth under Article 2.2 of this Regulation shall apply.

- Article 18

- Short term monitoring on gas quality - data publication

- Transmission system operators shall publish with a frequency of at least once per hour during the gas day the near real time values of Wobbe-index and gross calorific value for gas entering its transmission network at a physical interconnection point.

- Such information shall be provided on an indicative basis only without any warranty given by the transmission system operators for any consequential loss or damage related to the use of this information by any third party.

Article 19

- Short term monitoring on gas quality variation information exchange

- The following parties shall be deemed as ‘eligible’ to potentially receive indicative gas quality information from a transmission system operator:

  - any end consumer directly connected to a transmission system operator‘s network, whose operational processes can be affected by gas quality changes;

  - any distribution system operator directly connected to a transmission system operator’s network; and

  - any storage system operator directly connected to a transmission system operator’s network, whose operational processes can be affected by gas quality changes.

With regard to paragraph 1 (a) of this Article, where a member state’s national rules do not provide for any direct contractual relationship between a transmission system operator and its directly connected end consumers, any network user that has a contract in force with an end consumer directly connected to that transmission system’s network, whose operational processes can be affected by gas quality changes, shall itself only be an eligible party.

- Within six months from the entry into force of this Regulation each transmission system operator shall:

  - taking into account the provisions foreseen in paragraph 1 of this Article, define and maintain a list of parties eligible to potentially receive indicative gas quality information;

  - for the parties, if any, identified in the list foreseen under paragraph 3, (a) of this Article, cooperate in order to assess:

- the nature of the indicative information;

- frequency of an update;

- lead-time;

- how the information may be exchanged;

Transmission system operators shall use their reasonable endeavours to provide such information using existing equipment.

- Such information shall be provided on an indicative basis only, without any warranty given by the transmission system operator for any consequential loss or damage related to the use of this information.

- Article 20

- Long term monitoring

- ENTSOG shall prepare every two years a long term gas quality monitoring outlook in order to identify the potential trends of gas quality parameters and respective potential variability over the next ten years.

- The outlook shall be based on the inputs gathered in the framework of the regional cooperation established within ENTSOG in accordance with Article 12, (1) of Regulation (EC) No 715/2009. The relevant regions shall be defined by ENTSOG for the purpose of the outlook.

- The outlook shall cover at least the Wobbe-index. Additional gas quality parameters may be included after the consultation with stakeholders foreseen in paragraph 8 of this Article.

- The outlook shall identify potential new supply sources including indigenous and non-conventional gas production from a gas quality perspective.

- In order to define the reference values of gas quality parameters for the respective supply sources to be used in the outlook, an analysis of the previous years shall be carried out. Such data may be replaced by stakeholders’ inputs which result from the stakeholder engagement process foreseen in paragraph 8 of this Article.

- For every considered gas quality parameter and every region, the analysis shall result in a range within which the parameter is likely to evolve.

- The outlook shall be consistent and aligned with the ENTSOG Union-wide Ten Year Network Development Plan under preparation at the same time. In particular, the Outlook shall be based on the selection of the most relevant cases for long term gas quality monitoring purpose focusing on the year plus five and ten to be found in the ENTSOG Union-wide Ten Year Network Development Plan.

- The stakeholder consultation process utilised for the Union-wide Ten Year Network Development Plan shall be enlarged to include the gas quality as an item. Through this process, stakeholders shall be invited to provide ENTSOG with their views on the evolution of gas quality parameters of supplies.

CHAPTER V

ODOURISATION

Article 21

- Odourisation

      - Within six months from the entry into force of this Regulation the adjacent transmission system operators:

        - shall cooperate in order to identify at each interconnection point whether there are any differences in odourisation practices which might create a barrier in cross-border flows;

        - shall inform their respective national regulatory authorities as soon as is reasonably practicable if the differences under paragraph 1, a) of this Article are identified and gas is capable of physically flowing from one transmission system operator’s network in which the gas is odourised into another transmission system operator’s network in which the gas is not odourised and nevertheless is impeded due to the differences in odourisation practices ;

        - shall seek to reach an agreement to solve any  barriers identified under paragraph 1, b) of this Article and shall actively cooperate to identify and assess the consequences related to:

      - the potential flow of odourised gas into the non-odourised transmission network;

      - a possible acceptable level of odourant for the receiving non-odourised transmission network in case of removal of the odourant at the interconnection point;

      - a conversion towards non-odourised gas in the odourised transmission network or part of it.

      - The concerned adjacent transmission system operators shall provide their respective national regulatory authorities with the agreement including cost recovery mechanism for approval with the involvement of the relevant authorities where required by the applicable national law and in compliance with its requirements.

      - Where no agreement can be reached between the concerned adjacent transmission system operators after a six month period or where the competent national regulatory authorities agree that the proposed agreement by the concerned adjacent transmission system operators is not sufficiently effective to remove the barrier, the adjacent transmission system operators in cooperation with relevant authorities shall, within the following twelve months, endeavour to define a detailed plan setting out the most cost effective method to deliver physical flows of non-odourised gas at the specific cross-border interconnection point.

      - For the purpose of fulfilling the obligations under paragraph 3 of this Article, the adjacent transmission system operators shall in cooperation with relevant authorities:

- develop options to remove the barrier;

- produce cost estimates for each potential option and define the most cost effective option;

- produce an estimate of the implementation time for each potential option;

- define a final solution including the cost recovery mechanism;

- choose the solution.

      - Upon request from a concerned national regulatory authority, the Agency shall provide an opinion based on matter of facts on whether the decision taken by one of the national regulatory authorities involved complies with the Regulation (EC) No 715/2009 or the Directive (EC) No 73/2009 in accordance with Article 7, (4) of Regulation (EC) No 713/2009.

      - Once a solution including the appropriate cost recovery mechanism is approved by the competent national regulatory authorities, the solution shall be implemented by the concerned transmission system operators.

CHAPTER VI

DATA EXCHANGE

Article 22

General provisions

- The appropriate degree of harmonization of data exchange to support the completion and functioning of the European internal gas market, security of supply and appropriate access to the relevant information is to be set forth for the exchange of data and communication among transmission system operators as well as for the exchange of data and communication between a transmission system operator and his counterparties.

- The common data exchange solutions foreseen under this Regulation cover all electronic exchanges of data arising from Regulation (EC) No 715/2009 and regulations to supplement it.

- ENTSOG shall coordinate and facilitate the implementation of the common data exchange solutions foreseen under this Article and related data formats foreseen for the business processes as further detailed under this Chapter.

- The Internet as global system of interconnected computer networks that uses the standard internet protocol suite worldwide shall be used for the purpose of the present Regulation as the network for all common data exchange solutions defined under the present Chapter.

Article 23

Common data exchange solutions

- Under this Regulation three types of common data exchange solutions are foreseen:

- Document based Data Exchange.

Such data is exchanged wrapped into a file and automatically exchanged between the IT systems of the two communicating parties.

- Integrated Data Exchange.

Such data is exchanged between two applications directly on the IT systems of the two communicating parties.

- Interactive Data Exchange.

Such data is exchanged interactively between communicating party and a web application of the other communicating party via a browser.

- For the document based data exchange, the common data exchange solutions shall be:

- Protocol: AS4 shall be used as common data exchange protocol for document based data exchanges.

- Data Format: Edig@s-XML

- Transmission system operators shall use a single common data content format related to regulations developed under Regulation (EC) No 715/2009 which will be developed by ENTSOG and published on its website.

- For the integrated Data Exchange, the common data exchange solutions shall be:

- Protocol: HTTP/S-SOAP shall be used as common data exchange protocol for integrated data exchanges.

- Data Format: Edig@s-XML

- Transmission system operators shall use a single common data content format related to regulations developed under Regulation (EC) No 715/2009 which will be developed by ENTSOG and published on its website.

- For the interactive Data Exchange, the common data exchange solutions shall be:

- Protocol: HTTP/S shall be used as common data exchange protocol for interactive data exchanges.

- Transmission system operators shall use a single common data content format related to regulations developed under Regulation (EC) No 715/2009 which will be developed by ENTSOG and published on its website.

- The common data exchange solutions described under paragraphs 2, 3 and 4 of this Article shall be published on the ENTSOG’s website and shall be the common data exchange solution for document based data exchange, integrated data exchange and interactive data exchange, without any prejudice to define new common data exchange solutions in accordance with Article 26 of this Regulation.

Article 24

Data exchange system security and availability

- Each communicating party shall be responsible to ensure that the appropriate security measure are undertaken in particular:

    - Each communicating party shall secure the communication chain to provide secured and reliable communications including protection of the confidentiality by encrypting the messages, the integrity by signing the messages, the authenticity of the message by digital signature of the sender and the non-repudiation by a signed confirmation message.

    - Each communicating party shall be responsible for implementing appropriate security measures to prevent unauthorised access of their IT infrastructure.

    - Each communicating party shall notify the other parties it communicates with as soon as it is aware of any unauthorised access has or may have occurred on his own system.

- Each transmission system operator shall be responsible to ensure the availability of its own system and shall:

- take appropriate measures to prevent that a single point of failure will cause an unavailability of the data exchange system. This requirement also applies up to the network connection(s) with the internet service provider(s);

- take all reasonable endeavours to obtain the appropriate services and support from their internet service provider(s);

- take all reasonable endeavours to keep the downtime, as a consequence of planned IT maintenance, to a minimum and shall inform their counter parties in a reasonable time prior to the planned unavailability.

Article 25

Implementation

- Subject to paragraph 2 of this Article, the transmission system operators shall make the common data exchange solutions available within twelve month from the entry into force of this Regulation.

- Where data exchange solutions between counterparties and transmission system operators are in place at the coming into force of the Regulation and provided that the existing communication solutions are compatible with the business requirements set forth for the regulations developed under Regulation (EC) No 715/2009 a different implementation schedule can be agreed between the transmission system operator and the concerned counterparties.

- The transmission system operators shall implement the necessary data formats in accordance with the schedules imposed by the different network codes developed under Regulation (EC) No 715/2009 for which data exchanges are required.

Article 26

Technology evolution

- ENTSOG shall monitor the evolutions in IT technology for data exchange solutions.

- When a potential need to change the common data exchange solution is identified, ENTSOG shall evaluate relevant technical solutions and produce a cost benefit analysis of the potential change(s) that would be needed or produce the analysis of the reasons that make a technological evolutional step necessary. A public consultation involving all stakeholders shall be organised by ENTSOG to present the result of the evaluation and proposal(s) based on the cost benefit analysis realised.

- Where a change to the common data exchange solutions is considered necessary following the procedure foreseen under paragraph 2 of this Article, ENTSOG shall submit a proposal to ACER.

Article 27

Development process for data exchange requirements and business requirement specification(s) related to regulations developed under Regulation (EC) No 715/2009

- The data exchange requirements and business requirement specification(s) including the data format release management for regulations developed under Regulation (EC) No 715/2009 and related follow up of technical developments shall be managed and controlled by ENTSOG.

- ENTSOG shall develop common network operation tools in accordance with Article 8, (3), (a) of Regulation (EC) No 715/2009 detailing the rules to be applied for the development of data exchange requirements and business requirement specification(s) including the data format release management related to regulations developed under Regulation (EC) No 715/2009 or any amendment or annex to it.

- ENTSOG shall publish all relevant information for the data exchange requirements on its website.

CHAPTER VII

Dispute Resolution

Article 28

- Without prejudice to the dispute resolution procedure provided for any controversies arising out of or in connection with an interconnection agreement as referred to in Article 12 of this Regulation, in all the other cases in which a dispute arises among adjacent transmission system operators in relation to the implementation of this Regulation, they shall endeavour to settle the dispute. To solve the dispute they may resort to any available dispute settlement mechanism(s) in place in their respective Member States pursuant to Article 41, (11) of the Directive (EC) No 73/2009 to the extent the dispute can fall under the jurisdiction of such forum(s).

- Should a final common decision not be reached pursuant to the provisions set forth under paragraph 1 of this Article, the Agency shall be involved to take appropriate measures in accordance with the provisions of Article 8 of the Regulation (EC) No 713/2009.

CHAPTER VIII

Final Provisions

Article 29

Implementation

- The transmission system operators shall comply with the provisions of this Regulation within a twelve-month period as from its entry into force which shall include the adaption of all relevant contractual terms and conditions, except where otherwise provided in this Regulation and to the extent specific derogations and exemptions referred to in Article 30 of Regulation (EC) No 715/2009 are implemented.

- As soon as reasonably practicable after the entry into force of this Regulation, each  transmission system operator shall inform the concerned counterparties of its provisions in order for the concerned such counterparties to consider the possible consequences on their activities and to enable them to adapt their practices as necessary.

Article 30

Entry into force

- This Regulation shall enter into force on the twentieth day following that of its publication in the Official Journal of the European Union.

- It shall apply as from its entry into force.

- This Regulation shall be binding in its entirety and directly applicable in all Member States.

OJL 211,14.8.2009,p36

OJL 211,14.8.2009,p 94

Final preferred data exchange protocol for document based data exchange will be defined by ENTSOG based on a Cost Benefit Analysis as requested in the Framework Guidelines. An initial assessment is described in the Supporting Document.

The consistency to foresee inside an EU Regulation an obligation to use a specific trademark/supplier ('Edig@s') is subject to further legal assessment.

The consistency to foresee inside an EU Regulation an obligation to use a specific trademark/supplier ('Edig@s') is subject to further legal assessment.