## Slide 1: TYNDP 2013-2022 SJWS #5 Demand & Supply – Infrastructure Projects
TYNDP 2013-2022 – 5th SJWS
20 April 2012
ENTSOG offices -- Brussels

## Slide 2
Demand
<number>

## Slide 3: Previous Discussion
TYNDP 2011-2020
  Current report covers:
    Demand scenario coming from TSOs (best estimates)
      An Average Daily Demand
      A High Daily Demand (1-in-20 in most countries)
    Annual demand scenarios coming from Eurogas, IEA and Primes
      An Average Daily Demand
  Only TSOs and Primes scenarios provide data on a country basis
  SJWS #1 Input
  ENTSOG should introduce an additional demand scenario based on MSs’ demand forecasts
  A list of criteria should be defined for consideration by TSOs when forecasting demand, incl. a check list for national Renewables Action Plans (NREAPs)
  Transparency of assumptions and the origin of the forecast may be more important than a common set of criteria
  It is necessary to combine bottom-up and top-down approach
<number>
Notes: <number>

## Slide 4: Improvement directions
  Upgrade the consistency and transparency in the assumptions and methodologies
  Attention to power generation dynamics: link between electricity and gas systems
  Consideration of the EU political goals
<number>
Notes: <number>

## Slide 5: Transparency: assumptions and methodologies
Entsog’s bottom-up demand scenario/forecast
  The Entsog’s bottom-up scenario keeps the required consistency between TYNDP and the national ten-year network development plans.
  The peak demand values, calculated under the national standards, - The Design Case - define the network requirements in terms of transmission capacity determining the network development needs.
  Other peak demand values – Simultaneous and Unsimultaneous peak – will be estimated under a common methodology, incorporating a top-down approach into the Entsog’s bottom-up scenario.
<number>
time
ENTSOG’s forecast (bottom-up)
Top-down scenarios
EU aggregates
Yearly demand
Disaggregation by country
Yearly demand
Peak demand
Volumes
Capacities
Notes: <number>

## Slide 6: Transparency: assumptions and methodologies
Entsog’s bottom-up demand scenario
Why the top-down approach is limited to the definition of peak cases
  The methodologies followed by each TSO to produce demand forecasts are very diverse – consequently the same diversity is found in the assumptions required, not only on the values but also on the parameters defining the scenario.
  GPD and Population – being used in most of the countries – may be useful for comparison purposes.
  Other factors broadly considered in the scenario definition are the industrial activity and the energy efficiency. The parameters measuring these factors are very heterogeneous as they are adapted to the specific features of gas consumers in each country (e.g. the definition of industrial sectors) making difficult the comparison.
<number>
Notes: <number>

## Slide 7: Transparency: assumptions and methodologies
Entsog’s bottom-up demand scenario
Why only one single scenario
  Even when for many of the countries, the demand forecasting is done with some sensitivity analysis over a reference scenario, the heterogeneity of the parameters considered in the sensitivity prevent their addition: The bottom-up scenario is restricted to the aggregation of the reference scenarios.
  Generally, in the development of forecasts, TSOs are already taking into account political decisions having an impact on gas demand. Therefore we can not differentiate between gas demand scenarios with/without consideration of EU political goals.
<number>
Notes: <number>

## Slide 8: Consideration of EU political goals
EU 20/20/20
  Europe 2020 targets:
    Overall CO2 emissions reduction: -20% compared to 1990 levels
    20% increase in energy efficiency equalling 368 Mtoe reduction of energy consumption compared with projected levels in 2007.
    20% of EU energy consumption to come from renewable resources
  The global EU targets are translated into national targets in the National Reform Programmes and National Renewables Action Plans
<number>
Notes: <number>

## Slide 9: Consideration of EU political goals
The National Renewables Action Plans
  Focused on the contribution of the renewables to the energy mix, and its enhancement. The NREAPs are a feeble source of information with regards to natural gas demand.
  Again, the heterogeneity between plans makes difficult the comparison.
<number>
 | GDP | Population | Natural gas in primary energy | Natural gas in final energy | Natural gas for power generation | Installed capacity of gas fired power stations
Country 1 |  |  |  |  |  | 
Country 2 |  |  |  |  |  | 
Country 3 |  |  |  |  |  | 
… |  |  |  |  |  | 
Country 27 |  |  |  |  |  | 
Notes: <number>

## Slide 10: Consideration of EU political goals
Roadmap 2050
  The Communication “Energy Roadmap 2050”, commits the EU to reduce greenhouse gas emissions to 80-95% below 1990 levels by 2050, being the basis for developing a long-term European framework together with all stakeholders.
  The roadmap provides several – PRIMES – scenarios (EU27 aggregates):
<number>
    Reference scenario with 4 sensitivities:
      Low energy import prices
      High energy import prices
      High GDP
      Low GDP
    Current policies Initiatives ( Including actions concerning “Energy efficiency plan” an “Energy Taxation Directive”
    High Energy Efficiency
    Diversified supply technologies
    High renewable energy sources (RES)
    Delayed CCS
    Low Nuclear
CURRENT TREND SCENARIOS
DECARBONISATION SCENARIOS
Notes: <number>

## Slide 11: Consideration of EU political goals
Roadmap 2050
  None of the decarbonisation scenarios is defined as a realistic “road” to be followed. The aim of these 5 decarbonisation scenarios is the delimitation of the envelope of energy consumption patterns that could lead to the achievement of the decarbonisation target.
  The horizon of the Roadmap 2050 goes far beyond the horizon of TYNDP 2023, while the main divergences between scenarios come after 2025.
  From the PRIMES extensive description of scenarios, some parameters have been compared:
<number>
  Gross Inland Energy consumption
  Natural gas gross inland energy consumption
  Gross Electricity generation
  Fuel Input for thermal electricity generation
  Gas Input for thermal power generation
  Final Energy demand
  Gas in final energy demand
  CO2 emissions
  CO2 Emissions- Power generation
  CO2 Emissions – Industry
  CO2 Emissions – Residential
  Net generation capacity
  Thermal power generation capacity
  Gas fired power generation capacity
Notes: <number>

## Slide 12: Consideration of EU political goals
Roadmap 2050
  Why the roadmap scenarios cannot be fed and analyzed in the network modeling
  Lack of geographical disaggregation: demand figures are required at country/balancing zone level
  Yearly figures ~ Volumes: The more relevant demand figures defining the network adequacy are the peak day.
  The yearly figures cannot be directly translated into daily figures (- x % yearly volume is not the same – x % of peak day demand). The demand modulation is directly linked with the characteristics of the gas consumers, therefore the assumptions considered in the different scenarios implying changes in the gas demand breakdown will influence the peak demands.
<number>
Notes: <number>

## Slide 13: Consideration of EU political goals
Roadmap 2050
  The direct comparison between the scenarios of the Roadmap 2050, and the Entsog demand scenario in TYNDP will be possible for:
    Gas demand in primary energy
      Gas demand for power generation
      Gas in final energy demand
    Gas fired power generation capacity
  This comparison will be limited by:
    The different forecasting horizons
    The lack of disaggregation of the RM data
  The added value of this comparisons has to be determined.
<number>
Notes: <number>

## Slide 14: Consideration of EU political goals
<number>
Natural gas in Primary Energy
Notes: <number>

## Slide 15: Consideration of EU political goals
<number>
Gas fired power generation capacity
Notes: <number>

## Slide 16: Consideration of EU political goals
Roadmap 2050
  Together with the direct comparisons, some analysis of the gas-related issues can be extracted from RM2050.
<number>
Notes: <number>

## Slide 17: Consideration of EU political goals
Roadmap 2050
  Together with the direct comparisons, some analysis of the gas-related issues can be extracted from RM2050.
<number>
Notes: <number>

## Slide 18: Consideration of EU political goals
<number>
  The increase of installed capacity and the reduction of the yearly power generation from gas, lead to a clear increase in the intermittency of gas fired power stations, and consequently on the flexibility required to the associated gas transmission facilities.
Intermittency
Notes: <number>

## Slide 19
Supply
<number>

## Slide 20: Previous Discussion
<number>
TYNDP 2011-2020 scope
  Supply sources included in TYNDP were:
    Algeria (pipe) & Libya (pipe) from McDermott study for Commission
    LNG (all sources together) from a GLE study
    National Production from TSOs
    Norway and Russia from national Ministries
  Gathered information was potential supply on a yearly basis
Methodology rationales
  For each demand case (Average and High Daily) a supply case has to be defined to build a Reference Case
  In every resilience test scenario, supply has been kept as close as possible to the Reference Case while minimizing potential demand curtailment or investment gap and staying within the supply potential range of each source
  Supply mix in Reference Case is then used only to produce a reasonable scenario but has no influence on gap identification
Notes: <number>

## Slide 21: Average daily supply share – Reference Case
<number>
 |  |  |  | SCENARIO A - No New source | 
 |  |  |  | Iteration 0 | Iteration 1
GWh/d |  | 2011 | 2015 | 2020 | 2020
Demand |  | 1000 | 1200 | 1400 | 1400
National Production | Potential | 300 | 250 | 200 | 200
 | Actual share | 300 | 250 | 200 | 200
Net Demand |  | 700 | 950 (+36%) | 1200 (+26%) | 1200
Supply A | Potential | 600 | 700 | 800 | 800
 | Actual share | 400 | 543 | 687 | 700
Supply B | Potential | 400 | 450 | 500 | 500
 | Actual share | 300 | 407 | 513 | 500
Supply C (hypothetic) | Potential | 0 | 0 | 0 | 0
 | Actual share | 0 | 0 | 0 | 0
Supply balance |  | 0 | 0 | 0 | 0
Notes: <number>

## Slide 22: Average daily supply share – Reference Case
<number>
 |  | SCENARIO A - No New source |  | SCENARIO B - New source | 
 |  | Iteration -1 | Iteration 0 | Iteration 1 | Iteration 2
GWh/d |  | 2020 | 2020 | 2020 | 2020
Demand |  | 1400 | 1400 | 1400 | 1400
National Production | Potential | 200 | 200 | 200 | 200
 | Actual share | 200 | 200 | 200 | 200
Net Demand |  | 1200 (+26%) | 1200 | 1200 | 1200
Supply A | Potential | 800 | 800 | 800 | 800
 | Actual share | 687 | 700 | 700 | 646
Supply B | Potential | 500 | 500 | 500 | 500
 | Actual share | 513 | 500 | 500 | 462
Supply C (hypothetic) | Potential | 0 | 0 | 100 | 100
 | Actual share | 0 | 0 | 100 | 92
Supply balance |  | 0 | 0 | 100 | 0
Notes: <number>

## Slide 23: High daily supply share – Reference Case
<number>
GWh/d |  | 2011 | 2015 | 2020
Demand |  | 1400 | 1700 | 2000
National Production | Potential | 350 | 300 | 250
 | Actual share | 350 | 300 | 250
Net Demand |  | 1050 | 1400 | 1750
Supply A | Average Daily | 400 | 543 | 700
 | High Daily share | 500 | 679 | 875
Supply B | Average Daily | 300 | 407 | 500
 | High Daily share | 400 | 541 | 665
To be covered by UGS and LNG at same load factor |  | 150 | 180 | 210
GWh/d | Max 2008/2009 | Average daily share | High Daily Ratio
Supply A | 500 | 400 | 1.25
Supply B | 400 | 300 | 1.33
Notes: <number>

## Slide 24: Supply by import route
<number>
Load factor of import routes coming from other supply sources are not impacted by the new Route 3

## Slide 25: Previous Discussion
  SJWS#1 Input
  The use of 2008 & 2009 figures to initialize supply might have introduced an overestimation of the daily flexibility. Flexibility should remain constant rather than increase with yearly values.
  Nearly all pipe gas imported from outside Europe is delivered under long-term contracts.
  LNG treatment: some established LNG chains are dedicated to some terminals and can be treated similar to pipeline gas, whereas most of the newer LNG projects were developed for global market. Peak situations should be primarily be modeled as a mix of underground gas storages and pipe gas supply
  The behavior of LNG supply should reflect the dependency to price signal, high prices often occurring under peak situation. Such situation may lead to ship diversion or reloading and impact LNG tank management in order to provide high flexible supply to the European market. Such features are clearly different than pipe gas supply.
  Maximum flexibility of Algerian, Libyan and Norwegian supplies is nearly reached
<number>
Notes: <number>

## Slide 26: TYNDP 2011-2020 Feedback
<number>
General consideration on supply approach
  Consideration of supply limitation makes scenarios more realistic
  Ministerial sources could be too optimistic
  Non-conventional gas should be considered
  Dialogue with producers should be maintained and enhanced
  Consideration of ramp-up phases
  Focus should be on existing (contracted) supply and ones associated with committed projects
Supply modelling
  A 10 to 15-year average could be more relevant than 2008 & 2009 when defining supply shares for the Reference Case
  Methodology to define Reference Case supply is appropriate
  The arrival of a new supply source should reduce the shares of the existing ones
  Supply contractual constraints should be factored in the scenarios
  More supply scenarios should be investigated

## Slide 27: Proposed changes/improvements
<number>
1- Extensive description of the gas supplies in the previous years
  Introducing the concept of the review in the TYNDP.
  Possible topics to be covered:
    Supply patterns: load factors by source and route. Historical maximums. Analysis of the % of the different sources used as base load, and margins for flexibility. Analysis of the variations after the introduction of a new route or source. Imports vs. National Production. Supply portfolio by type (LNG vs. Pipeline) and country.
    Diversification of supply: EU/zones/countries.
    LNG: analysis of the origins: Even if LNG is considered in the modelling as a single gas source, a deeper description of the imports should be done, and a indicator may be defined to measure its benefits increasing the diversification of supply.
Notes: <number>

## Slide 28: Proposed changes/improvements
<number>
Notes: <number>

## Slide 29: Proposed changes/improvements
<number>
Source 1
R1
R2
TYNDP 2011-2020 – Common route share
Source 1 – Balance: 600 Units
Route 1 – Technical capacity: 300 Units
Route 2 – Technical capacity: 300 Units
Route 3 – Technical capacity: 400 Units
Total technical capacity: 1000 Units: Load-factor: 60%
Route 1 – 180 Units
Route 2 – 180 Units
Route 3 - 240 Units
Historical load-factor of the routes (last 3 years)
Route 1 – 50% - 150 Units
Route 2 – 70% - 210 Units
Route 3 – 40% - 160 Units
Total: 520 Units
Different route share according to the historical data:
Route 1 = 600 * (150/520) = 173 Units
Route 2 = 600 * (210/520) = 242 Units
Route 3 = 600 * (160/520) = 184 Units
R3
Notes: <number>

## Slide 30: Proposed changes/improvements
<number>
2- Definition of the reference cases (2 of 3)
  Introduction of a new source in the reference case: The new source – as well as the existing ones – is reduced proportionally in a second iteration. That way, we avoid the priorization of new sources.
 |  |  |  | Iteration 0 | Iteation 1 | Iteration 2 | Iteration 3
GWh/d |  | 2011 | 2015 | 2020 | 2020 | 2020 | 2020
Demand |  | 1000 | 1200 | 1400 | 1400 | 1400 | 1400
UGS |  | 0 | 0 | 0 | 0 | 0 | 0
National production | Potential | 300 | 250 | 200 | 200 | 200 | 200
 | Actual share | 300 | 250 | 200 | 200 | 200 | 200
Net Demand |  | 700 | 950 | 1200 | 1200 | 1200 | 1200
Potential Supply |  | 1000 | 1150 | 1300 | 1300 | 1400 | 1400
Over/Under supply |  | 300 | 200 | 100 | 100 | 200 | 200
Supply A | Potential | 600 | 700 | 800 | 800 | 800 | 800
 | Actual share | 400 | 543 | 686 | 700 | 700 | 650
Supply B | Potential | 400 | 450 | 500 | 500 | 500 | 500
 | Actual share | 300 | 407 | 514 | 500 | 500 | 464
Supply C (hypothetic) | Potential | 0 | 0 | 0 | 0 | 100 | 100
 | Actual share | 0 | 0 | 0 | 0 | 92 | 86
Notes: <number>

## Slide 31: Proposed changes/improvements
<number>
2- Definition of the reference cases (3 of 3)
  Peak supply cases:
    Same methodology followed in TYNDP 2011-2020 with the following modifications:
      Supply limitation
      LNG treatment: a certain % of the LNG import capacity will be treated as pipeline gas; the remaining capacity will be last resource source –as well as the UGS –
      The % of LNG treated as pipeline, will be estimated on the basis of the historical flows. All the LNG terminals in one country are to be considered as one route.
      Estimation of the % treated as pipeline: function on the analysis of the historical flows by route.
Notes: <number>

## Slide 32: Proposed changes/improvements
<number>
Source 1
R1
R2
Maximum Historical supply from Source1: 13,000 Units – specific date
Route 1: 7,500 Units
Route 2: 5,500 Units
Maximum non-simultaneous supply from Source 1: 14,000 Units
Route 1: 8,000 Units
Route 2: 6,000 Units
Historical yearly supply from Source 1: 3,650,000 Units – Average 10,000 units
Peak supply from source 1:
TYNDP 2011-2020
Maximum non-simultaneous supply
Peak factor: Maximum/Average
14,000/10,000 ~ 1,4
Apply the historical peak factor to the “estimated” volumes in the future
This approach has been said to be to optimistic as the maximum flexibility may have been reached.
ALTERNATIVES
Maximum historical daily values without yearly volumes considerations:
  Maximum simultaneous supply (13,000)
  Maximum non-simultaneous supply (14,000)
Volume consideration - Peak factors:
  From the maximum simultaneous supply ~ 1,3
  From the maximum non simultaneous supply ~ 1,4
(*)
(*) Follow the TYNDP 2011-2020 methodology
Notes: <number>

## Slide 33: Thank You for Your Attention
<number>
ENTSOG -- European Network of Transmission System Operators for Gas
Avenue de Cortenbergh 100, B-1000 Brussels
EML: info@entsog.eu
T: + 32 2 894 5100
WWW: www.entsog.eu