## Slide 1: Peak demand Cases
<number>
  Peak case #1
  High level of demand calculated according to the national standards or business codes that is used by TSO’s to assess the network capacities and needs of development. The peak case #1 is the high daily demand considered in the national plans.
  Peak case #2
  High level of demand calculated by TSOs under a harmonized level of risk, following a common methodology – when possible. This demand case considers the simultaneous occurrence of the so calculated high level of demand in every country.
  Peak case #3
  Demand case derived from the peak case #2. In the peak case #3 the lack of simultaneity in the occurrence of the high levels of demand induces the mitigation of the peak demand.
Design Case (DC)
Proposed names
Option 1: High Peak
Option 2: Undiversified Peak
Option 3: Simultaneous Peak
Option 1: Low Peak
Option 2: Diversified Peak
Option 3: Unsimultaneous Peak
Notes: <number>